## Run Setup Notes
V42 | 2020-08-20
fill out yellow wells to autopopulate experimental plan
** all heated to 95C for 30 minutes in oven > diluted with h2o > plated 7uL into MM
TaqPath thermocycler: 50C for 5, 95 for 20s, 40 cycles of 95C 5s + 60C 30s
** Pooling from previous plates!
| 384-Primer Sets: 2, 3, 4? | 384-well primer plates
| Plate 1 | A
Plate 2
Plate 3
| Plate 4 |  |  |  | 384_wellplate | new | old | ExperimentPlateName |  | Notes from Josh
[5 empty] | Plate1 | 1 | 1 | ASHE TE MNS Samples |  | We need to key back to the names of the 384 UDI plates we already have from Octant
| V42 Plate 1 | 384 primer plate A | 96-well sample plate used for each quadrant |  | Plate1 | 2 | 6 | saliva neg spike dilution | SetA | 1.1 | 2.2 | SetA | 1 | 6 | 1 | 2
| 1 | 2 | ASHE TE MNS Samples | saliva neg spike dilution | Plate1 | 3 | 11 | Saliva LOD (V34) |  | 3.3 | 4.4 |  | 11 | 16 | 3 | 4
| 3 | 4 | Saliva LOD (V34) | Tube test | Plate1 | 4 | 16 | Tube test
[5 empty] | Plate 2 | 5 |  |  | SetB | 1.2 | 2.3 | SetB | 2 | 7 | 5 | 6
| V42 Plate 2 | 384 primer plate 0 |  |  | Plate 2 | 6 |  |  |  | 3.4 | 4.1 |  | 12 | 13 | 7 | 8
| 5 | 6 |  |  | Plate 2 | 7
| 7 | 8 |  |  | Plate 2 | 8 |  |  | SetC | 1.3 | 2.4 | SetC | 3 | 8 | 9 | 10
[5 empty] | Plate 3 | 9 |  |  |  | 3.1 | 4.2 |  | 9 | 14 | 11 | 12
| V42 Plate 3 | 384 primer plate 0 |  |  | Plate 3 | 10
| 9 | 10 |  |  | Plate 3 | 11 |  |  | SetD | 1.4 | 2.1 | SetD | 4 | 5 | 13 | 14
| 11 | 12 |  |  | Plate 3 | 12 |  |  |  | 3.2 | 4.3 |  | 10 | 15 | 15 | 16
[5 empty] | Plate 4 | 13
| V42 Plate 4 | 384 primer plate 0 |  |  | Plate 4 | 14
| 13 | 14 |  |  | Plate 4 | 15
| 15 | 16 |  |  | Plate 4 | 16

## Plate 1
Plate 1 | A
1 | 2 |  | ASHE TE MNS Samples | saliva neg spike dilution
3 | 4 |  | Saliva LOD (V34) | Tube test
[14 empty] | Quadrant 2 |  | 1:1 dilution saliva : TBE+Tween
Quadrant 1 | Diluted 1:1 in h2o | [12 empty] | saliva neg spike dilution
ASHE TE MNS Samples | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 368310217 | 368298456 | 368300400 | 368300403 | 368300448 | 368298743 | 368298379 | 368298395 | 368310700 | 368300450 | 368298380 | 368298450 | A | A | 2XTBE+1%tw | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | 2XTBE+1%tw | A
B | 368294546 | 368310678 | 368298988 | TE | TE | TE | TE | TE | TE | TE | TE | TE | B | B | 2XTBE+1%tw | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | 2XTBE+1%tw | B
C | 368310217 | 368298456 | 368300400 | 368300403 | 368300448 | 368298743 | 368298379 | 368298395 | 368310700 | 368300450 | 368298380 | 368298450 | C | C | 2XTBE+1%tw | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | 2XTBE+1%tw | C
D | 368294546 | 368310678 | 368298988 | TE | TE | TE | TE | TE | TE | TE | TE | TE | D | D | 2XTBE+1%tw | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | 2XTBE+1%tw | D
E | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | E | E | 2XTBE+1%tw | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | 2XTBE+1%tw | E
F | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | F | F | 2XTBE+1%tw | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | 2XTBE+1%tw | F
G | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | G | G | 2XTBE+1%tw | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | 2XTBE+1%tw | G
H | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | H | H | 2XTBE+1%tw | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | Saliva NC in 2x TBE + 1%tw20 | 2XTBE+1%tw | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
[14 empty] | spike dilution | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
[14 empty] | A | 50x | 50x | 50x | 50x | 50x | 50x | 50x | 50x | 50x | 50x | 50x | 50x | A
Quadrant 3 | Saliva LOD | 20ul per well | GCE/mL | [10 empty] | B | 50x | 50x | 50x | 50x | 50x | 50x | 50x | 50x | 50x | 50x | 50x | 50x | B
Saliva LOD (V34) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | C | 50x | 50x | 50x | 50x | 50x | 50x | 50x | 50x | 50x | 50x | 50x | 50x | C
A | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | A | D | 50x | 50x | 50x | 50x | 50x | 50x | 50x | 50x | 50x | 50x | 50x | 50x | D
B | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | B | E | 10x | 10x | 10x | 10x | 10x | 10x | 10x | 10x | 10x | 10x | 10x | 10x | E
C | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | C | F | 10x | 10x | 10x | 10x | 10x | 10x | 10x | 10x | 10x | 10x | 10x | 10x | F
D | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | D | G | 10x | 10x | 10x | 10x | 10x | 10x | 10x | 10x | 10x | 10x | 10x | 10x | G
E | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | E | H | 10x | 10x | 10x | 10x | 10x | 10x | 10x | 10x | 10x | 10x | 10x | 10x | H
F | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | F |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
G | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | G
H | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Quadrant 4
Tube test
[14 empty] | sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Q4 for Laila's plating purposes | [13 empty] | A | saliva in TBE + tw | saliva in TBE + tw | saliva in TBE + tw | saliva in TBE + tw | saliva in TBE + tw | saliva in TBE + tw | saliva in TBE + tw | saliva in TBE + tw | saliva in TBE + tw | saliva in TBE + tw | saliva in TBE + tw | TE | A
TE | saliva in TBE + tween with virus copy indicated |  |  | matrix tube | cryotube orangecap | orangetube orangecap | [7 empty] | B | saliva in TBE + tw | saliva in TBE + tw | saliva in TBE + tw | saliva in TBE + tw | saliva in TBE + tw | saliva in TBE + tw | saliva in TBE + tw | saliva in TBE + tw | saliva in TBE + tw | saliva in TBE + tw | saliva in TBE + tw | TE | B
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | C | saliva in TBE + tw | saliva in TBE + tw | saliva in TBE + tw | saliva in TBE + tw | saliva in TBE + tw | saliva in TBE + tw | saliva in TBE + tw | saliva in TBE + tw | saliva in TBE + tw | saliva in TBE + tw | saliva in TBE + tw | TE | C
A | 0 | 6000 | 6000 | 6000 | 0 | 6000 | 6000 | 6000 | 0 | 6000 | 6000 | TE | A | D | TE | saliva in TBE + tw | saliva in TBE + tw | saliva in TBE + tw | TE | saliva in TBE + tw | saliva in TBE + tw | saliva in TBE + tw | TE | saliva in TBE + tw | saliva in TBE + tw | TE | D
B | 0 | 3000 | 3000 | 3000 | 0 | 3000 | 3000 | 3000 | 0 | 3000 | 3000 | TE | B | E | [12 empty] | E | bar: 1 to 12
C | 0 | 1500 | 1500 | 1500 | 0 | 1500 | 1500 | 1500 | 0 | 1500 | 1500 | TE | C | F | [12 empty] | F | bar: 1 to 12
D | TE in tube | 750 | 750 | 750 | TE in tube | 750 | 750 | 750 | TE in tube | 750 | 750 | TE | D | G | [12 empty] | G | bar: 1 to 12
E | TE in tube | TE in tube | TE in tube | TE in tube | TE in tube | TE in tube | TE in tube | TE in tube | TE in tube | TE in tube | TE in tube | TE | E | H | [12 empty] | H | bar: 1 to 12
F | TE in tube | TE in tube | TE in tube | TE in tube | TE in tube | TE in tube | TE in tube | TE in tube | TE in tube | TE in tube | TE in tube | TE | F |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
G | TE in tube | TE in tube | TE in tube | TE in tube | TE in tube | TE in tube | TE in tube | TE in tube | TE in tube | TE in tube | TE in tube | TE | G
H | TE in tube | TE in tube | TE in tube | TE in tube | TE in tube | TE in tube | TE in tube | TE in tube | TE in tube | TE in tube | TE in tube | TE | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | virus copy | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
[14 empty] | A | 0 | 6000 | 6000 | 6000 | 0 | 6000 | 6000 | 6000 | 0 | 6000 | 6000 | 0 | A
[14 empty] | B | 0 | 3000 | 3000 | 3000 | 0 | 3000 | 3000 | 3000 | 0 | 3000 | 3000 | 0 | B
[14 empty] | C | 0 | 1500 | 1500 | 1500 | 0 | 1500 | 1500 | 1500 | 0 | 1500 | 1500 | 0 | C
[14 empty] | D | 0 | 750 | 750 | 750 | 0 | 750 | 750 | 750 | 0 | 750 | 750 | 0 | D
[14 empty] | E | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | E
[14 empty] | F | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | F
[14 empty] | G | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | G
[14 empty] | H | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | H
[15 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
[14 empty] | tube type | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
[14 empty] | A | matrixtube | matrixtube | matrixtube | matrixtube | cryotube+orangecap | cryotube+orangecap | cryotube+orangecap | cryotube+orangecap | orangetube+orangecap | orangetube+orangecap | orangetube+orangecap | notube | A
[14 empty] | B | matrixtube | matrixtube | matrixtube | matrixtube | cryotube+orangecap | cryotube+orangecap | cryotube+orangecap | cryotube+orangecap | orangetube+orangecap | orangetube+orangecap | orangetube+orangecap | notube | B
[14 empty] | C | matrixtube | matrixtube | matrixtube | matrixtube | cryotube+orangecap | cryotube+orangecap | cryotube+orangecap | cryotube+orangecap | orangetube+orangecap | orangetube+orangecap | orangetube+orangecap | notube | C
[14 empty] | D | matrixtube | matrixtube | matrixtube | matrixtube | cryotube+orangecap | cryotube+orangecap | cryotube+orangecap | cryotube+orangecap | orangetube+orangecap | orangetube+orangecap | orangetube+orangecap | notube | D
[14 empty] | E | matrixtube | matrixtube | matrixtube | matrixtube | cryotube+orangecap | cryotube+orangecap | cryotube+orangecap | cryotube+orangecap | orangetube+orangecap | orangetube+orangecap | orangetube+orangecap | notube | E
[14 empty] | F | matrixtube | matrixtube | matrixtube | matrixtube | cryotube+orangecap | cryotube+orangecap | cryotube+orangecap | cryotube+orangecap | orangetube+orangecap | orangetube+orangecap | orangetube+orangecap | notube | F
[14 empty] | G | matrixtube | matrixtube | matrixtube | matrixtube | cryotube+orangecap | cryotube+orangecap | cryotube+orangecap | cryotube+orangecap | orangetube+orangecap | orangetube+orangecap | orangetube+orangecap | notube | G
[14 empty] | H | matrixtube | matrixtube | matrixtube | matrixtube | cryotube+orangecap | cryotube+orangecap | cryotube+orangecap | cryotube+orangecap | orangetube+orangecap | orangetube+orangecap | orangetube+orangecap | notube | H
[15 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12

## Plate 2
Plate 2 | A
5 | 6
7 | 8

## Plate 3
Plate 3 | A
9 | 10
11 | 12

## Plate 4
Plate 4 | A
13 | 14
15 | 16

## MasterMix
V42 | Master Mixes
Mix 1 - 10x spike | RT-PCR mix: | uL or (total copies in total) | 57.6
| 4x Mastermix | 5 | 288
| H2O | 6 | 345.6 |  | Stock is 3000ng/uL (per EJ)
S2 dil 4 | S2 RNA spike | 28800 | 11.2332 | 10 | 1:20 working stock prepared from Eric's stock
Lysate | 7
Indexed primers (prestampled) | 2 |  |  |  | qubit RNA HS(ng/uL) | 77.6 ng/uL
Total Volume | 20 |  |  |  | > prepare 4 consecutive 1:100 dilution steps
Total to add to 384 well plate | 11 |  |  |  |  | > 99 uL ddH2O, 0.1% Tween + 1 uL previous dilution
> final dilution should have 3600 copies / uL
Mix 2 - 25x spike | RT-PCR mix: | uL or (total copies in total) | 230.4 |  | > add 3.8uL (42500 copies) to RT-PCR mix
| 4x Mastermix | 5 | 1152
| H2O | 6 | 1382.4 |  |  |  | From V3 expt: Measured at 25 ng/uL, corresponding to 3.6*10^11 copies/uL (assuming a length of 130 nt)
S2 dil 4 | S2 RNA spike | 115200 | 112.3318 | 25 |  |  | Based on this should 3.6*10^11 (3.104)=
Lysate | 7 | [6 empty] | copies/uL |  | From qubit |  | 6/22/2020 spike dil
Indexed primers (prestampled) | 2 |  |  |  | dilution | dilution step | dilution 1: X | 1117440000000 |  | ng/uL | actual copies/uL | ng/uL | copies/uL
Total Volume | 20
Total to add to 384 well plate | 11 |  |  |  | 1 | 100 | 100 | 11174400000 |  | 1.79 | 2.58E+10 | 1.192 | 1.717e+10
[5 empty] | 2 | 100 | 10000 | 111744000 |  | 0.0179 | 258000000 | 0.01192 | 171700000
Mix 3 - 50x spike | RT-PCR mix: | uL or (total copies in total) | 57.6 |  | 3 | 100 | 1000000 | 1117440 |  | 0.000179 | 2580000 | 0.0001192 | 1717000
| 4x Mastermix | 5 | 288 |  | 4 | 100 | 10000000 | 11174.4 | 3.5796 | 1.79e-06 | 25800 | 1.192e-06 | 17170
| H2O | 6 | 345.6 |  | 5 | 3 | 30000000 | 3724.8 | 1.3424 | 5.9667e-07 | 8600 | 3.9733e-07 | 5723.3333
S2 dil 4 | S2 RNA spike | 28800 | 56.1659 | 50
Lysate | 7
Indexed primers (prestampled) | 2
Total Volume | 20
Total to add to 384 well plate | 11
8/13 S2 spike dil 4 | copies/uL | 25638.33