## Run set up notes
V28 | Plates set up Tuesday 7/14 |  |  |  | fill out yellow wells and these will autopopulate sections of experimental plan
MiSeq wednesday 7/15
** load only 7 uL
** saliva confirmation of LOD using new ATCC dilution
** saliva redo prlim LOD using new ATCC dilution with 3 replicates
** Try VTM or Aimes with quantabio vs TaqPath; do 1:4 dilution; spike after heat
| 384-Primer Sets: 2, 3, 4? | 384-well primer plates | Quadrent 1 | 2 | 3 | 4
| Plate 1 | 1 |  | Saliva Confirmatory LOD_TBE+Tw20
| Plate 2 | 2 | Saliva Prelim LOD
| Plate 3 | 3 |  |  | Ashe Center- #1/ED study | Ashe Center #2
| Plate 4 | 4 |  |  | Ashe Center #2_replicate | Ashe Center #1/ ED Study_replicate
Run 28
| V28 Plate 1 | 384 primer plate 1 |  | 96-well sample plate used for each quadrant |  |  | quadrant |  | TC used
| 1 | 2 |  | Ashe Center #3 | Saliva Confirmatory LOD_TBE+Tw20 |  | 1 | 2
| 3 | 4
| V28 Plate 2 | 384 primer plate 2
| 5 | 6 |  | Saliva Prelim LOD | Ashe Center #3_replicate |  | 1 | 2
| 7 | 8
| V28 Plate 3 | 384 primer plate 3
| 9 | 10
| 11 | 12 |  | Ashe Center- #1/ED study | Ashe Center #2 |  | 3 | 4
| V28 Plate 4 | 384 primer plate 4
| 13 | 14
| 15 | 16 |  | Ashe Center #2_replicate | Ashe Center #1/ ED Study_replicate |  | 3 | 4

## Plate1_2_salLOD
Plate Number 1
1 | 2 |  | Ashe Center #3 | Saliva Confirmatory LOD_TBE+Tw20
3 | 4 |  | 0 | 0
All Saliva is diluted with Buffer, heated to 95C, cooled and then S2 RNA is added after in dilution
Prelim LOD
Ashe Center-#3 |  | Plate 1.1
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 368287639 | 368265062 | 368287671 | 368287341 | 368313588 | 368264989 | 368286844 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | A
B | 368286813 | 368298493 | 368288831 | 368311107 | 368287435 | 368288855 | 368287682 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | B
C | 368289494 | 368312565 | 368259511 | 368287351 | 368280613 | 368286841 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | C
D | 368286826 | 368311048 | 368286823 | 368280676 | 368288602 | 368288829 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | D
E | 368287677 | 368259212 | 368287650 | 368259242 | 368288865 | 368311654 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | E
F | 368259249 | 368309235 | 368289039 | 368286791 | 368287635 | 368265055 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | F
G | 368287712 | 368259236 | 368289479 | 368287353 | 368289514 | 368286788 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | G
H | 368289528 | 368287513 | 368288641 | 368311642 | 368288789 | 368259529 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | PPC | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Confirmatory LOD TBE + Tw20
Load 7uL of final dilution plate |  | plate 1.2
Saliva Confirmatory LOD_TBE+Tw20 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | A
B | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | B
C | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | C
D | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | D
E | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | E
F | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | F
G | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | G
H | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
10uL of Saliva
TBE + 0.5% Tw20
Saliva | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | A
B | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | B
C | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | C
D | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | D
E | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | E
F | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | F
G | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | G
H | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Diliution 1:1 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | A
B | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | B
C | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | C
D | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | D
E | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | E
F | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | F
G | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | G
H | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Copies per mL | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | A
B | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | B
C | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | C
D | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | D
E | - | - | - | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | E
F | - | - | - | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | F
G | - | - | - | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | G
H | - | - | - | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | H
[8 empty] | - | - | - | -
Each reaction = 7uL of lysate
Virus Copies/Reaction | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | A
B | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | B
C | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | C
D | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | D
E | - | - | - | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | E
F | - | - | - | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | F
G | - | - | - | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | G
H | - | - | - | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
2
Virus Copies/Reaction after dilutions | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | A
B | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | B
C | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | C
D | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | D
E | - | - | - | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | E
F | - | - | - | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | F
G | - | - | - | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | G
H | - | - | - | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
SampleName | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | A
B | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | B
C | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | C
D | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | D
E | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | E
F | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | F
G | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | G
H | Contrived | Contrived | Contrived | S-021 | S-021 | S-021 | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Heat Treatment | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | A
B | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | B
C | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | C
D | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | D
E | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | E
F | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | F
G | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | G
H | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
|  |  |  | Copies/Reaction after d ilution | Copies Per Reaction before dilution | Copies/uL | Copies into saliva (total volume) | uL of dilution
|  |  |  | 28 | 56 | 8 | 12000 | 3.2
| Saliva Needed (uL) per well | 20 |  | 14 | 28 | 4 | 6000 | 1.6
| number of wells | 21 |  | 7 | 14 | 2 | 3000 | 0.8
| scale up factor | 1.2 | 504 | 3.5 | 7 | 1 | 1500 | 0.4
| total uL needed | 1500 | per dilution, 4 dilutions
[6 empty] | uL per reaction | 20 |  | VR-1986HK™ Lot Number: | 70035039
[6 empty] | minimum volume needed | 20
[6 empty] | uL to carry to dilution well | 20 |  | Virus Dilution | Dilution factor
Contrived SARS-CoV2 Spike-in: | [5 empty] | Dilution Factor | 2 | 1 : 1 | 375000
>We aim for 56 copies at the highest dilution in 20 uL volume (amount added to PCR rxn) |  |  |  |  | 56 | uL for D1 | 40 | 1 : 100 | 3750 | 100
> that translates into 2.8 copies/ul in D1 |  |  |  |  | 2.8 | number of 96-well plates | 1
> that translates into 112 copies in 40 uL D1 |  |  |  |  | 112 | copies for 1 96-well plates | 112
> that translates to 0 copies in 0 uL (0.0 is total of well + 0.0 added for dilution) |  |  |  |  | 112
2) ATCC inactivated Virus Spike
>prepare a 1 to 100 dilution to 3750 copies per uL | [6 empty] | > make these three dilutions
> add 0.0 uL to 20.0 uL background in first dilution well D1 (for 112 total viral copies) | [6 empty] | > pipet 10, 20, or 30uL of water into each well of plate for dilutions
> perform 2x dilution series from vial 1 (D1) as detailed above | [6 empty] | >make the dilutions of saliva
> make atcc dilutions with RNAsecure in TE
|  | Copies/uL of Final Dilution of Virus | 3750 |  |  |  | > make contrived saliva + ATCC
|  | ATCC to add to D1 | 0.029867 | 0.1792 |  |  | > pipet 40uL into A1-A4
|  | background Saliva | 19.9701 | 119.8208 |  |  | > Do serial Dilutions until row F; carryover 40 uL
> use multichannel to add 10uL of each well into the dilution plate made in step 2
> Incubate the mixture at 60°C for 10 minutes, then cool to room temperature
make contrived at concentrations above
dilute into 1:1, 1:2, 1:3 with water

## Sal2_1_sal
Plate Number 2
5 | 6 |  | Saliva Prelim LOD | Ashe Center #3_replicate
7 | 8 |  | 0 | 0
All Saliva is diluted with Buffer, heated to 95C, cooled and then S2 RNA is added after in dilution
Prelim LOD | plate 2.1
Load 7uL of final dilution plate
Saliva Prelim LOD | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Saliva | Saliva | Saliva | [9 empty] | A
B | Saliva | Saliva | Saliva | [9 empty] | B
C | Saliva | Saliva | Saliva | [9 empty] | C
D | Saliva | Saliva | Saliva | [9 empty] | D
E | Saliva | Saliva | Saliva | [9 empty] | E
F | Saliva | Saliva | Saliva | [9 empty] | F
G | Saliva | Saliva | Saliva | [9 empty] | G
H | Saliva | Saliva | Saliva | [9 empty] | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
10uL of Saliva
TBE + 0.5% Tw20
Saliva | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | [9 empty] | A
B | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | [9 empty] | B
C | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | [9 empty] | C
D | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | [9 empty] | D
E | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | [9 empty] | E
F | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | [9 empty] | F
G | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | [9 empty] | G
H | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | [9 empty] | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Diliution 1:1 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | [9 empty] | A
B | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | [9 empty] | B
C | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | [9 empty] | C
D | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | [9 empty] | D
E | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | [9 empty] | E
F | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | [9 empty] | F
G | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | [9 empty] | G
H | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | TBE + 0.5% Tw20 | [9 empty] | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Copies per mL | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 32000 | 32000 | 32000 | - | - | - | - | - | - | - | - | - | A
B | 16000 | 16000 | 16000 | - | - | - | - | - | - | - | - | - | B
C | 8000 | 8000 | 8000 | - | - | - | - | - | - | - | - | - | C
D | 4000 | 4000 | 4000 | - | - | - | - | - | - | - | - | - | D
E | 2000 | 2000 | 2000 | - | - | - | - | - | - | - | - | - | E
F | 1000 | 1000 | 1000 | - | - | - | - | - | - | - | - | - | F
G | - | - | - | - | - | - | - | - | - | - | - | - | G
H | - | - | - | - | - | - | - | - | - | - | - | - | H
[8 empty] | - | - | - | -
Each reaction = 7uL of lysate
Virus Copies/Reaction | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 224 | 224 | 224 | - | - | - | - | - | - | - | - | - | A
B | 112 | 112 | 112 | - | - | - | - | - | - | - | - | - | B
C | 56 | 56 | 56 | - | - | - | - | - | - | - | - | - | C
D | 28 | 28 | 28 | - | - | - | - | - | - | - | - | - | D
E | 14 | 14 | 14 | - | - | - | - | - | - | - | - | - | E
F | 7 | 7 | 7 | - | - | - | - | - | - | - | - | - | F
G | - | - | - | - | - | - | - | - | - | - | - | - | G
H | - | - | - | - | - | - | - | - | - | - | - | - | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
2
Virus Copies/Reaction after dilutions | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 112 | 112 | 112 |  |  |  | - | - | - | - | - | - | A
B | 56 | 56 | 56 |  |  |  | - | - | - | - | - | - | B
C | 28 | 28 | 28 |  |  |  | - | - | - | - | - | - | C
D | 14 | 14 | 14 |  |  |  | - | - | - | - | - | - | D
E | 7 | 7 | 7 |  |  |  | - | - | - | - | - | - | E
F | 3.5 | 3.5 | 3.5 |  |  |  | - | - | - | - | - | - | F
G | - | - | - | - | - | - | - | - | - | - | - | - | G
H | - | - | - | - | - | - | - | - | - | - | - | - | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
SampleName | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Contrived | Contrived | Contrived | [9 empty] | A
B | Contrived | Contrived | Contrived | [9 empty] | B
C | Contrived | Contrived | Contrived | [9 empty] | C
D | Contrived | Contrived | Contrived | [9 empty] | D
E | Contrived | Contrived | Contrived | [9 empty] | E
F | Contrived | Contrived | Contrived | [9 empty] | F
G | Contrived | Contrived | Contrived | [9 empty] | G
H | Contrived | Contrived | Contrived | [9 empty] | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Heat Treatment | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 95C-30min | 95C-30min | 95C-30min | [9 empty] | A
B | 95C-30min | 95C-30min | 95C-30min | [9 empty] | B
C | 95C-30min | 95C-30min | 95C-30min | [9 empty] | C
D | 95C-30min | 95C-30min | 95C-30min | [9 empty] | D
E | 95C-30min | 95C-30min | 95C-30min | [9 empty] | E
F | 95C-30min | 95C-30min | 95C-30min | [9 empty] | F
G | 95C-30min | 95C-30min | 95C-30min | [9 empty] | G
H | 95C-30min | 95C-30min | 95C-30min | [9 empty] | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Ashe Center-#3 |  | Plate 2.2
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 368287639 | 368265062 | 368287671 | 368287341 | 368313588 | 368264989 | 368286844 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | A
B | 368286813 | 368298493 | 368288831 | 368311107 | 368287435 | 368288855 | 368287682 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | B
C | 368289494 | 368312565 | 368259511 | 368287351 | 368280613 | 368286841 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | C
D | 368286826 | 368311048 | 368286823 | 368280676 | 368288602 | 368288829 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | D
E | 368287677 | 368259212 | 368287650 | 368259242 | 368288865 | 368311654 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | E
F | 368259249 | 368309235 | 368289039 | 368286791 | 368287635 | 368265055 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | F
G | 368287712 | 368259236 | 368289479 | 368287353 | 368289514 | 368286788 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | G
H | 368289528 | 368287513 | 368288641 | 368311642 | 368288789 | 368259529 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | TBE + 1%TW20 | PPC | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
[6 empty] | uL per reaction | 20 |  | VR-1986HK™ Lot Number: | 70035039
[6 empty] | minimum volume needed | 20
[6 empty] | uL to carry to dilution well | 20 |  | Virus Dilution | Dilution factor
Contrived SARS-CoV2 Spike-in: | [5 empty] | Dilution Factor | 2 | 1 : 1 | 375000
>We aim for 224 copies at the highest dilution in 20 uL volume (amount added to PCR rxn) |  |  |  |  | 224 | uL for D1 | 40 | 1 : 100 | 3750 | 100
> that translates into 11.2 copies/ul in D1 |  |  |  |  | 11.2 | number of 96-well plates | 1
> that translates into 448 copies in 40 uL D1 |  |  |  |  | 448 | copies for 1 96-well plates | 448
> that translates to 0 copies in 0 uL (0.0 is total of well + 0.0 added for dilution) |  |  |  |  | 448
2) ATCC inactivated Virus Spike
>prepare a 1 to 100 dilution to 3750 copies per uL | [6 empty] | > make these three dilutions
> add 0.1 uL to 19.9 uL background in first dilution well D1 (for 448 total viral copies) | [6 empty] | > pipet 10, 20, or 30uL of water into each well of plate for dilutions
> perform 2x dilution series from vial 1 (D1) as detailed above | [6 empty] | >make the dilutions of saliva
> make atcc dilutions with RNAsecure in TE
|  | Copies/uL of Final Dilution of Virus | 3750 |  |  |  | > make contrived saliva + ATCC
|  | ATCC to add to D1 | 0.11947 | 0.7168 |  |  | > pipet 40uL into A1-A4
|  | background Saliva | 19.8805 | 119.2832 |  |  | > Do serial Dilutions until row F; carryover 40 uL
> use multichannel to add 10uL of each well into the dilution plate made in step 2
> Incubate the mixture at 60°C for 10 minutes, then cool to room temperature
make contrived at concentrations above
dilute into 1:1, 1:2, 1:3 with water

## plate3
Plate Number 3
9 | 10 |  | 0 | 0
11 | 12 |  | Ashe Center- #1/ED study | Ashe Center #2
Ashe Center-#1/ED Study |  | Plate 3.3
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 368311643 | 368283814 | 368309286 | 368285258 | 368311089 | 368309008 | 368309289 | 368298478 | 368298496 | 368311095 | 368310193 | 368298381 | A
B | 368313627 | 368283814 | 368310265 | 368313058 | 368309234 | 368309276 | 368310720 | 368309302 | 368297507 | 368313046 | 368310756 | 368308941 | B
C | 368314341 | 368283814 diluted 2fold | 368312491 | 368299732 | 368313052 | 368312496 | 368302356 | 368298479 | 368313050 | 368298555 | 368298453 | 368310662 | C
D | 368279928 | 368283814 diluted 3fold | 368298521 | 368283319 | 368312541 | 368313000 | 368298531 | 368300392 | 368296390 | 368313001 | 368297239 | 368312979 | D
E | 368311643 | TBE + 1%TW20 | 368285872 | 368308938 | 368308971 | 368301437 | 368312971 | 368311104 | 368313007 | 368299036 | 368300414 | 368298435 | E
F | 368313627 | TBE + 1%TW20 | 368308999 | 368285249 | 368312564 | 368296838 | 368311137 | 368298540 | 368312532 | 368302375 | 368297421 | 368313009 | F
G | 368314341 | PPC | 368284992 | 368311074 | 368300427 | 368312542 | 368313011 | 368302361 | 368300431 | 368283343 | 368309255 | 368310216 | G
H | 368279928 | 368285407 | 368302350 | 368312976 | 368308967 | 368310231 | 368310757 | 368298506 | 368312968 | 368309267 | 368297461 | 368298955 | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Ashe Center-#2 |  | Plate 3.4
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 368288626 | 368288870 | 368310542 | 368309233 | 368289044 | 368287656 | 368265058 | 368288840 | 368288597 | 368280658 | 368297607 | 368285867 | A
B | 368309247 | 368287693 | 368288598 | 368288806 | 368286803 | 368287696 | 368288584 | 368312539 | 368288661 | 368288634 | 368311085 | 368309304 | B
C | 368310259 | 368264992 | 368309241 | 368286767 | 368289035 | 368286810 | 368289468 | 368296556 | 368288849 | 368286792 | 368312985 | 368308989 | C
D | 368310197 | 368259495 | 368288813 | 368289527 | 368288785 | 368260884 | 368287369 | 368289054 | 368288637 | 368289028 | 368284725 | 368283821 | D
E | 368288828 | 368288827 | 368289506 | 368259261 | 368289037 | 368289027 | 368314781 | 368259245 | 368288985 | 368298499 | 368288845 | 368309016 | E
F | 368287695 | 368288787 | 368287673 | 368289048 | 368288982 | 368287336 | 368289000 | 368286189 | 368288587 | 368288667 | 368309316 | TBE+1%TW20 | F
G | 368309237 | 368314733 | 368289047 | 368287691 | 368286781 | 368288862 | 368288642 | 368288795 | 368314699 | 368289059 | 368313032 | TBE+1%TW20 | G
H | 368287646 | 368311625 | 368287709 | 368265048 | 368264977 | 368288586 | 368288833 | 368310511 | 368288604 | 368297621 | 368302358 | PPC | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12

## plate4
Plate Number 4
13 | 14 |  | 0 | 0
15 | 16 |  | Ashe Center #2_replicate | Ashe Center #1/ ED Study_replicate
Ashe Center-#2 |  | Plate 4.3
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 368288626 | 368288870 | 368310542 | 368309233 | 368289044 | 368287656 | 368265058 | 368288840 | 368288597 | 368280658 | 368297607 | 368285867 | A
B | 368309247 | 368287693 | 368288598 | 368288806 | 368286803 | 368287696 | 368288584 | 368312539 | 368288661 | 368288634 | 368311085 | 368309304 | B
C | 368310259 | 368264992 | 368309241 | 368286767 | 368289035 | 368286810 | 368289468 | 368296556 | 368288849 | 368286792 | 368312985 | 368308989 | C
D | 368310197 | 368259495 | 368288813 | 368289527 | 368288785 | 368260884 | 368287369 | 368289054 | 368288637 | 368289028 | 368284725 | 368283821 | D
E | 368288828 | 368288827 | 368289506 | 368259261 | 368289037 | 368289027 | 368314781 | 368259245 | 368288985 | 368298499 | 368288845 | 368309016 | E
F | 368287695 | 368288787 | 368287673 | 368289048 | 368288982 | 368287336 | 368289000 | 368286189 | 368288587 | 368288667 | 368309316 | TBE+1%TW20 | F
G | 368309237 | 368314733 | 368289047 | 368287691 | 368286781 | 368288862 | 368288642 | 368288795 | 368314699 | 368289059 | 368313032 | TBE+1%TW20 | G
H | 368287646 | 368311625 | 368287709 | 368265048 | 368264977 | 368288586 | 368288833 | 368310511 | 368288604 | 368297621 | 368302358 | PPC | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Ashe Center-#1/ED Study |  | Plate 4.4
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 368311643 | 368283814 | 368309286 | 368285258 | 368311089 | 368309008 | 368309289 | 368298478 | 368298496 | 368311095 | 368310193 | 368298381 | A
B | 368313627 | 368283814 | 368310265 | 368313058 | 368309234 | 368309276 | 368310720 | 368309302 | 368297507 | 368313046 | 368310756 | 368308941 | B
C | 368314341 | 368283814 diluted 2fold | 368312491 | 368299732 | 368313052 | 368312496 | 368302356 | 368298479 | 368313050 | 368298555 | 368298453 | 368310662 | C
D | 368279928 | 368283814 diluted 3fold | 368298521 | 368283319 | 368312541 | 368313000 | 368298531 | 368300392 | 368296390 | 368313001 | 368297239 | 368312979 | D
E | 368311643 | TBE + 1%TW20 | 368285872 | 368308938 | 368308971 | 368301437 | 368312971 | 368311104 | 368313007 | 368299036 | 368300414 | 368298435 | E
F | 368313627 | TBE + 1%TW20 | 368308999 | 368285249 | 368312564 | 368296838 | 368311137 | 368298540 | 368312532 | 368302375 | 368297421 | 368313009 | F
G | 368314341 | PPC | 368284992 | 368311074 | 368300427 | 368312542 | 368313011 | 368302361 | 368300431 | 368283343 | 368309255 | 368310216 | G
H | 368279928 | 368285407 | 368302350 | 368312976 | 368308967 | 368310231 | 368310757 | 368298506 | 368312968 | 368309267 | 368297461 | 368298955 | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12

## barcode organization
Barcode organization
Ashe Center-#1/ED Study |  |  | plate # TS01399605 | [8 empty] | ASHE SALIVA
368311643 | 368283814 | 368309286 | 368285258 | 368311089 | 368309008 | 368309289 | 368298478 | 368298496 | 368311095 | 368310193 | 368298381 | ED STUDY SALIVA
368313627 | No Tube | 368310265 | 368313058 | 368309234 | 368309276 | 368310720 | 368309302 | 368297507 | 368313046 | 368310756 | 368308941
368314341 | No Tube | 368312491 | 368299732 | 368313052 | 368312496 | 368302356 | 368298479 | 368313050 | 368298555 | 368298453 | 368310662
368279928 | No Tube | 368298521 | 368283319 | 368312541 | 368313000 | 368298531 | 368300392 | 368296390 | 368313001 | 368297239 | 368312979
No Tube | No Tube | 368285872 | 368308938 | 368308971 | 368301437 | 368312971 | 368311104 | 368313007 | 368299036 | 368300414 | 368298435
No Tube | No Tube | 368308999 | 368285249 | 368312564 | 368296838 | 368311137 | 368298540 | 368312532 | 368302375 | 368297421 | 368313009
No Tube | No Tube | 368284992 | 368311074 | 368300427 | 368312542 | 368313011 | 368302361 | 368300431 | 368283343 | 368309255 | 368310216
No Tube | 368285407 | 368302350 | 368312976 | 368308967 | 368310231 | 368310757 | 368298506 | 368312968 | 368309267 | 368297461 | 368298955
Ashe Center-#2
368288626 | 368288870 | 368310542 | 368309233 | 368289044 | 368287656 | 368265058 | 368288840 | 368288597 | 368280658 | 368297607 | 368285867
368309247 | 368287693 | 368288598 | 368288806 | 368286803 | 368287696 | 368288584 | 368312539 | 368288661 | 368288634 | 368311085 | 368309304
368310259 | 368264992 | 368309241 | 368286767 | 368289035 | 368286810 | 368289468 | 368296556 | 368288849 | 368286792 | 368312985 | 368308989
368310197 | 368259495 | 368288813 | 368289527 | 368288785 | 368260884 | 368287369 | 368289054 | 368288637 | 368289028 | 368284725 | 368283821
368288828 | 368288827 | 368289506 | 368259261 | 368289037 | 368289027 | 368314781 | 368259245 | 368288985 | 368298499 | 368288845 | 368309016
368287695 | 368288787 | 368287673 | 368289048 | 368288982 | 368287336 | 368289000 | 368286189 | 368288587 | 368288667 | 368309316 | No Tube
368309237 | 368314733 | 368289047 | 368287691 | 368286781 | 368288862 | 368288642 | 368288795 | 368314699 | 368289059 | 368313032 | No Tube
368287646 | 368311625 | 368287709 | 368265048 | 368264977 | 368288586 | 368288833 | 368310511 | 368288604 | 368297621 | 368302358 | No Tube
Ashe Center-#3
368287639 | 368265062 | 368287671 | 368287341 | 368313588 | 368264989 | 368286844 | No Tube | No Tube | No Tube | No Tube | No Tube
368286813 | 368298493 | 368288831 | 368311107 | 368287435 | 368288855 | 368287682 | No Tube | No Tube | No Tube | No Tube | No Tube
368289494 | 368312565 | 368259511 | 368287351 | 368280613 | 368286841 | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube
368286826 | 368311048 | 368286823 | 368280676 | 368288602 | 368288829 | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube
368287677 | 368259212 | 368287650 | 368259242 | 368288865 | 368311654 | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube
368259249 | 368309235 | 368289039 | 368286791 | 368287635 | 368265055 | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube
368287712 | 368259236 | 368289479 | 368287353 | 368289514 | 368286788 | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube
368289528 | 368287513 | 368288641 | 368311642 | 368288789 | 368259529 | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube

## MasterMix
SSV25 - Mastermixes
Mix 1 - all plates | RT-PCR mix: | uL or (total copies in totalMM) | 921.6
| 4x Mastermix | 5 | 4608
| H2O | 6 | 5529.6 |  | Stock is 3000ng/uL (per EJ)
S2 dil 4 | S2 RNA spike | 460800 | 14.1697 |  | 1:20 working stock prepared from Eric's stock
RPP dil | RPP RNA spike | 460800 | 34.698
Lysate | 7 |  |  | 10151.7697 | qubit RNA HS(ng/uL) | 77.6 ng/uL
indexed primers (prestampled) | 2 |  |  | 13.2185 | > prepare 4 consecutive 1:100 dilution steps
Total Volume | 20 |  |  |  |  | > 99 uL ddH2O, 0.1% Tween + 1 uL previous dilution
Total to add to 384 well plate | 11 |  |  |  | > the final dilution should have 3600 copies / uL
> add 3.8uL (42500 copies) to RT-PCR mix
From V3 expt: Measured at 25 ng/uL, corresponding to 3.6*10^11 copies/uL (assuming a length of 130 nt)
Based on this should 3.6*10^11 (3.104)=
[8 empty] | copies/uL |  | From qubit |  | 6/22/2020 spike dil
[5 empty] | dilution | dilution step | dilution 1: X | 1117440000000 |  | ng/uL | actual copies/uL | ng/uL | copies/uL
[5 empty] | 1 | 100 | 100 | 11174400000 |  | 1.79 | 2.58E+10 | 1.192 | 1.717e+10
[5 empty] | 2 | 100 | 10000 | 111744000 |  | 0.0179 | 258000000 | 0.01192 | 171700000
[5 empty] | 3 | 100 | 1000000 | 1117440 |  | 0.000179 | 2580000 | 0.0001192 | 1717000
[5 empty] | 4 | 100 | 10000000 | 11174.4 | 3.5796 | 1.79e-06 | 25800 | 1.192e-06 | 17170
[5 empty] | 5 | 3 | 30000000 | 3724.8 | 1.3424 | 5.9667e-07 | 8600 | 3.9733e-07 | 5723.3333
RPP spike dil 5 | copies/uL | 13280.32
S2 spike dil 4 | copies/uL | 32520