## Run Setup Notes
V41 | 2020-08-14
fill out yellow wells to autopopulate experimental plan
** all heated to 95C for 30 minutes in oven > diluted with h2o > plated 7uL into MM
TaqPath thermocycler: 50C for 5, 95 for 20s, 40 cycles of 95C 5s + 60C 30s
** Pooling from previous plates!
| 384-Primer Sets: 2, 3, 4? | 384-well primer plates
| Plate 1 | D
Plate 2
Plate 3
| Plate 4 |  |  |  | 384_wellplate | new | old | ExperimentPlateName |  | Notes from Josh
[5 empty] | Plate1 | 1 | 4 | Ashe Saliva Pool Neg |  | We need to key back to the names of the 384 UDI plates we already have from Octant
| V41 Plate 1 | 384 primer plate D | 96-well sample plate used for each quadrant |  | Plate1 | 2 | 5 | Ashe Saliva Pool Neg | SetA | 1.1 | 2.2 | SetA | 1 | 6 | 1 | 2
| 1 | 2 | Ashe Saliva Pool Neg | Ashe Saliva Pool Neg | Plate1 | 3 | 10 | Ashe Saliva Pool Neg |  | 3.3 | 4.4 |  | 11 | 16 | 3 | 4
| 3 | 4 | Ashe Saliva Pool Neg | Q4 V37 - NS MNS Clin Samples 1:4 | Plate1 | 4 | 15 | Q4 V37 - NS MNS Clin Samples 1:4
[5 empty] | Plate 2 | 5 |  |  | SetB | 1.2 | 2.3 | SetB | 2 | 7 | 5 | 6
| V41 Plate 2 | 384 primer plate 0 |  |  | Plate 2 | 6 |  |  |  | 3.4 | 4.1 |  | 12 | 13 | 7 | 8
| 5 | 6 |  |  | Plate 2 | 7
| 7 | 8 |  |  | Plate 2 | 8 |  |  | SetC | 1.3 | 2.4 | SetC | 3 | 8 | 9 | 10
[5 empty] | Plate 3 | 9 |  |  |  | 3.1 | 4.2 |  | 9 | 14 | 11 | 12
| V41 Plate 3 | 384 primer plate 0 |  |  | Plate 3 | 10
| 9 | 10 |  |  | Plate 3 | 11 |  |  | SetD | 1.4 | 2.1 | SetD | 4 | 5 | 13 | 14
| 11 | 12 |  |  | Plate 3 | 12 |  |  |  | 3.2 | 4.3 |  | 10 | 15 | 15 | 16
[5 empty] | Plate 4 | 13
| V41 Plate 4 | 384 primer plate 0 |  |  | Plate 4 | 14
| 13 | 14 |  |  | Plate 4 | 15
| 15 | 16 |  |  | Plate 4 | 16

## Plate 1
Plate 1 | D
1 | 2 |  | Ashe Saliva Pool Neg | Ashe Saliva Pool Neg
3 | 4 |  | Ashe Saliva Pool Neg | Q4 V37 - NS MNS Clin Samples 1:4
Quadrant 1, 2, 3
Ashe Saliva Pool Neg | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | A
B | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | B
C | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | C
D | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | D
E | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | E
F | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | F
G | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | G
H | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | Ashe Pool - Neg | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| NEW POSITIIVE |  |  |  | NEW NEGATIVE |  | OLD (30 SAMPLES)
Quadrant 4 | Diluted 1:4 in h2o
Q4 V37 - NS MNS Clin Samples 1:4 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | O-015 | O-073 | O-013 |  | O-032 | O-056 |  | R-003 | R-031 | R-034 | O-014 |  | A
B | O-019 | O-074 | O-010 |  | R-038 | O-057 |  | O-003 | C-009 | R-032 | R-042 |  | B
C | O-022 | O-075 | R-012 |  | O-038 | O-058 |  | O-031 | O-034 | O-009 | R-047 |  | C
D | O-023 | O-16 | A-008 |  | R-036 | O-059 |  | O-049 | R-014 | R-035 | C-008 |  | D
E | O-024 | O-17 | O-009 |  | O-036 |  |  | O-048 | O-035 | R-039 | R-048 |  | E
F | O-070 | R-001 | R-022 |  | R-033 |  |  | R-005 | O-037 | R-004 | R-049 |  | F
G | O-071 | O-012 |  |  | O-033 |  |  | O-042 | O-039 | R-040 |  |  | G
H | O-072 | R-002 |  |  | O-055 |  |  | O-047 | R-006 | R-041 |  |  | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
dilute 10uL in 40uL h2o
mix and pipette 7uL into master mix

## Plate 2
Plate 2 | D
5 | 6
7 | 8

## Plate 3
Plate 3 | D
9 | 10
11 | 12

## Plate 4
Plate 4 | D
13 | 14
15 | 16

## MasterMix
V41 | Master Mixes | # plates | 3
Mix 1 - Taqpath | RT-PCR mix: | uL or (total copies in total) | 345.6
| 4x Mastermix | 5 | 1728
| H2O | 6 | 2073.6 |  | Stock is 3000ng/uL (per EJ)
S2 dil 4 | S2 RNA spike | 172800 | 6.7399 |  | 1:20 working stock prepared from Eric's stock
RPP dil
Lysate | 7 |  |  | 3808.3399 | qubit RNA HS(ng/uL) | 77.6 ng/uL
Indexed primers (prestampled) | 2 |  |  | 4.9588 | > prepare 4 consecutive 1:100 dilution steps
Total Volume | 20 |  |  |  |  | > 99 uL ddH2O, 0.1% Tween + 1 uL previous dilution
Total to add to 384 well plate | 11 |  |  |  | > final dilution should have 3600 copies / uL
> add 3.8uL (42500 copies) to RT-PCR mix
From V3 expt: Measured at 25 ng/uL, corresponding to 3.6*10^11 copies/uL (assuming a length of 130 nt)
RPP spike dil 5 | copies/uL | 13280.32 |  |  |  |  | Based on this should 3.6*10^11 (3.104)=
8/13 S2 spike dil 4 | copies/uL | 25638.33 | [5 empty] | copies/uL |  | From qubit |  | 6/22/2020 spike dil
[5 empty] | dilution | dilution step | dilution 1: X | 1117440000000 |  | ng/uL | actual copies/uL | ng/uL | copies/uL
[5 empty] | 1 | 100 | 100 | 11174400000 |  | 1.79 | 2.58E+10 | 1.192 | 1.717e+10
[5 empty] | 2 | 100 | 10000 | 111744000 |  | 0.0179 | 258000000 | 0.01192 | 171700000
[5 empty] | 3 | 100 | 1000000 | 1117440 |  | 0.000179 | 2580000 | 0.0001192 | 1717000
[5 empty] | 4 | 100 | 10000000 | 11174.4 | 3.5796 | 1.79e-06 | 25800 | 1.192e-06 | 17170
[5 empty] | 5 | 3 | 30000000 | 3724.8 | 1.3424 | 5.9667e-07 | 8600 | 3.9733e-07 | 5723.3333