## Run set up notes
v31 | 7/20/2020 PCR |  |  | fill out yellow wells and these will autopopulate sections of experimental plan
** Testing Mastermix: TaqPath vs Quantabio
** all heated to 95C for 30 minutes in oven > diluted with 2x TBE with 0.5% Tw20 > plated 7uL into MM
| 384-Primer Sets: 2, 3, 4? | 384-well primer plates
| Plate 1 | Set A | [6 empty] | Notes from Josh
| Plate 2 | Set B | [6 empty] | We need to key back to the names of the 384 UDI plates we already have from Octant
| Plate 3 | Set C | [5 empty] | SetA | 1.1 | 2.2 | SetA | 1 | 6 | 1 | 2
| Plate 4 | Set D | [6 empty] | 3.3 | 4.4 |  | 11 | 16 | 3 | 4
[8 empty] | SetB | 1.2 | 2.3 | SetB | 2 | 7 | 5 | 6
[9 empty] | 3.4 | 4.1 |  | 12 | 13 | 7 | 8
[8 empty] | SetC | 1.3 | 2.4 | SetC | 3 | 8 | 9 | 10
[9 empty] | 3.1 | 4.2 |  | 9 | 14 | 11 | 12
| v31 Plate 1 | 384 primer plate Set A | 96-well sample plate used for each quadrant |  |  |  |  | SetD | 1.4 | 2.1 | SetD | 4 | 5 | 13 | 14
| 1 | 2 | Aimes Samples | MNS TE Neat Dilute |  |  |  |  | 3.2 | 4.3 |  | 10 | 15 | 15 | 16
| 3 | 4 | clean TBET 1 | clean TBET 2
[5 empty] | 384_wellplate | new | old | ExperimentPlateName
| v31 Plate 2 | 384 primer plate Set B |  |  | Plate1 | 1 | 1 | Aimes Samples
| 5 | 6 |  |  | Plate1 | 2 | 6 | MNS TE Neat Dilute
| 7 | 8 |  |  | Plate1 | 3 | 11 | clean TBET 1
[5 empty] | Plate1 | 4 | 16 | clean TBET 2
| v31 Plate 3 | 384 primer plate Set C |  |  | Plate3 | 9 | 3 | contam_1
| 9 | 10 | contam_1 | contam_2 | Plate3 | 10 | 8 | contam_2
| 11 | 12 | contam_3 | 722 ED | Plate3 | 11 | 9 | contam_3
[5 empty] | Plate3 | 12 | 14 | 722 ED
| v31 Plate 4 | 384 primer plate Set D
| 13 | 14
| 15 | 16
TaqPath thermocycler: 50C for 5, 95 for 20s, 40 cycles of 95C 5s + 60C 30s
Pipetted clean TBET plates (2x TBE with 1% tween) first after UV treatment of hoods and benchsmarts. TBET 1 plated into mastermix FIRST followed by all subsequent plates, then TBET2 last.

## plate1
Plate Number 1 | Set A
1 | 2 |  | Aimes Samples | MNS TE Neat Dilute |  | 1 | 6
3 | 4 |  | clean TBET 1 | clean TBET 2 |  | 11 | 16 | [6 empty] | New Neat Plate
MNS = mid nasal swab pooled from ASHE which is in TE. Need 96*20*1.2 = 2304ul. Aim for 2500ul pooled.
Quadrant 1 | [13 empty] | Quadrant 2 |  | 20ul per well
Aimes Samples | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | TE | Aimes 1 | Aimes 1 | Aimes 1 | Aimes 8 | Aimes 8 | Aimes 8 | Aimes 15 | Aimes 15 | Aimes 15 | TE | TE | A | A | TE | MNS | MNS | MNS | MNS | MNS | MNS | MNS | MNS | MNS | MNS | TE | A
B | TE | Aimes 2 | Aimes 2 | Aimes 2 | Aimes 9 | Aimes 9 | Aimes 9 | Aimes 16 | Aimes 16 | Aimes 16 | TE | TE | B | B | TE | MNS | MNS | MNS | MNS | MNS | MNS | MNS | MNS | MNS | MNS | TE | B
C | TE | Aimes 3 | Aimes 3 | Aimes 3 | Aimes 10 | Aimes 10 | Aimes 10 | Aimes 17 | Aimes 17 | Aimes 17 | TE | TE | C | C | TE | MNS | MNS | MNS | MNS | MNS | MNS | MNS | MNS | MNS | MNS | TE | C
D | TE | Aimes 4 | Aimes 4 | Aimes 4 | Aimes 11 | Aimes 11 | Aimes 11 | Aimes 18 | Aimes 18 | Aimes 18 | TE | TE | D | D | TE | MNS | MNS | MNS | MNS | MNS | MNS | MNS | MNS | MNS | MNS | TE | D
E | TE | Aimes 5 | Aimes 5 | Aimes 5 | Aimes 12 | Aimes 12 | Aimes 12 | Aimes 19 | Aimes 19 | Aimes 19 | TE | TE | E | E | TE | MNS | MNS | MNS | MNS | MNS | MNS | MNS | MNS | MNS | MNS | TE | E
F | TE | Aimes 6 | Aimes 6 | Aimes 6 | Aimes 13 | Aimes 13 | Aimes 13 | Aimes 20 | Aimes 20 | Aimes 20 | TE | TE | F | F | TE | MNS | MNS | MNS | MNS | MNS | MNS | MNS | MNS | MNS | MNS | TE | F
G | TE | Aimes 7 | Aimes 7 | Aimes 7 | Aimes 14 | Aimes 14 | Aimes 14 | TE | TE | TE | TE | TE | G | G | TE | MNS | MNS | MNS | MNS | MNS | MNS | MNS | MNS | MNS | MNS | TE | G
H | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | H | H | TE | MNS | MNS | MNS | MNS | MNS | MNS | MNS | MNS | MNS | MNS | TE | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Aimes Samples | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | Dilute in h2o | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 14ul TE | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 14ul TE | 14ul TE | A | A | TE | 1:1 | 1:1 | 1:1 | 1:4 | 1:4 | 1:4 | 1:4 | 1:6 | 1:6 | 1:6 | TE | A
B | 14ul TE | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 14ul TE | 14ul TE | B | B | TE | 1:1 | 1:1 | 1:1 | 1:4 | 1:4 | 1:4 | 1:4 | 1:6 | 1:6 | 1:6 | TE | B
C | 14ul TE | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 14ul TE | 14ul TE | C | C | TE | 1:1 | 1:1 | 1:1 | 1:4 | 1:4 | 1:4 | 1:4 | 1:6 | 1:6 | 1:6 | TE | C
D | 14ul TE | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 14ul TE | 14ul TE | D | D | TE | 1:1 | 1:1 | 1:1 | 1:4 | 1:4 | 1:4 | 1:4 | 1:6 | 1:6 | 1:6 | TE | D
E | 14ul TE | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 14ul TE | 14ul TE | E | E | TE | 1:1 | 1:1 | 1:1 | 1:4 | 1:4 | 1:4 | 1:4 | 1:6 | 1:6 | 1:6 | TE | E
F | 14ul TE | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 14ul TE | 14ul TE | F | F | TE | 1:1 | 1:1 | 1:1 | 1:4 | 1:4 | 1:4 | 1:4 | 1:6 | 1:6 | 1:6 | TE | F
G | 14ul TE | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 14ul TE | 14ul TE | 14ul TE | 14ul TE | 14ul TE | G | G | TE | 1:1 | 1:1 | 1:1 | 1:4 | 1:4 | 1:4 | 1:4 | 1:6 | 1:6 | 1:6 | TE | G
H | 14ul TE | 14ul TE | 14ul TE | 14ul TE | 14ul TE | 14ul TE | 14ul TE | 14ul TE | 14ul TE | 14ul TE | 14ul TE | 14ul TE | H | H | TE | 1:1 | 1:1 | 1:1 | 1:4 | 1:4 | 1:4 | 1:4 | 1:6 | 1:6 | 1:6 | TE | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
[14 empty] | ATCC Copies per mL | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| For each sample, make mix of 4ul sample + 40ul h2o. pipet 12ul into each well in 96. | [12 empty] | A | - | 45714.2857 | 45714.2857 | 45714.2857 | 45714.2857 | 45714.2857 | 45714.2857 | 45714.2857 | 45714.2857 | 45714.2857 | 45714.2857 | - | A
[14 empty] | B | - | 22857.1429 | 22857.1429 | 22857.1429 | 22857.1429 | 22857.1429 | 22857.1429 | 22857.1429 | 22857.1429 | 22857.1429 | 22857.1429 | - | B
[14 empty] | C | - | 11428.5714 | 11428.5714 | 11428.5714 | 11428.5714 | 11428.5714 | 11428.5714 | 11428.5714 | 11428.5714 | 11428.5714 | 11428.5714 | - | C
[14 empty] | D | - | 5714.2857 | 5714.2857 | 5714.2857 | 5714.2857 | 5714.2857 | 5714.2857 | 5714.2857 | 5714.2857 | 5714.2857 | 5714.2857 | - | D
[14 empty] | E | - | 2857.1429 | 2857.1429 | 2857.1429 | 2857.1429 | 2857.1429 | 2857.1429 | 2857.1429 | 2857.1429 | 2857.1429 | 2857.1429 | - | E
[14 empty] | F | - | 1428.5714 | 1428.5714 | 1428.5714 | 1428.5714 | 1428.5714 | 1428.5714 | 1428.5714 | 1428.5714 | 1428.5714 | 1428.5714 | - | F
[14 empty] | G | [12 empty] | G | bar: 1 to 12
[14 empty] | H | [12 empty] | H | bar: 1 to 12
-
[14 empty] | sample volume | 1: 7
[14 empty] | Virus Copies/Reaction if no dilution | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
[14 empty] | A | - | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | - | A
[14 empty] | B | - | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | - | B
[14 empty] | C | - | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | - | C
[14 empty] | D | - | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | - | D
[14 empty] | E | - | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | - | E
[14 empty] | F | - | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | - | F
[14 empty] | G | [12 empty] | G | bar: 7 1 to 7 12
[14 empty] | H | [12 empty] | H | bar: 7 1 to 7 12
[15 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
[14 empty] | dilution factor | 1: 2; 5: 5; 9: 7
[14 empty] | dilution | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
[14 empty] | A |  | 160 | 160 | 160 | 64 | 64 | 64 | 64 | 45.7143 | 45.7143 | 45.7143 |  | A
[14 empty] | B |  | 80 | 80 | 80 | 32 | 32 | 32 | 32 | 22.8571 | 22.8571 | 22.8571 |  | B
[14 empty] | C |  | 40 | 40 | 40 | 16 | 16 | 16 | 16 | 11.4286 | 11.4286 | 11.4286 |  | C
[14 empty] | D |  | 20 | 20 | 20 | 8 | 8 | 8 | 8 | 5.7143 | 5.7143 | 5.7143 |  | D
[14 empty] | E |  | 10 | 10 | 10 | 4 | 4 | 4 | 4 | 2.8571 | 2.8571 | 2.8571 |  | E
[14 empty] | F |  | 5 | 5 | 5 | 2 | 2 | 2 | 2 | 1.4286 | 1.4286 | 1.4286 |  | F
[14 empty] | G | [12 empty] | G | bar: 5 5 to 5 8
[14 empty] | H | [12 empty] | H | bar: 5 5 to 5 8
[15 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
[16 empty] | 7ul MNS + 7ul h2o |  |  | 3ul MNS + 12ul h2o |  |  |  | 2ul MNS + 12ul h2o
[15 empty] | 6: uL per reaction; 7: 7; 9: VR-1986HK™ Lot Number:; 10: 70035039; 12: Ashe nasal swabs | Rack TS01399006
[15 empty] | 6: minimum volume needed; 7: 12; 12: 12 | A | 368287367 | did not use. not enough.
[14 empty] | ** this is number of copies before we make the dilution | 6: uL to carry to dilution well; 7: 20; 9: Virus Dilution; 10: Dilution factor; 12: 12 | B | 368287385 | nasal
[14 empty] | Contrived SARS-CoV2 Spike-in: | 6: Dilution Factor; 7: 2; 8: 1 : 1; 9: 375000; 12: 12 | C | 368287381 | nasal
[14 empty] | >We aim for 320 copies at the highest dilution in 7 uL volume (amount added to PCR rxn) | 5: 320; 6: uL for D1; 7: 40; 8: 1 : 300; 9: 1250; 10: 300; 12: 12 | D | 368286765 | nasal
[14 empty] | > that translates into 45.7 copies/ul in D1 | 5: 45.7143; 6: number of 96-well plates; 7: 1; 12: 12 | E | 368259275 | nasal
[14 empty] | > that translates into 1829 copies in 40 uL D1 | 5: 1828.5714; 6: copies for 1 96-well plates; 7: 1828.5714; 12: 12 | F | 368287371 | nasal
[14 empty] | > that translates to 0 copies in 0 uL (0.0 is total of well + 0.0 added for dilution) | 5: 1828.5714; 12: 12 | G | 368287425 | nasal
[15 empty] | 12: 12 | H | 368312517 | nasal
2) ATCC inactivated Virus Spike
>prepare a 1 to 300 dilution to 1250 copies per uL
[14 empty] | > add 1.5 uL to 18.5 uL background in first dilution well D1 (for 1829 total viral copies) | 10: 1828.5714
> perform 2x dilution series from vial 1 (D1) as detailed above
[16 empty] | Copies/uL of Final Dilution of Virus | 1250 |  |  | ATCC | = MNS
[16 empty] | ATCC to add to D1 | 1.4629 | 17.5543 |  | 5.8513 | 11.7027
[16 empty] | background lysate to add to first row | 18.5371 | 222.4457
make contrived at concentrations above
dilute into 1:1 or 1:4 or 1:6 background

## plate2
Plate Number 2
5 | 6 | 0 | 0
7 | 8 | 0 | 0

## plate3
Plate Number 3 | Set C | [5 empty] | 3
9 | 10 |  | contam_1 | contam_2 |  |  | 8
11 | 12 |  | contam_3 | 722 ED |  |  | 9
14
| heat at 95C, spin, decap and pipette warm, neg controls in matrix tubes |  |  |  | full tubes | less full tubes
| NEG control - spike in virus only after everything is plated | [6 empty] | dupe cols 1-6 when pipetting into mastermix
contam_1 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2xTBE + 1%tween | saliva 1 NC | saliva 1 NC | saliva 3 NC | saliva 3 NC | 2xTBE + 1%tween | 2xTBE + 1%tween | saliva 1 NC | saliva 1 NC | saliva 3 NC | saliva 3 NC | 2xTBE + 1%tween | A
B | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | B
C | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | C
D | saliva 1 + virus | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | saliva 3 + virus | saliva 1 + virus | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | saliva 3 + virus | D
E | saliva 2 + virus | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | saliva 4 + virus | saliva 2 + virus | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | saliva 4 + virus | E
F | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | F
G | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | G
H | 2xTBE + 1%tween | saliva 2 NC | saliva 2 NC | saliva 4 NC | saliva 4 NC | 2xTBE + 1%tween | 2xTBE + 1%tween | saliva 2 NC | saliva 2 NC | saliva 4 NC | saliva 4 NC | 2xTBE + 1%tween | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
heat at 95C, spin, decap and pipette warm, neg controls in matrix tubes
| Add spike in virus after decapping but before pipetting into 96 well plate | [6 empty] | dupe cols 1-6 when pipetting into mastermix
contam_2 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2xTBE + 1%tween | saliva 1 NC | saliva 1 NC | saliva 3 NC | saliva 3 NC | 2xTBE + 1%tween | 2xTBE + 1%tween | saliva 1 NC | saliva 1 NC | saliva 3 NC | saliva 3 NC | 2xTBE + 1%tween | A
B | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | B
C | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | C
D | saliva 1 + virus | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | saliva 3 + virus | saliva 1 + virus | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | saliva 3 + virus | D
E | saliva 2 + virus | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | saliva 4 + virus | saliva 2 + virus | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | saliva 4 + virus | E
F | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | F
G | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | G
H | 2xTBE + 1%tween | saliva 2 NC | saliva 2 NC | saliva 4 NC | saliva 4 NC | 2xTBE + 1%tween | 2xTBE + 1%tween | saliva 2 NC | saliva 2 NC | saliva 4 NC | saliva 4 NC | 2xTBE + 1%tween | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
heat at 95C, spin, decap and pipette warm, neg controls in matrix tubes
| Do this plate last. spike in virus added to matrix tubes in last plate, recap and then decap | [6 empty] | dupe cols 1-6 when pipetting into mastermix
contam_3 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2xTBE + 1%tween | saliva 1 NC | saliva 1 NC | saliva 3 NC | saliva 3 NC | 2xTBE + 1%tween | 2xTBE + 1%tween | saliva 1 NC | saliva 1 NC | saliva 3 NC | saliva 3 NC | 2xTBE + 1%tween | A
B | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | B
C | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | C
D | saliva 1 + virus | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | saliva 3 + virus | saliva 1 + virus | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | saliva 3 + virus | D
E | saliva 2 + virus | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | saliva 4 + virus | saliva 2 + virus | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | saliva 4 + virus | E
F | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | F
G | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | G
H | 2xTBE + 1%tween | saliva 2 NC | saliva 2 NC | saliva 4 NC | saliva 4 NC | 2xTBE + 1%tween | 2xTBE + 1%tween | saliva 2 NC | saliva 2 NC | saliva 4 NC | saliva 4 NC | 2xTBE + 1%tween | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
722 ED | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 368314769 | 368310296 | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | A
B | 368314769 | 368310296 | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | B
C | 368314769 | 368310296 | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | C
D | 368314769 | 368310296 | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | D
E | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | E
F | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | F
G | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | G
H | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12

## plate4
Plate Number 4 | Set D
13 | 14 | 0 | 0
15 | 16 | 0 | 0

## MasterMix
v31 | Master Mixes
Mix 1 - Taqpath | RT-PCR mix: | uL or (total copies in total) | 921.6
| 4x Mastermix | 5 | 4608
| H2O | 6 | 5529.6 |  | Stock is 3000ng/uL (per EJ)
S2 dil 4 | S2 RNA spike | 460800 | 14.1697 |  | 1:20 working stock prepared from Eric's stock
RPP dil | RPP RNA spike | 460800 | 34.698
Lysate | 7 |  |  | 10151.7697 | qubit RNA HS(ng/uL) | 77.6 ng/uL
indexed primers (prestampled) | 2 |  |  | 13.2185 | > prepare 4 consecutive 1:100 dilution steps
Total Volume | 20 |  |  |  |  | > 99 uL ddH2O, 0.1% Tween + 1 uL previous dilution
Total to add to 384 well plate | 11 |  |  |  | > the final dilution should have 3600 copies / uL
> add 3.8uL (42500 copies) to RT-PCR mix
From V3 expt: Measured at 25 ng/uL, corresponding to 3.6*10^11 copies/uL (assuming a length of 130 nt)
RPP spike dil 5 | copies/uL | 13280.32 |  |  |  |  | Based on this should 3.6*10^11 (3.104)=
S2 spike dil 4 | copies/uL | 32520 | [5 empty] | copies/uL |  | From qubit |  | 6/22/2020 spike dil
[5 empty] | dilution | dilution step | dilution 1: X | 1117440000000 |  | ng/uL | actual copies/uL | ng/uL | copies/uL
[5 empty] | 1 | 100 | 100 | 11174400000 |  | 1.79 | 2.58E+10 | 1.192 | 1.717e+10
[5 empty] | 2 | 100 | 10000 | 111744000 |  | 0.0179 | 258000000 | 0.01192 | 171700000
[5 empty] | 3 | 100 | 1000000 | 1117440 |  | 0.000179 | 2580000 | 0.0001192 | 1717000
[5 empty] | 4 | 100 | 10000000 | 11174.4 | 3.5796 | 1.79e-06 | 25800 | 1.192e-06 | 17170
[5 empty] | 5 | 3 | 30000000 | 3724.8 | 1.3424 | 5.9667e-07 | 8600 | 3.9733e-07 | 5723.3333