## Run set up notes
V27 | Plates set up monday 7/13 |  |  | fill out yellow wells and these will autopopulate sections of experimental plan
MiSeq Tuesday 7/15
** load only 7 uL
** samples from Ashe Pilot Validation here
** some nasal swabs from Ashe
** ED samples
** all heated to 95C for 30 minutes in oven > diluted with 2x TBE with 0.5% Tw20 > plated 7uL into MM
| 384-Primer Sets: 2, 3, 4? | 384-well primer plates
| Plate 1 | 1
| Plate 2 | 2
| Plate 3 | 3
| Plate 4 | 4
[5 empty] | Run 27 |  | Run 24
| V27 Plate 1 | 384 primer plate 1 | 96-well sample plate used for each quadrant |  | quadrant | TC used | quadrant | TC used
| 1 | 2 | plate1_v26plate1 |  | 1 |  | 4 | 4
| 3 | 4
| V27 Plate 2 | 384 primer plate 2
| 5 | 6 |  | plate2: Ashe 713 | 2 |  | 3 | 5
| 7 | 8
| V27 Plate 3 | 384 primer plate 3
| 9 | 10 |  |  | 3 |  | 2 | 6
| 11 | 12 | plate3
| V27 Plate 4 | 384 primer plate 4
| 13 | 14 |  |  |  |  | 1 | 7
| 15 | 16

## plate1_v26plate1
Plate Number 1
1 | 2 |  | plate1_v26plate1
3 | 4
All Saliva is diluted with Buffer, heated to 95C, cooled and then S2 RNA is added after in dilution
Prelim LOD
Load 7uL of final dilution plate
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | A
B | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | B
C | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | C
D | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | D
E | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | E
F | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | F
G | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | G
H | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
10uL of Saliva
TE +RNA Sec + QP
Saliva | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | A
B | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | B
C | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | C
D | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | D
E | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | E
F | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | F
G | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | G
H | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Diliution 1:1 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | A
B | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | B
C | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | C
D | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | D
E | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | E
F | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | F
G | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | G
H | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Copies per mL | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | - | - | - | - | - | - | A
B | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | - | - | - | - | - | - | B
C | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | - | - | - | - | - | - | C
D | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | - | - | - | - | - | - | D
E | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | - | - | - | - | - | - | E
F | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | - | - | - | - | - | - | F
G | - | - | - | - | - | - | - | - | - | - | - | - | G
H | - | - | - | - | - | - | - | - | - | - | - | - | H
[8 empty] | - | - | - | -
Each reaction = 7uL of lysate
Virus Copies/Reaction | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 224 | 224 | 224 | 224 | 224 | 224 | - | - | - | - | - | - | A
B | 112 | 112 | 112 | 112 | 112 | 112 | - | - | - | - | - | - | B
C | 56 | 56 | 56 | 56 | 56 | 56 | - | - | - | - | - | - | C
D | 28 | 28 | 28 | 28 | 28 | 28 | - | - | - | - | - | - | D
E | 14 | 14 | 14 | 14 | 14 | 14 | - | - | - | - | - | - | E
F | 7 | 7 | 7 | 7 | 7 | 7 | - | - | - | - | - | - | F
G | - | - | - | - | - | - | - | - | - | - | - | - | G
H | - | - | - | - | - | - | - | - | - | - | - | - | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
2
Virus Copies/Reaction after dilutions | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 112 | 112 | 112 | 112 | 112 | 112 | - | - | - | - | - | - | A
B | 56 | 56 | 56 | 56 | 56 | 56 | - | - | - | - | - | - | B
C | 28 | 28 | 28 | 28 | 28 | 28 | - | - | - | - | - | - | C
D | 14 | 14 | 14 | 14 | 14 | 14 | - | - | - | - | - | - | D
E | 7 | 7 | 7 | 7 | 7 | 7 | - | - | - | - | - | - | E
F | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | - | - | - | - | - | - | F
G | - | - | - | - | - | - | - | - | - | - | - | - | G
H | - | - | - | - | - | - | - | - | - | - | - | - | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
SampleName | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | S-001 | S-011 | S-001 | S-011 | S-001 | S-011 | A
B | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | S-002 | S-012 | S-002 | S-012 | S-002 | S-012 | B
C | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | S-004 | S-013 | S-004 | S-013 | S-004 | S-013 | C
D | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | S-005 | S-015 | S-005 | S-015 | S-005 | S-015 | D
E | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | S-006 | S-016 | S-006 | S-016 | S-006 | S-016 | E
F | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | S-007 | S-017 | S-007 | S-017 | S-007 | S-017 | F
G | Contrived | Contrived | Contrived | Contrived | Contrived | Contrived | S-008 | S-018 | S-008 | S-018 | S-008 | S-018 | G
H | Contrived | Contrived | Contrived | S-021 | S-021 | S-021 | S-009 | S-020 | S-009 | S-020 | S-009 | S-020 | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Heat Treatment | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | A
B | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | B
C | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | C
D | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | D
E | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | E
F | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | F
G | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | G
H | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | 95C-30min | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12

## plate2
Plate Number 2
5 | 6 |  |  | plate2: Ashe 713
7 | 8
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 368284727 | 368283305 | 368285871 | 368285856 | 368285262 | 368285360 | 368284727 | 368283305 | 368285871 | 368285856 | 368285262 | 368285360 | A
B | 368282830 | 368285858 | 368285254 | 368285296 | 368282925 | 368284709 | 368282830 | 368285858 | 368285254 | 368285296 | 368282925 | 368284709 | B
C | 368284705 | 368285231 | 368285027 | 368285363 | 368285223 | TE | 368284705 | 368285231 | 368285027 | 368285363 | 368285223 | TE | C
D | 368284732 | 368270470 | 368283809 | 368283926 | 368283307 | TE | 368284732 | 368270470 | 368283809 | 368283926 | 368283307 | TE | D
E | 368283891 | 368285287 | 368285259 | 368283316 | 368284904 | TE | 368283891 | 368285287 | 368285259 | 368283316 | 368284904 | TE | E
F | 368285235 | 368285380 | 368283389 | 368285375 | 368285398 | TE | 368285235 | 368285380 | 368283389 | 368285375 | 368285398 | TE | F
G | 368285345 | 368285865 | 368283861 | 368283325 | 368284742 | TE | 368285345 | 368285865 | 368283861 | 368283325 | 368284742 | TE | G
H | 368285329 | 368285334 | 368284879 | 368284845 | 368284053 | PPC | 368285329 | 368285334 | 368284879 | 368284845 | 368284053 | PPC | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12

## plate3
Plate Number 3
9 | 10
11 | 12 |  | plate3
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 368284727 | 368283305 | 368285871 | 368285856 | 368285262 | 368285360 | 368287660 | 368287660 | 368287660 | 368313590 | 368313590 | 368313590 | A
B | 368282830 | 368285858 | 368285254 | 368285296 | 368282925 | 368284709 | 368287680 | 368287680 | 368287680 | 368310201 | 368310201 | 368310201 | B
C | 368284705 | 368285231 | 368285027 | 368285363 | 368285223 | TE | 368314369 | 368314369 | 368314369 | 368313572 | 368313572 | 368313572 | C
D | 368284732 | 368270470 | 368283809 | 368283926 | 368283307 | TE | 368313563 | 368313563 | 368313563 | 368313618 | 368313618 | 368313618 | D
E | 368283891 | 368285287 | 368285259 | 368283316 | 368284904 | TE | 368312494 | 368312494 | 368312494 | 368313544 | 368313544 | 368313544 | E
F | 368285235 | 368285380 | 368283389 | 368285375 | 368285398 | TE | 368284716 | 368284716 | 368284716 | 368298557 | 368298557 | 368298557 | F
G | 368285345 | 368285865 | 368283861 | 368283325 | 368284742 | TE | 368286769 | 368286769 | 368286769 | TE | TE | TE | G
H | 368285329 | 368285334 | 368284879 | 368284845 | 368284053 | PPC | TE | TE | TE | TE | TE | PPC | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12

## barcode organization
Barcode orientations
Ashe saliva
368284727 | 368283305 | 368285871 | 368285856 | 368285262 | 368285360 | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube
368282830 | 368285858 | 368285254 | 368285296 | 368282925 | 368284709 | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube
368284705 | 368285231 | 368285027 | 368285363 | 368285223 | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube
368284732 | 368270470 | 368283809 | 368283926 | 368283307 | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube
368283891 | 368285287 | 368285259 | 368283316 | 368284904 | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube
368285235 | 368285380 | 368283389 | 368285375 | 368285398 | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube
368285345 | 368285865 | 368283861 | 368283325 | 368284742 | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube
368285329 | 368285334 | 368284879 | 368284845 | 368284053 | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube
Ashe nasal swabs
368287660 | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube
368287680 | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube
368314369 | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube
368313563 | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube
368312494 | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube
368284716 | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube
368286769 | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube
No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube
ED saliva
368313590 | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube
368310201 | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube
368313572 | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube
368313618 | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube
368313544 | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube
368298557 | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube
No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube
No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube | No Tube

## MasterMix
SSV25 - Mastermixes
Mix 1 - all plates | RT-PCR mix: | uL or (total copies in totalMM) | 345.6
| 4x Mastermix | 5 | 1728
| H2O | 6 | 2073.6 |  | Stock is 3000ng/uL (per EJ)
S2 dil 4 | S2 RNA spike | 172800 | 5.3137 |  | 1:20 working stock prepared from Eric's stock
RPP dil | RPP RNA spike | 172800 | 13.0117
Lysate | 7 |  |  | 3806.9137 | qubit RNA HS(ng/uL) | 77.6 ng/uL
indexed primers (prestampled) | 2 |  |  | 4.9569 | > prepare 4 consecutive 1:100 dilution steps
Total Volume | 20 |  |  |  |  | > 99 uL ddH2O, 0.1% Tween + 1 uL previous dilution
Total to add to 384 well plate | 11 |  |  |  | > the final dilution should have 3600 copies / uL
> add 3.8uL (42500 copies) to RT-PCR mix
From V3 expt: Measured at 25 ng/uL, corresponding to 3.6*10^11 copies/uL (assuming a length of 130 nt)
Based on this should 3.6*10^11 (3.104)=
[8 empty] | copies/uL |  | From qubit |  | 6/22/2020 spike dil
[5 empty] | dilution | dilution step | dilution 1: X | 1117440000000 |  | ng/uL | actual copies/uL | ng/uL | copies/uL
[5 empty] | 1 | 100 | 100 | 11174400000 |  | 1.79 | 2.58E+10 | 1.192 | 1.717e+10
[5 empty] | 2 | 100 | 10000 | 111744000 |  | 0.0179 | 258000000 | 0.01192 | 171700000
[5 empty] | 3 | 100 | 1000000 | 1117440 |  | 0.000179 | 2580000 | 0.0001192 | 1717000
[5 empty] | 4 | 100 | 10000000 | 11174.4 | 3.5796 | 1.79e-06 | 25800 | 1.192e-06 | 17170
[5 empty] | 5 | 3 | 30000000 | 3724.8 | 1.3424 | 5.9667e-07 | 8600 | 3.9733e-07 | 5723.3333
RPP spike dil 5 | copies/uL | 13280.32
S2 spike dil 4 | copies/uL | 32520