## Run Setup Notes
V46 | 2020-09-02
fill out yellow wells to autopopulate experimental plan
** all heated to 95C for 30 minutes in oven > diluted with h2o > plated 7uL into MM
TaqPath thermocycler: 50C for 5, 95 for 20s, 45 cycles of 95C 5s + 60C 30s
| 1536-Primer Sets: | 384-well primer plates
| Plate 1 | set 3
| Plate 2 |  | 45 cycle PCR
Plate 3
| Plate 4 |  |  |  | 384_wellplate | new | ExperimentPlateName
[5 empty] | Plate1 | 1 | purified RNA negatives
| V46 Plate 1 | 384 primer plate set 3 | 96-well sample plate used for each quadrant |  | Plate1 | 2 | purified RNA positives
| 1 | 2 | purified RNA negatives | purified RNA positives | Plate1 | 3 | purified RNA positives
| 3 | 4 | purified RNA positives | purified RNA negatives | Plate1 | 4 | purified RNA negatives
[5 empty] | Plate 2 | 5
| V46 Plate 2 | 384 primer plate 0 |  |  | Plate 2 | 6
| 5 | 6 |  |  | Plate 2 | 7
| 7 | 8 |  |  | Plate 2 | 8
[5 empty] | Plate 3 | 9
| V46 Plate 3 | 384 primer plate 0 |  |  | Plate 3 | 10
| 9 | 10 |  |  | Plate 3 | 11
| 11 | 12 |  |  | Plate 3 | 12
[5 empty] | Plate 4 | 13
| V46 Plate 4 | 384 primer plate 0 |  |  | Plate 4 | 14
| 13 | 14 |  |  | Plate 4 | 15
| 15 | 16 |  |  | Plate 4 | 16

## Plate 1
Plate 1 | set 3
1 | 2 |  |  | purified RNA negatives |  | purified RNA positives
3 | 4 |  |  | purified RNA positives |  | purified RNA negatives
Plate 1 | from plate 1903 | rows 2-4
purified RNA negatives | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | PPC will be h2o with 10000copies/mL | positives poked in thru foil | 1:300 atcc dilution |  | make 1000uL
A | TE | N4919 | N4927 | N4935 | TE | TE | TE | TE | TE | TE | TE | TE |  | ->10 copies/uL | PPC poked in thru foil | 1250 | copies/uL | 10000 | copies total in 1mL
B | TE | N4920 | N4928 | N4936 | TE | TE | TE | TE | TE | TE | TE | TE |  | ->70 copies/rxn |  |  |  | 8 | uL to add to 1mL h2o
C | TE | N4921 | N4929 | N4937 | TE | TE | TE | TE | TE | TE | TE | TE
D | TE | N4922 | N4930 | N4938 | TE | TE | TE | TE | TE | TE | TE | TE
E | TE | N4923 | N4931 | TE | TE | TE | TE | TE | TE | TE | TE | TE | SAMPLE | CT
F | TE | N4924 | N4932 | TE | TE | TE | TE | TE | TE | TE | TE | TE | U166 | 30.1545
G | TE | N4925 | N4933 | TE | TE | TE | TE | TE | TE | TE | TE | TE | U266 | 30.5463
H | TE | N4926 | N4934 | TE | TE | TE | TE | TE | TE | TE | TE | PPC | U201 | 30.8456
[13 empty] | U258 | 30.3
Plate 2 | [12 empty] | U215 | 30.5748
purified RNA positives | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | U191 | 31.0232
A | TE | U166 | U281 | U267 | U247 | TE | TE | TE | TE | TE | TE | TE | U241 | 31.1
B | TE | U266 | U252 | U238 | U253 | TE | TE | TE | TE | TE | TE | TE | U234 | 30.3541
C | TE | U201 | TE | U225 | TE | TE | TE | TE | TE | TE | TE | TE | U281 | 30.4169
D | TE | U258 | TE | U185 | TE | TE | TE | TE | TE | TE | TE | TE | U252 | 31.0506
E | TE | U215 | TE | U176 | TE | TE | TE | TE | TE | TE | TE | TE | U267 | 33.0172
F | TE | U191 | TE | U279 | TE | TE | TE | TE | TE | TE | TE | TE | U238 | 33.1649
G | TE | U241 | TE | U228 | TE | TE | TE | TE | TE | TE | TE | TE | U225 | 33.4889
H | TE | U234 | TE | U204 | TE | TE | TE | TE | TE | TE | TE | PPC | U185 | 33.0271
[13 empty] | U176 | 33.1793
Plate 3 | [12 empty] | U279 | 33.8233
purified RNA positives | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | U228 | 33.1
A | TE | U166 | U281 | U267 | U247 | TE | TE | TE | TE | TE | TE | TE | U204 | 33.1893
B | TE | U266 | U252 | U238 | U253 | TE | TE | TE | TE | TE | TE | TE | U247 | 34.9525
C | TE | U201 | TE | U225 | TE | TE | TE | TE | TE | TE | TE | TE | U253
D | TE | U258 | TE | U185 | TE | TE | TE | TE | TE | TE | TE | TE
E | TE | U215 | TE | U176 | TE | TE | TE | TE | TE | TE | TE | TE
F | TE | U191 | TE | U279 | TE | TE | TE | TE | TE | TE | TE | TE
G | TE | U241 | TE | U228 | TE | TE | TE | TE | TE | TE | TE | TE
H | TE | U234 | TE | U204 | TE | TE | TE | TE | TE | TE | TE | PPC
Plate 4
purified RNA negatives | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | TE | N4919 | N4927 | N4935 | TE | TE | TE | TE | TE | TE | TE | TE
B | TE | N4920 | N4928 | N4936 | TE | TE | TE | TE | TE | TE | TE | TE
C | TE | N4921 | N4929 | N4937 | TE | TE | TE | TE | TE | TE | TE | TE
D | TE | N4922 | N4930 | N4938 | TE | TE | TE | TE | TE | TE | TE | TE
E | TE | N4923 | N4931 | TE | TE | TE | TE | TE | TE | TE | TE | TE
F | TE | N4924 | N4932 | TE | TE | TE | TE | TE | TE | TE | TE | TE
G | TE | N4925 | N4933 | TE | TE | TE | TE | TE | TE | TE | TE | TE
H | TE | N4926 | N4934 | TE | TE | TE | TE | TE | TE | TE | TE | PPC

## Plate 2
Plate 2
5 | 6
7 | 8
Plate 1
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Plate 2
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Plate 3
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Plate 4
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H

## Plate 3
Plate 3
9 | 10
11 | 12
Plate 1
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Plate 2
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Plate 3
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Plate 4
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H

## Plate 4
Plate 4
13 | 14
15 | 16
Plate 1
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Plate 2
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Plate 3
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
Plate 4
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H

## MasterMix
V46 | Master Mixes
Mix 1 - 10x spike dil 4 | RT-PCR mix: | uL or (total copies in total) | 460.8
| 4x Mastermix | 5 | 2304
| H2O | 6 | 2764.8 |  | increase S2 spike by this factor
S2 dil 4 | S2 RNA spike | 230400 | 89.8654 | 10
Lysate | 7
Indexed primers (prestampled) | 2
Total Volume | 20
Total to add to 384 well plate | 11
8/13 S2 spike dil 4 | copies/uL | 25638.33 | from qubit

## Plate 1 384-well Map
|  | 1 | 1 | 2 | 2 | 3 | 3 | 4 | 4 | 5 | 5 | 6 | 6 | 7 | 7 | 8 | 8 | 9 | 9 | 10 | 10 | 11 | 11 | 12 | 12
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
1 | A | TE | TE | N4919 | U166 | N4927 | U281 | N4935 | U267 | TE | U247 | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE
1 | B | TE | TE | U166 | N4919 | U281 | N4927 | U267 | N4935 | U247 | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE
2 | C | TE | TE | N4920 | U266 | N4928 | U252 | N4936 | U238 | TE | U253 | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE
2 | D | TE | TE | U266 | N4920 | U252 | N4928 | U238 | N4936 | U253 | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE
3 | E | TE | TE | N4921 | U201 | N4929 | TE | N4937 | U225 | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE
3 | F | TE | TE | U201 | N4921 | TE | N4929 | U225 | N4937 | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE
4 | G | TE | TE | N4922 | U258 | N4930 | TE | N4938 | U185 | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE
4 | H | TE | TE | U258 | N4922 | TE | N4930 | U185 | N4938 | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE
5 | I | TE | TE | N4923 | U215 | N4931 | TE | TE | U176 | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE
5 | J | TE | TE | U215 | N4923 | TE | N4931 | U176 | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE
6 | K | TE | TE | N4924 | U191 | N4932 | TE | TE | U279 | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE
6 | L | TE | TE | U191 | N4924 | TE | N4932 | U279 | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE
7 | M | TE | TE | N4925 | U241 | N4933 | TE | TE | U228 | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE
7 | N | TE | TE | U241 | N4925 | TE | N4933 | U228 | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE
8 | O | TE | TE | N4926 | U234 | N4934 | TE | TE | U204 | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | PPC | PPC
8 | P | TE | TE | U234 | N4926 | TE | N4934 | U204 | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | PPC | PPC

## Plate 2 384-well Map
|  | 1 | 1 | 2 | 2 | 3 | 3 | 4 | 4 | 5 | 5 | 6 | 6 | 7 | 7 | 8 | 8 | 9 | 9 | 10 | 10 | 11 | 11 | 12 | 12
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
1 | A
1 | B
2 | C
2 | D
3 | E
3 | F
4 | G
4 | H
5 | I
5 | J
6 | K
6 | L
7 | M
7 | N
8 | O
8 | P

## Plate 3 384-well Map
|  | 1 | 1 | 2 | 2 | 3 | 3 | 4 | 4 | 5 | 5 | 6 | 6 | 7 | 7 | 8 | 8 | 9 | 9 | 10 | 10 | 11 | 11 | 12 | 12
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
1 | A
1 | B
2 | C
2 | D
3 | E
3 | F
4 | G
4 | H
5 | I
5 | J
6 | K
6 | L
7 | M
7 | N
8 | O
8 | P

## Plate 4 384-well Map
|  | 1 | 1 | 2 | 2 | 3 | 3 | 4 | 4 | 5 | 5 | 6 | 6 | 7 | 7 | 8 | 8 | 9 | 9 | 10 | 10 | 11 | 11 | 12 | 12
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
1 | A
1 | B
2 | C
2 | D
3 | E
3 | F
4 | G
4 | H
5 | I
5 | J
6 | K
6 | L
7 | M
7 | N
8 | O
8 | P