## Run set up notes
v33 | 7/27/2020 PCR |  |  | fill out yellow wells and these will autopopulate sections of experimental plan
** Testing Mastermix: TaqPath vs Quantabio
** all heated to 95C for 30 minutes in oven > diluted with 2x TBE with 0.5% Tw20 > plated 7uL into MM
| 384-Primer Sets: 2, 3, 4? | 384-well primer plates
| Plate 1 | Set D | [6 empty] | Notes from Josh
| Plate 2 | Set C | [6 empty] | We need to key back to the names of the 384 UDI plates we already have from Octant
| Plate 3 | Set B | [5 empty] | SetA | 1.1 | 2.2 | SetA | 1 | 6 | 1 | 2
| Plate 4 | [7 empty] | 3.3 | 4.4 |  | 11 | 16 | 3 | 4
[8 empty] | SetB | 1.2 | 2.3 | SetB | 2 | 7 | 5 | 6
Note: Aimes LOD Plate. Tips for 2G and 3H sampe were underfilled when moving from 96 to 384. Should have Pooled Aimes, no ATCC. | [8 empty] | 3.4 | 4.1 |  | 12 | 13 | 7 | 8
[8 empty] | SetC | 1.3 | 2.4 | SetC | 3 | 8 | 9 | 10
[9 empty] | 3.1 | 4.2 |  | 9 | 14 | 11 | 12
| v33 Plate 1 | 384 primer plate Set D | 96-well sample plate used for each quadrant |  |  |  |  | SetD | 1.4 | 2.1 | SetD | 4 | 5 | 13 | 14
| 1 | 2 | Aimes LOD | MNS LOD |  |  |  |  | 3.2 | 4.3 |  | 10 | 15 | 15 | 16
| 3 | 4 | Saliva LOD | ED
[5 empty] | 384_wellplate | new | old | ExperimentPlateName
| v33 Plate 2 | 384 primer plate Set C |  |  | Plate1 | 1 | 4 | Aimes LOD
| 5 | 6 | contam 1 | contam 1 | Plate1 | 2 | 5 | MNS LOD
| 7 | 8 | contam 2 | contam 2 | Plate1 | 3 | 10 | Saliva LOD
[5 empty] | Plate1 | 4 | 15 | ED
| v33 Plate 3 | 384 primer plate Set B |  |  | plate 2 | 5 | 3 | contam1
| 9 | 10 | ED 2 |  | plate 2 | 6 | 8 | contam1
| 11 | 12 |  |  | plate 2 | 7 | 9 | contam2
[5 empty] | plate 2 | 8 | 14 | contam2
| v33 Plate 4 | 384 primer plate 0 |  |  | plate 3 | 9 | 2 | ED 2
| 13 | 14
| 15 | 16
TaqPath thermocycler: 50C for 5, 95 for 20s, 40 cycles of 95C 5s + 60C 30s

## plate1
Plate Number 1 | Set D |  |  |  |  | 4
1 | 2 |  | Aimes LOD | MNS LOD |  | 5
3 | 4 |  | Saliva LOD | ED |  | 10 | [37 empty] | `
[6 empty] | 15 | [7 empty] | MNS = mid nasal swab pooled from ASHE which is in TE. Need 96*12*1.2 = 1382ul. Aim for 1500ul pooled.
Quadrant 1 | [13 empty] | Quadrant 2 |  | 12ul per well | [11 empty] | Quadrant 3 | Saliva LOD | 20ul per well | [12 empty] | Quadrant 4 | ED samples
Aimes LOD | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | MNS LOD | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | TE | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | TE | A | A | TE | MNS | MNS | MNS | MNS | MNS | MNS | MNS | MNS | MNS | MNS | MNS | A | A | TE | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | TE | A |  | A | 368298486 | 368298486 | 368298486 | 368298486 | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | A
B | TE | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | TE | B | B | TE | MNS | MNS | MNS | MNS | MNS | MNS | MNS | MNS | MNS | MNS | MNS | B | B | TE | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | TE | B |  | B | 368314329 | 368314329 | 368314329 | 368314329 | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | B
C | TE | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | TE | C | C | TE | MNS | MNS | MNS | MNS | MNS | MNS | MNS | MNS | MNS | MNS | MNS | C | C | TE | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | TE | C |  | C | 368311677 | 368311677 | 368311677 | 368311677 | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | C
D | TE | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | TE | D | D | TE | MNS | MNS | MNS | MNS | MNS | MNS | MNS | MNS | MNS | MNS | MNS | D | D | TE | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | TE | D |  | D | 368314338 | 368314338 | 368314338 | 368314338 | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | D
E | TE | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | TE | E | E | TE | MNS | MNS | MNS | MNS | MNS | MNS | MNS | MNS | MNS | MNS | MNS | E | E | TE | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | TE | E |  | E | 368309416 | 368309416 | 368309416 | 368309416 | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | E
F | TE | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | TE | F | F | TE | MNS | MNS | MNS | MNS | MNS | MNS | MNS | MNS | MNS | MNS | MNS | F | F | TE | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | TE | F |  | F | 368311662 | 368311662 | 368311662 | 368311662 | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | F
G | TE | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | TE | G | G | TE | MNS | MNS | MNS | MNS | MNS | MNS | MNS | MNS | MNS | MNS | MNS | G | G | TE | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | TE | G |  | G | 368314323 | 368314323 | 368314323 | 368314323 | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | G
H | TE | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | Pooled Aimes | TE | H | H | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | H | H | TE | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | saliva in 1XTBE+0.5%tw | TE | H |  | H | 368310266 | 368310266 | 368310266 | 368310266 | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | 2xTBE + 1%tween | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
dilute in h20. 2ul neat plate + 20ul h2o
Aimes LOD | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | Dilute in h2o | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 14ul TE | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 14ul TE | A | A | TE | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:4 | 1:4 | 1:4 | 1:6 | 1:6 | 1:6 | A
B | 14ul TE | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 14ul TE | B | B | TE | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:4 | 1:4 | 1:4 | 1:6 | 1:6 | 1:6 | B
C | 14ul TE | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 14ul TE | C | C | TE | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:4 | 1:4 | 1:4 | 1:6 | 1:6 | 1:6 | C
D | 14ul TE | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 14ul TE | D | D | TE | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:4 | 1:4 | 1:4 | 1:6 | 1:6 | 1:6 | D
E | 14ul TE | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 14ul TE | E | E | TE | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:4 | 1:4 | 1:4 | 1:6 | 1:6 | 1:6 | E
F | 14ul TE | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 14ul TE | F | F | TE | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:4 | 1:4 | 1:4 | 1:6 | 1:6 | 1:6 | F
G | 14ul TE | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 14ul TE | G | G | TE | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:4 | 1:4 | 1:4 | 1:6 | 1:6 | 1:6 | G
H | 14ul TE | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 1:10 | 14ul TE | H | H | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
ATCC Copies per mL | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | ATCC Copies per mL | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | ATCC Copies per mL | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | - | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | - | A | A | - | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | A | A | - | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | - | A
B | - | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | - | B | B | - | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | B | B | - | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | - | B | 6 saliva + 18D1
C | - | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | - | C | C | - | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | C | C | - | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | - | C | 6 saliva + 18D1
D | - | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | - | D | D | - | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | D | D | - | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | - | D | 18 sal + 18D1
E | - | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | - | E | E | - | - | - | - | - | - | - | - | - | - | - | - | E | E | - | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | - | E | 18 sal + 18D1
F | - | - | - | - | - | - | - | - | - | - | - | - | F | F | - | - | - | - | - | - | - | - | - | - | - | - | F | F | - | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | - | F | 18 saliva + 2000
G | - | - | - | - | - | - | - | - | - | - | - | - | G | G | - | - | - | - | - | - | - | - | - | - | - | - | G | [13 empty] | G | D1 extra = 68 | bar: Quadrant 3 0 to 20ul per well 12
H | - | - | - | - | - | - | - | - | - | - | - | - | H | H | - | - | - | - | - | - | - | - | - | - | - | - | H | [13 empty] | H | bar: Quadrant 3 0 to 20ul per well 12
- | [13 empty] | - | bar: Quadrant 3 0
sample volume | 7 | [12 empty] | sample volume | 7 | [12 empty] | Quadrant 3 0: sample volume; Saliva LOD 1: 7
Virus Copies/Reaction if no dilution | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | Virus Copies/Reaction if no dilution | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | Virus Copies/Reaction if no dilution | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | - | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | - | A | A | - | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | A | A | - | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | - | A
B | - | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | - | B | B | - | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | B | B | - | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | - | B
C | - | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | - | C | C | - | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | C | C | - | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | - | C
D | - | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | - | D | D | - | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | D | D | - | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | - | D
E | - | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | - | E | E | - | - | - | - | - | - | - | - | - | - | - | - | E | E | - | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | - | E
F | - | - | - | - | - | - | - | - | - | - | - | - | F | F | - | - | - | - | - | - | - | - | - | - | - | - | F | F | - | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | - | F
G | - | - | - | - | - | - | - | - | - | - | - | - | G | G | - | - | - | - | - | - | - | - | - | - | - | - | G | [13 empty] | G | bar: Quadrant 3 0 to 20ul per well 12
H | - | - | - | - | - | - | - | - | - | - | - | - | H | H | - | - | - | - | - | - | - | - | - | - | - | - | H | [13 empty] | H | bar: Quadrant 3 0 to 20ul per well 12
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
dilution factor | 11 | [12 empty] | dilution factor |  | 2 |  |  |  |  | 5 |  |  | 7 | bar: Saliva LOD 1
dilution | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | dilution | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | - | 5.0909 | 5.0909 | 5.0909 | 5.0909 | 5.0909 | 5.0909 | 5.0909 | 5.0909 | 5.0909 | 5.0909 | - | A | A | - | 14 | 14 | 14 | 14 | 14 | 5.6 | 5.6 | 5.6 | 4 | 4 | 4 | A | bar: Quadrant 3 0
B | - | 2.5455 | 2.5455 | 2.5455 | 2.5455 | 2.5455 | 2.5455 | 2.5455 | 2.5455 | 2.5455 | 2.5455 | - | B | B | - | 7 | 7 | 7 | 7 | 7 | 2.8 | 2.8 | 2.8 | 2 | 2 | 2 | B | bar: Quadrant 3 0
C | - | 1.2727 | 1.2727 | 1.2727 | 1.2727 | 1.2727 | 1.2727 | 1.2727 | 1.2727 | 1.2727 | 1.2727 | - | C | C | - | 3.5 | 3.5 | 3.5 | 3.5 | 3.5 | 1.4 | 1.4 | 1.4 | 1 | 1 | 1 | C | bar: Quadrant 3 0
D | - | 0.63636 | 0.63636 | 0.63636 | 0.63636 | 0.63636 | 0.63636 | 0.63636 | 0.63636 | 0.63636 | 0.63636 | - | D | D | - | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 0.7 | 0.7 | 0.7 | 0.5 | 0.5 | 0.5 | D | bar: Quadrant 3 0
E | - | 0.31818 | 0.31818 | 0.31818 | 0.31818 | 0.31818 | 0.31818 | 0.31818 | 0.31818 | 0.31818 | 0.31818 | - | E | E | - | - | - | - | - | - | - | - | - | - | - | - | E | bar: Quadrant 3 0
F | - | - | - | - | - | - | - | - | - | - | - | - | F | F | - | - | - | - | - | - | - | - | - | - | - | - | F | bar: Quadrant 3 0
G | - | - | - | - | - | - | - | - | - | - | - | - | G | G | - | - | - | - | - | - | - | - | - | - | - | - | G | bar: Quadrant 3 0
H | - | - | - | - | - | - | - | - | - | - | - | - | H | H | - | - | - | - | - | - | - | - | - | - | - | - | H | bar: Quadrant 3 0
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
[16 empty] | 7ul MNS + 7ul h2o |  |  |  |  | 7ul MNS + 28ul h2o |  |  | 7ul MNS + 42ul h2o
| make contrived at concentrations above | [12 empty] | make contrived at concentrations above
| dilute into 1:10 background | [12 empty] | dilute into 1:1, 1:4, 1:6 background
[7 empty] | uL per reaction | 7 |  | VR-1986HK™ Lot Number: | 70035039 | [8 empty] | uL per reaction | 7 |  | VR-1986HK™ Lot Number: | 70035039 |  |  |  | 20ul per well 6: uL per reaction; 20ul per well 7: 7; 20ul per well 9: VR-1986HK™ Lot Number:; 20ul per well 10: 70035039
[7 empty] | minimum volume needed | 10 | [11 empty] | minimum volume needed | 12 | [6 empty] | 20ul per well 6: minimum volume needed; 20ul per well 7: 12
| ** this is number of copies before we make the dilution | [5 empty] | uL to carry to dilution well | 10 |  | Virus Dilution | Dilution factor |  |  | ** this is number of copies before we make the dilution | [5 empty] | uL to carry to dilution well | 12 |  | Virus Dilution | Dilution factor |  |  |  | Quadrant 3 0: ** this is number of copies before we make the dilution; 20ul per well 6: uL to carry to dilution well; 20ul per well 7: 20; 20ul per well 9: Virus Dilution; 20ul per well 10: Dilution factor
| Contrived SARS-CoV2 Spike-in: | [5 empty] | Dilution Factor | 2 | 1 : 1 | 375000 |  |  |  | Contrived SARS-CoV2 Spike-in: | [5 empty] | Dilution Factor | 2 | 1 : 1 | 375000 |  |  |  |  | Quadrant 3 0: Contrived SARS-CoV2 Spike-in:; 20ul per well 6: Dilution Factor; 20ul per well 7: 2; 20ul per well 8: 1 : 1; 20ul per well 9: 375000
| >We aim for 56 copies at the highest dilution in 7 uL volume (amount added to PCR rxn) |  |  |  |  | 56 | uL for D1 | 20 | 1 : 300 | 1250 | 300 |  |  | >We aim for 28 copies at the highest dilution in 7 uL volume (amount added to PCR rxn) |  |  |  |  | 28 | uL for D1 | 24 | 1 : 300 | 1250 | 300 |  |  |  | Quadrant 3 0: >We aim for 28 copies at the highest dilution in 7 uL volume (amount added to PCR rxn); 20ul per well 5: 28; 20ul per well 6: uL for D1; 20ul per well 7: 80; 20ul per well 8: 1 : 300; 20ul per well 9: 1250; 20ul per well 10: 300
| > that translates into 8.0 copies/ul in D1 |  |  |  |  | 8 | number of 96-well plates | 1 | [5 empty] | > that translates into 4.0 copies/ul in D1 |  |  |  |  | 4 | number of 96-well plates | 1 | [6 empty] | Quadrant 3 0: > that translates into 4.0 copies/ul in D1; 20ul per well 5: 4; 20ul per well 6: number of 96-well plates; 20ul per well 7: 1
| > that translates into 160 copies in 20 uL D1 |  |  |  |  | 160 | copies for 1 96-well plates | 160 | [5 empty] | > that translates into 96 copies in 24 uL D1 |  |  |  |  | 96 | copies for 1 96-well plates | 96 | [6 empty] | Quadrant 3 0: > that translates into 320 copies in 80 uL D1; 20ul per well 5: 320; 20ul per well 6: copies for 1 96-well plates; 20ul per well 7: 320
| > that translates to 0 copies in 0 uL (0.0 is total of well + 0.0 added for dilution) |  |  |  |  | 160 | [7 empty] | #REF! |  |  |  |  | 96 | [8 empty] | Quadrant 3 0: > that translates to 0 copies in 0 uL (0.0 is total of well + 0.0 added for dilution); 20ul per well 5: 320
| 2) ATCC inactivated Virus Spike | [12 empty] | 2) ATCC inactivated Virus Spike | [13 empty] | Quadrant 3 0: 2) ATCC inactivated Virus Spike
| >prepare a 1 to 300 dilution to 1250 copies per uL | [12 empty] | >prepare a 1 to 300 dilution to 1250 copies per uL | [13 empty] | Quadrant 3 0: >prepare a 1 to 300 dilution to 1250 copies per uL
| > add 0.1 uL to 9.9 uL background in first dilution well D1 (for 160 total viral copies) | [9 empty] | 160 |  |  | > add 0.1 uL to 11.9 uL background in first dilution well D1 (for 96 total viral copies) | [9 empty] | 96 |  |  |  | Quadrant 3 0: > add 0.3 uL to 19.7 uL background in first dilution well D1 (for 320 total viral copies); 20ul per well 10: 320
| > perform 2x dilution series from vial 1 (D1) as detailed above | [12 empty] | > perform 2x dilution series from vial 1 (D1) as detailed above | [13 empty] | Quadrant 3 0: > perform 2x dilution series from vial 1 (D1) as detailed above
|  |  | Copies/uL of Final Dilution of Virus | 1250 |  |  | 1:100 ATCC | TE + 0.1%tw | [7 empty] | Copies/uL of Final Dilution of Virus | 1250 |  |  | 1:100 ATCC | TE + 0.1%tw | [6 empty] | 20ul per well 2: Copies/uL of Final Dilution of Virus; 20ul per well 3: 1250; 20ul per well 6: 1:100 ATCC; 20ul per well 7: TE + 0.1%tw
|  |  | ATCC to add to D1 | 0.128 | 1.536 |  | 0.512 | 1.024 |  | <-- to make 1:300 ATCC | [5 empty] | ATCC to add to D1 | 0.0768 | 1.152 |  | 0.384 | 0.768 |  | <-- to make 1:300 dilution |  |  |  |  | 20ul per well 2: ATCC to add to D1; 20ul per well 3: 0.256; 20ul per well 4: 3.072; 20ul per well 6: 1.024; 20ul per well 7: 2.048; 20ul per well 9: <-- to make 1:300 dilution
|  |  | background lysate to add to first row | 9.872 | 118.464 | [10 empty] | background lysate to add to first row | 11.9232 | 178.848 | [9 empty] | 20ul per well 2: background lysate to add to first row; 20ul per well 3: 19.744; 20ul per well 4: 236.928
[14 empty] | Ashe nasal swabs | Rack TS01399006
[14 empty] | 11 | D | 368287683 | nasal
[14 empty] | 11 | E | 368310188 | nasal
[14 empty] | 11 | F | 368313625 | nasal
[14 empty] | 11 | G | 368265035 | nasal
[14 empty] | 11 | H | 368287708 | nasal

## plate2
Plate Number 2 | [5 empty] | 3
5 | 6 |  | contam 1 | contam 1 |  | 8
7 | 8 |  | contam 2 | contam 2 |  | 9
14
contam 1 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | ashe | ashe | ashe | ashe | ashe | ashe | ashe | ashe | ashe | 75 copies/uL | ashe | ashe | A
B | ashe | 90 copies/uL | ashe | ashe | ashe | ashe | ashe | ashe | ashe | ashe | ashe | ashe | B
C | ashe | ashe | ashe | ashe | 75 copies/uL | ashe | ashe | ashe | ashe | ashe | ashe | ashe | C
D | ashe | ashe | ashe | ashe | ashe | ashe | ashe | ashe | ashe | ashe | ashe | ashe | D
E | ashe | ashe | ashe | 100 copies/uL | ashe | ashe | ashe | ashe | ashe | ashe | ashe | ashe | E
F | ashe | ashe | ashe | ashe | ashe | ashe | ashe | ashe | ashe | ashe | ashe | 90 copies/uL | F
G | ashe | ashe | ashe | ashe | ashe | ashe | ashe | 100 copies/uL | ashe | ashe | ashe | ashe | G
H | ashe | ashe | ashe | ashe | ashe | ashe | ashe | ashe | ashe | ashe | ashe | ashe | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
pipette 50uL saliva into a 96w plate as usual with warm saliva
add TBE with tween with mix step
piptte 7uL of mix into 384w plate
contam 2 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | ashe | ashe | ashe | ashe | ashe | ashe | ashe | ashe | ashe | 75 copies/uL | ashe | ashe | A
B | ashe | 90 copies/uL | ashe | ashe | ashe | ashe | ashe | ashe | ashe | ashe | ashe | ashe | B
C | ashe | ashe | ashe | ashe | 75 copies/uL | ashe | ashe | ashe | ashe | ashe | ashe | ashe | C
D | ashe | ashe | ashe | ashe | ashe | ashe | ashe | ashe | ashe | ashe | ashe | ashe | D
E | ashe | ashe | ashe | 100 copies/uL | ashe | ashe | ashe | ashe | ashe | ashe | ashe | ashe | E
F | ashe | ashe | ashe | ashe | ashe | ashe | ashe | ashe | ashe | ashe | ashe | 90 copies/uL | F
G | ashe | ashe | ashe | ashe | ashe | ashe | ashe | 100 copies/uL | ashe | ashe | ashe | ashe | G
H | ashe | ashe | ashe | ashe | ashe | ashe | ashe | ashe | ashe | ashe | ashe | ashe | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
JB Method - pipette 3.6uL of TBET + 3.6uL saliva with air gap directly into mastermix plate
with tip touch
pipette warm

## plate3
Plate Number 3 | Set B |  |  |  | 2
9 | 10 |  | ED 2 | 0
11 | 12 |  | 0 | 0
ED 2 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 368314715 | 368314715 | 368314715 | 368314715 | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | A
B | 368311686 | 368311686 | 368311686 | 368311686 | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | B
C | 368309418 | 368309418 | 368309418 | 368309418 | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | C
D | 368309455 | 368309455 | 368309455 | 368309455 | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | D
E | 368314345 | 368314345 | 368314345 | 368314345 | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | E
F | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | F
G | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | G
H | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | 2xTBE + 1%tw | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12

## plate4
Plate Number 4 | 0
13 | 14 | 0 | 0
15 | 16 | 0 | 0

## MasterMix
v33 | Master Mixes
Mix 1 - Taqpath | RT-PCR mix: | uL or (total copies in total) | 460.8
| 4x Mastermix | 5 | 2304
| H2O | 6 | 2764.8 |  | Stock is 3000ng/uL (per EJ)
S2 dil 4 | S2 RNA spike | 230400 | 7.0849 |  | 1:20 working stock prepared from Eric's stock
RPP dil | RPP RNA spike | 230400 | 17.349
Lysate | 7 |  |  | 5075.8849 | qubit RNA HS(ng/uL) | 77.6 ng/uL
indexed primers (prestampled) | 2 |  |  | 6.6092 | > prepare 4 consecutive 1:100 dilution steps
Total Volume | 20 |  |  |  |  | > 99 uL ddH2O, 0.1% Tween + 1 uL previous dilution
Total to add to 384 well plate | 11 |  |  |  | > the final dilution should have 3600 copies / uL
> add 3.8uL (42500 copies) to RT-PCR mix
From V3 expt: Measured at 25 ng/uL, corresponding to 3.6*10^11 copies/uL (assuming a length of 130 nt)
RPP spike dil 5 | copies/uL | 13280.32 |  |  |  |  | Based on this should 3.6*10^11 (3.104)=
S2 spike dil 4 | copies/uL | 32520 | [5 empty] | copies/uL |  | From qubit |  | 6/22/2020 spike dil
[5 empty] | dilution | dilution step | dilution 1: X | 1117440000000 |  | ng/uL | actual copies/uL | ng/uL | copies/uL
Mix 2 - Taqpath Tuesday PCR | RT-PCR mix: | uL or (total copies in total) | 576
| 4x Mastermix | 5 | 2880 |  | 1 | 100 | 100 | 11174400000 |  | 1.79 | 2.58E+10 | 1.192 | 1.717e+10
| H2O | 6 | 3456 |  | 2 | 100 | 10000 | 111744000 |  | 0.0179 | 258000000 | 0.01192 | 171700000
S2 dil 4 | S2 RNA spike | 288000 | 8.8561 |  | 3 | 100 | 1000000 | 1117440 |  | 0.000179 | 2580000 | 0.0001192 | 1717000
RPP dil | RPP RNA spike | 288000 | 21.6862 |  | 4 | 100 | 10000000 | 11174.4 | 3.5796 | 1.79e-06 | 25800 | 1.192e-06 | 17170
Lysate | 7 |  |  |  | 5 | 3 | 30000000 | 3724.8 | 1.3424 | 5.9667e-07 | 8600 | 3.9733e-07 | 5723.3333
indexed primers (prestampled) | 2
Total Volume | 20
Total to add to 384 well plate | 11