## Run set up notes
v23 |  |  |  | fill out yellow wells and these will autopopulate sections of experimental plan
** here we are loading 10uL of sample for s aliva and 12 uL on all other samples. Completed plates are in the -80, top s helf on top of sytrafoam box
** LOD for various unpurified sample types
** all 50 cycles
** Laila -- youw ill n eed to make 2 master mixes (1 MM for saliva and 1 MM for 3 plates of swabs)
| 384-Primer Sets: 2, 3, 4? | 384-well primer plates
| Plate 1 | 1
| Plate 2 | 2
| Plate 3 | 3
| Plate 4 | 4
Goals of experiment: Optimization of LOD for unpurified lysate 91:4 or 1:6 dilution? what is prelim LOD; also to identify saliva methods.
**All set up is in 4-384 well plates; 40 cycles
** 96 well format, copied over into 4 quadrants of 384 well plate
384 well plate will have different final volume
| v23 Plate 1 | 384 primer plate 1 | 96-well sample plate used for each quadrent |  |  | quadrent
| 1 | 2 |  | VTM: 1 to 5, 1to 8 |  | 2
| 3 | 4
| v23 Plate 2 | 384 primer plate 2
| 5 | 6 | eSWAB(Aimes) |  | ** might be a little short for this.made exactly enough | 1
| 7 | 8
| v23 Plate 3 | 384 primer plate 3
| 9 | 10 |  |  |  | 3
| 11 | 12 | SALIVA (cells to cDNA); straight dilutions
| v23 Plate 4 | 384 primer plate 4
| 13 | 14 |  |  |  | 4
| 15 | 16 |  | normal saline

## MasterMix
SSV22 - Mastermixes
Mix 1 - plates 1.1, 3.3, 4.1, 4.4 | RT-PCR mix: | uL or copies per reaction | 460.8
| 4x Mastermix | 5 | 2304
| H2O | 1 | 460.8 |  | Stock is 3000ng/uL (per EJ)
Dilution 4 | S2 RNA spike quant | 230400 | 7.0849 |  | 1:20 working stock prepared from Eric's stock
Lysate | 12 |  |  | 2771.8849 | qubit RNA HS(ng/uL) | 77.6 ng/uL
indexed primers (prestampled) | 2 |  |  | 3.6092 | > prepare 4 consecutive 1:100 dilution steps
Total Volume | 20 |  |  |  |  | > 99 uL ddH2O, 0.1% Tween + 1 uL previous dilution
Total to add to 384 well plate | 6 |  |  |  | > the final dilution should have 3600 copies / uL
> add 3.8uL (42500 copies) to RT-PCR mix
Mix 2 - plate 2.2 | RT-PCR mix: | uL or copies per reaction | 115.2
| 4x Mastermix | 5 | 576 |  |  |  | From V3 expt: Measured at 25 ng/uL, corresponding to 3.6*10^11 copies/uL (assuming a length of 130 nt)
| H2O | 6 | 691.2 |  |  |  | Based on this should 3.6*10^11 (3.104)=
S2 dil 4 | S2 RNA spike quant | 57600 | 1.7712 |  |  |  |  | copies/uL |  | From qubit |  | 6/22/2020 spike dil |  | from qPCR USE THIS NUMBER NEXT TIME (did not have for 6/24/2020 run)
RPP dil | RPP RNA spike quant | 57600 | 4.3372 |  | dilution | dilution step | dilution 1: X | 1117440000000 |  | ng/uL | actual copies/uL | ng/uL | copies/uL
Lysate | 7
indexed primers (prestampled) | 2 |  |  |  | 1 | 100 | 100 | 11174400000 |  | 1.79 | 2.58E+10 | 1.192 | 1.717e+10
Total Volume | 20 |  |  |  | 2 | 100 | 10000 | 111744000 |  | 0.0179 | 258000000 | 0.01192 | 171700000
Total to add to 384 well plate | 11 |  |  |  | 3 | 100 | 1000000 | 1117440 |  | 0.000179 | 2580000 | 0.0001192 | 1717000
[5 empty] | 4 | 100 | 10000000 | 11174.4 | 3.5796 | 1.79e-06 | 25800 | 1.192e-06 | 17170 | 32520
[5 empty] | 5 | 3 | 30000000 | 3724.8 | 1.3424 | 5.9667e-07 | 8600 | 3.9733e-07 | 5723.3333
RPP spike dil 5 | copies/uL | 13280.32
S2 spike dil 4 | copies/uL | 32520

## Plate 1.2(2)
Plate Number 1
1 | 2 |  |  | Plate 2
3 | 4
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | TE | VTM 1:4 | VTM 1:4 | VTM 1:4 | VTM 1:4 | VTM 1:4 | VTM 1:6 | VTM 1:6 | VTM 1:6 | VTM 1:6 | VTM 1:6 | TE | A
B | TE | VTM 1:4 | VTM 1:4 | VTM 1:4 | VTM 1:4 | VTM 1:4 | VTM 1:6 | VTM 1:6 | VTM 1:6 | VTM 1:6 | VTM 1:6 | TE | B
C | TE | VTM 1:4 | VTM 1:4 | VTM 1:4 | VTM 1:4 | VTM 1:4 | VTM 1:6 | VTM 1:6 | VTM 1:6 | VTM 1:6 | VTM 1:6 | TE | C
D | TE | VTM 1:4 | VTM 1:4 | VTM 1:4 | VTM 1:4 | VTM 1:4 | VTM 1:6 | VTM 1:6 | VTM 1:6 | VTM 1:6 | VTM 1:6 | TE | D
E | TE | VTM 1:4 | VTM 1:4 | VTM 1:4 | VTM 1:4 | VTM 1:4 | VTM 1:6 | VTM 1:6 | VTM 1:6 | VTM 1:6 | VTM 1:6 | TE | E
F | TE | VTM 1:4 | VTM 1:4 | VTM 1:4 | VTM 1:4 | VTM 1:4 | VTM 1:6 | VTM 1:6 | VTM 1:6 | VTM 1:6 | VTM 1:6 | TE | F
G | TE | VTM 1:4 | VTM 1:4 | VTM 1:4 | VTM 1:4 | VTM 1:4 | VTM 1:6 | VTM 1:6 | VTM 1:6 | VTM 1:6 | VTM 1:6 | TE | G
H | TE | VTM 1:4 | VTM 1:4 | VTM 1:4 | VTM 1:4 | VTM 1:4 | VTM 1:6 | VTM 1:6 | VTM 1:6 | VTM 1:6 | VTM 1:6 | TE | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Copies per mL | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | - | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | - | A
B | - | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | - | B
C | - | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | - | C
D | - | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | - | D
E | - | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | - | E
F | - | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | - | F
G | - | - | - | - | - | - | - | - | - | - | - | - | G
H | - | - | - | - | - | - | - | - | - | - | - | - | H
[8 empty] | - | - | - | -
Each reaction = 12uL of lysate
Virus Copies/Reaction | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | - | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | - | A
B | - | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | - | B
C | - | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | - | C
D | - | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | - | D
E | - | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | - | E
F | - | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | - | F
G | - | - | - | - | - | - | - | - | - | - | - | - | G
H | - | - | - | - | - | - | - | - | - | - | - | - | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
cycles | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | A
B | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | B
C | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | C
D | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | D
E | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | E
F | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | F
G | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | G
H | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
|  |  | for 1:4 dilution | buffer
| Total Volume Needed; | 4800 | 1200 | 3600
[6 empty] | uL per reaction | 10 |  | VR-1986HK™ Lot Number: | 70035039
[6 empty] | minimum volume needed | 12
[6 empty] | uL to carry to dilution well | 12 |  | Virus Dilution | Dilution factor
Contrived SARS-CoV2 Spike-in: | [5 empty] | Dilution Factor | 2 | 1 : 1 | 375000
>We aim for 320 copies at the highest dilution in 10 uL volume (amount added to PCR rxn) |  |  |  |  | 320 | uL for D1 | 24 | 1 : 300 | 1250 | 300
> that translates into 26.7 copies/ul in D1 |  |  |  |  | 26.6667 | number of 96-well plates | 1
> that translates into 640 copies in 24 uL D1 |  |  |  |  | 640 | copies for 1 96-well plates | 640
> that translates to 640 copies in 24 uL (12.0 is total of well + 12.0 added for dilution) |  |  |  |  | 640
2) ATCC inactivated Virus Spike
>prepare a 1 to 300 dilution to 1250 copies per uL
> add 0.5 uL to 11.5 uL background in first dilution well D1 (for 640 total viral copies) | [9 empty] | 640
> perform 2x dilution series from vial 1 (D1) as detailed above
|  | Copies/uL of Final Dilution of Virus | 1250
|  | ATCC to add to first row, 2 wells , A5, A11 | 0.512
|  | background lysate to add to first row | 11.488
make contrived at concentrations above
dilute into 1:4 or 1:6 background

## Plate2.1(5)
Plate Number 2
5 | 6 |  | eSWAB Aimes
7 | 8
** might be a little short for this.
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | TE | eSwab (1:4) | eSwab (1:4) | eSwab (1:4) | eSwab (1:4) | eSwab (1:4) | eSwab (1:6) | eSwab (1:6) | eSwab (1:6) | eSwab (1:6) | eSwab (1:6) | TE | A
B | TE | eSwab (1:4) | eSwab (1:4) | eSwab (1:4) | eSwab (1:4) | eSwab (1:4) | eSwab (1:6) | eSwab (1:6) | eSwab (1:6) | eSwab (1:6) | eSwab (1:6) | TE | B
C | TE | eSwab (1:4) | eSwab (1:4) | eSwab (1:4) | eSwab (1:4) | eSwab (1:4) | eSwab (1:6) | eSwab (1:6) | eSwab (1:6) | eSwab (1:6) | eSwab (1:6) | TE | C
D | TE | eSwab (1:4) | eSwab (1:4) | eSwab (1:4) | eSwab (1:4) | eSwab (1:4) | eSwab (1:6) | eSwab (1:6) | eSwab (1:6) | eSwab (1:6) | eSwab (1:6) | TE | D
E | TE | eSwab (1:4) | eSwab (1:4) | eSwab (1:4) | eSwab (1:4) | eSwab (1:4) | eSwab (1:6) | eSwab (1:6) | eSwab (1:6) | eSwab (1:6) | eSwab (1:6) | TE | E
F | TE | eSwab (1:4) | eSwab (1:4) | eSwab (1:4) | eSwab (1:4) | eSwab (1:4) | eSwab (1:6) | eSwab (1:6) | eSwab (1:6) | eSwab (1:6) | eSwab (1:6) | TE | F
G | TE | eSwab (1:4) | eSwab (1:4) | eSwab (1:4) | eSwab (1:4) | eSwab (1:4) | eSwab (1:6) | eSwab (1:6) | eSwab (1:6) | eSwab (1:6) | eSwab (1:6) | TE | G
H | TE | eSwab (1:4) | eSwab (1:4) | eSwab (1:4) | eSwab (1:4) | eSwab (1:4) | eSwab (1:6) | eSwab (1:6) | eSwab (1:6) | eSwab (1:6) | eSwab (1:6) | TE | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Copies per mL | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | - | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | - | A
B | - | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | - | B
C | - | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | - | C
D | - | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | - | D
E | - | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | - | E
F | - | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | - | F
G | - | - | - | - | - | - | - | - | - | - | - | - | G
H | - | - | - | - | - | - | - | - | - | - | - | - | H
[8 empty] | - | - | - | -
Each reaction = 12uL of lysate
Virus Copies/Reaction | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | - | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | - | A
B | - | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | - | B
C | - | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | - | C
D | - | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | - | D
E | - | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | - | E
F | - | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | - | F
G | - | - | - | - | - | - | - | - | - | - | - | - | G
H | - | - | - | - | - | - | - | - | - | - | - | - | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
cycles | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | A
B | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | B
C | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | C
D | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | D
E | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | E
F | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | F
G | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | G
H | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
|  | uL | samples | total volume | total aimes | total buffer
| Aimes 1:4 | 12 | 40 | 480 | 120 | 360
| Aimes 1:6 | 12 | 40 | 480 | 80 | 400
[6 empty] | uL per reaction | 10 |  | VR-1986HK™ Lot Number: | 70035039
[6 empty] | minimum volume needed | 12
[6 empty] | uL to carry to dilution well | 12 |  | Virus Dilution | Dilution factor
Contrived SARS-CoV2 Spike-in: | [5 empty] | Dilution Factor | 2 | 1 : 1 | 375000
>We aim for 320 copies at the highest dilution in 10 uL volume (amount added to PCR rxn) |  |  |  |  | 320 | uL for D1 | 24 | 1 : 200 | 1875 | 200
> that translates into 26.7 copies/ul in D1 |  |  |  |  | 26.6667 | number of 96-well plates | 1
> that translates into 640 copies in 24 uL D1 |  |  |  |  | 640 | copies for 1 96-well plates | 640
> that translates to 640 copies in 24 uL (12.0 is total of well + 12.0 added for dilution) |  |  |  |  | 640
2) ATCC inactivated Virus Spike
>prepare a 1 to 200 dilution to 1875 copies per uL
> add 0.3 uL to 11.7 uL background in first dilution well D1 (for 640 total viral copies) | [9 empty] | 640
> perform 2x dilution series from vial 1 (D1) as detailed above
|  | Copies/uL of Final Dilution of Virus | 1875
|  | ATCC to add to first row, 2 wells , A5, A11 | 0.34133 | 0.59733 | assume 4x dilution | 84
|  | background lysate to add to first row | 11.6587 | 69.952
[5 empty] | aimes | water/te
|  |  |  | 1:4 | 21 | 63
|  |  |  | 1:6 | 14 | 70

## Plate 3 (11)
9 | 10
11 | 12 |  | SALIVA (cells to cDNA); straight dilutions
Plate 3
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | A
B | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | B
C | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | C
D | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | D
E | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | E
F | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | F
G | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | G
H | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Dilution TE 1:2 | cells to cDNA (2x) | cells to cDNA (2x) | cells to cDNA (2x) | cells to cDNA (2x) | cells to cDNA (4x) | cells to cDNA (4x) | cells to cDNA (4x) | cells to cDNA (4x) | Dilution TE 1:2 | Dilution TE 1:2 | Dilution TE 1:2 | A
B | Dilution TE 1:2 | cells to cDNA (2x) | cells to cDNA (2x) | cells to cDNA (2x) | cells to cDNA (2x) | cells to cDNA (4x) | cells to cDNA (4x) | cells to cDNA (4x) | cells to cDNA (4x) | Dilution TE 1:2 | Dilution TE 1:2 | Dilution TE 1:2 | B
C | Dilution TE 1:2 | cells to cDNA (2x) | cells to cDNA (2x) | cells to cDNA (2x) | cells to cDNA (2x) | cells to cDNA (4x) | cells to cDNA (4x) | cells to cDNA (4x) | cells to cDNA (4x) | Dilution TE 1:2 | Dilution TE 1:2 | Dilution TE 1:2 | C
D | Dilution TE 1:2 | cells to cDNA (2x) | cells to cDNA (2x) | cells to cDNA (2x) | cells to cDNA (2x) | cells to cDNA (4x) | cells to cDNA (4x) | cells to cDNA (4x) | cells to cDNA (4x) | Dilution TE 1:2 | Dilution TE 1:2 | Dilution TE 1:2 | D
E | Dilution TE 1:2 | cells to cDNA (2x) | cells to cDNA (2x) | cells to cDNA (2x) | cells to cDNA (2x) | cells to cDNA (4x) | cells to cDNA (4x) | cells to cDNA (4x) | cells to cDNA (4x) | Dilution TE 1:2 | Dilution TE 1:2 | Dilution TE 1:2 | E
F | Dilution TE 1:2 | cells to cDNA (2x) | cells to cDNA (2x) | cells to cDNA (2x) | cells to cDNA (2x) | cells to cDNA (4x) | cells to cDNA (4x) | cells to cDNA (4x) | cells to cDNA (4x) | Dilution TE 1:2 | Dilution TE 1:2 | Dilution TE 1:2 | F
G | Dilution TE 1:2 | cells to cDNA (2x) | cells to cDNA (2x) | cells to cDNA (2x) | cells to cDNA (2x) | cells to cDNA (4x) | cells to cDNA (4x) | cells to cDNA (4x) | cells to cDNA (4x) | Dilution TE 1:2 | Dilution TE 1:2 | Dilution TE 1:2 | G
H | Dilution TE 1:2 | cells to cDNA (2x) | cells to cDNA (2x) | cells to cDNA (2x) | cells to cDNA (2x) | cells to cDNA (4x) | cells to cDNA (4x) | cells to cDNA (4x) | cells to cDNA (4x) | Dilution TE 1:2 | Dilution TE 1:2 | Dilution TE 1:2 | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Copies per mL | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | - | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | - | A
B | - | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | - | B
C | - | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | - | C
D | - | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | - | D
E | - | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | - | E
F | - | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | - | F
G | - | - | - | - | - | - | - | - | - | - | - | - | G
H | - | - | - | - | - | - | - | - | - | - | - | - | H
[8 empty] | - | - | - | -
Each reaction = 10uL of lysate
Virus Copies/Reaction | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | - | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | - | A
B | - | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | - | B
C | - | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | - | C
D | - | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | - | D
E | - | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | - | E
F | - | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | - | F
G | - | - | - | - | - | - | - | - | - | - | - | - | G
H | - | - | - | - | - | - | - | - | - | - | - | - | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
cycles | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | A
B | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | B
C | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | C
D | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | D
E | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | E
F | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | F
G | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | G
H | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
[6 empty] | uL per reaction | 10 |  | VR-1986HK™ Lot Number: | 70035039
[6 empty] | minimum volume needed | 20
[6 empty] | uL to carry to dilution well | 20 |  | Virus Dilution | Dilution factor
Contrived SARS-CoV2 Spike-in: | [5 empty] | Dilution Factor | 2 | 1 : 1 | 375000
>We aim for 320 copies at the highest dilution in 10 uL volume (amount added to PCR rxn) |  |  |  |  | 320 | uL for D1 | 40 | 1 : 300 | 1250 | 300
> that translates into 32.0 copies/ul in D1 |  |  |  |  | 32 | number of 96-well plates | 1
> that translates into 1280 copies in 40 uL D1 |  |  |  |  | 1280 | copies for 1 96-well plates | 1280
> that translates to 1280 copies in 40 uL (20.0 is total of well + 20.0 added for dilution) |  |  |  |  | 1280
2) ATCC inactivated Virus Spike
>prepare a 1 to 300 dilution to 1250 copies per uL
> add 1.0 uL to 19.0 uL background in first dilution well D1 (for 1280 total viral copies) | [9 empty] | 1280
> perform 2x dilution series from vial 1 (D1) as detailed above
|  | Copies/uL of Final Dilution of Virus | 1250
|  | ATCC to add to first row, 2 wells , A5, A11 | 1.024
|  | background lysate to add to first row | 18.976

## Plate 4 (16)
13 | 14
15 | 16 |  |  | Normal Saline LOD
Plate 4 | [9 empty] | 2020-10-11
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | - | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | - | A
B | - | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | - | B
C | - | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | - | C
D | - | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | - | D
E | - | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | - | E
F | - | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | - | F
G | - | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | - | G
H | - | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | - | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | TE | NS (1:4) | NS (1:4) | NS (1:4) | NS (1:4) | NS (1:4) | NS (1:6) | NS (1:6) | NS (1:6) | NS (1:6) | NS (1:6) | TE | A
B | TE | NS (1:4) | NS (1:4) | NS (1:4) | NS (1:4) | NS (1:4) | NS (1:6) | NS (1:6) | NS (1:6) | NS (1:6) | NS (1:6) | TE | B
C | TE | NS (1:4) | NS (1:4) | NS (1:4) | NS (1:4) | NS (1:4) | NS (1:6) | NS (1:6) | NS (1:6) | NS (1:6) | NS (1:6) | TE | C
D | TE | NS (1:4) | NS (1:4) | NS (1:4) | NS (1:4) | NS (1:4) | NS (1:6) | NS (1:6) | NS (1:6) | NS (1:6) | NS (1:6) | TE | D
E | TE | NS (1:4) | NS (1:4) | NS (1:4) | NS (1:4) | NS (1:4) | NS (1:6) | NS (1:6) | NS (1:6) | NS (1:6) | NS (1:6) | TE | E
F | TE | NS (1:4) | NS (1:4) | NS (1:4) | NS (1:4) | NS (1:4) | NS (1:6) | NS (1:6) | NS (1:6) | NS (1:6) | NS (1:6) | TE | F
G | TE | NS (1:4) | NS (1:4) | NS (1:4) | NS (1:4) | NS (1:4) | NS (1:6) | NS (1:6) | NS (1:6) | NS (1:6) | NS (1:6) | TE | G
H | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Copies per mL | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | - | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | - | A
B | - | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | - | B
C | - | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | - | C
D | - | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | - | D
E | - | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | - | E
F | - | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | - | F
G | - | - | - | - | - | - | - | - | - | - | - | - | G
H | - | - | - | - | - | - | - | - | - | - | - | - | H
[8 empty] | - | - | - | -
Each reaction = 12uL of lysate
Virus Copies/Reaction | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | - | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | - | A
B | - | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | - | B
C | - | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | - | C
D | - | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | - | D
E | - | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | - | E
F | - | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | - | F
G | - | - | - | - | - | - | - | - | - | - | - | - | G
H | - | - | - | - | - | - | - | - | - | - | - | - | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
cycles | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | A
B | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | B
C | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | C
D | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | D
E | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | E
F | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | F
G | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | G
H | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
[6 empty] | uL per reaction | 10 |  | VR-1986HK™ Lot Number: | 70035039
[6 empty] | minimum volume needed | 12
[6 empty] | uL to carry to dilution well | 12 |  | Virus Dilution | Dilution factor
Contrived SARS-CoV2 Spike-in: | [5 empty] | Dilution Factor | 2 | 1 : 1 | 375000
>We aim for 320 copies at the highest dilution in 10 uL volume (amount added to PCR rxn) |  |  |  |  | 320 | uL for D1 | 24 | 1 : 300 | 1250 | 300
> that translates into 26.7 copies/ul in D1 |  |  |  |  | 26.6667 | number of 96-well plates | 1
> that translates into 640 copies in 24 uL D1 |  |  |  |  | 640 | copies for 1 96-well plates | 640
> that translates to 640 copies in 24 uL (12.0 is total of well + 12.0 added for dilution) |  |  |  |  | 640
2) ATCC inactivated Virus Spike
>prepare a 1 to 300 dilution to 1250 copies per uL
> add 0.5 uL to 11.5 uL background in first dilution well D1 (for 640 total viral copies) | [9 empty] | 640
> perform 2x dilution series from vial 1 (D1) as detailed above
|  | Copies/uL of Final Dilution of Virus | 1250
|  | ATCC to add to first row, 2 wells , A5, A11 | 0.512
|  | background lysate to add to first row | 11.488