## _Run set up notes
V25 | Friday |  |  | fill out yellow wells and these will autopopulate sections of experimental plan
** load only 7 uL
**Saliva Test
| 384-Primer Sets: 2, 3, 4? | 384-well primer plates
| Plate 1 | 1
| Plate 2 | 2
| Plate 3 | 3
| Plate 4 | 4
[6 empty] | Run 25 |  | Run 24 |  | Run 23
| V25 Plate 1 | 384 primer plate 1 | 96-well sample plate used for each quadrant |  |  | quadrant | TC used | quadrant | TC used | quadrant | TC used
| 1 | 2 |  |  |  | 3 | 7 | 4 | 4 | 2 | 4
| 3 | 4 | Saliva plate 1
| V25 Plate 2 | 384 primer plate 2
| 5 | 6 |  | Saliva Plate 2 |  | 2 | 6 | 3 | 5 | 1 | 5
| 7 | 8
| V25 Plate 3 | 384 primer plate 3
| 9 | 10 | Saliva Plate 3 |  |  | 1 |  | 2 | 6 | 3 | 6
| 11 | 12
| V25 Plate 4 | 384 primer plate 4
| 13 | 14 |  |  | ** for NS and either Aimes or VTM | 4 |  | 1 | 7 | 4 | 7
| 15 | 16 |  | Saliva Plate 4

## MasterMix
SSV25 - Mastermixes
Mix 1 - all plates | RT-PCR mix: | uL or copies per reaction | 499.2
| 4x Mastermix | 5 | 2496
| H2O | 6 | 2995.2 |  | Stock is 3000ng/uL (per EJ)
S2 dil 4 | S2 RNA spike | 249600 | 7.6753 |  | 1:20 working stock prepared from Eric's stock
RPP dil | RPP RNA spike | 249600 | 18.7947
Lysate | 7 |  |  | 5498.8753 | qubit RNA HS(ng/uL) | 77.6 ng/uL
indexed primers (prestampled) | 2 |  |  | 7.16 | > prepare 4 consecutive 1:100 dilution steps
Total Volume | 20 |  |  |  |  | > 99 uL ddH2O, 0.1% Tween + 1 uL previous dilution
Total to add to 384 well plate | 11 |  |  |  | > the final dilution should have 3600 copies / uL
> add 3.8uL (42500 copies) to RT-PCR mix
From V3 expt: Measured at 25 ng/uL, corresponding to 3.6*10^11 copies/uL (assuming a length of 130 nt)
Based on this should 3.6*10^11 (3.104)=
[8 empty] | copies/uL |  | From qubit |  | 6/22/2020 spike dil |  | from qPCR USE THIS NUMBER NEXT TIME (did not have for 6/24/2020 run)
[5 empty] | dilution | dilution step | dilution 1: X | 1117440000000 |  | ng/uL | actual copies/uL | ng/uL | copies/uL
[5 empty] | 1 | 100 | 100 | 11174400000 |  | 1.79 | 2.58E+10 | 1.192 | 1.717e+10
[5 empty] | 2 | 100 | 10000 | 111744000 |  | 0.0179 | 258000000 | 0.01192 | 171700000
[5 empty] | 3 | 100 | 1000000 | 1117440 |  | 0.000179 | 2580000 | 0.0001192 | 1717000
[5 empty] | 4 | 100 | 10000000 | 11174.4 | 3.5796 | 1.79e-06 | 25800 | 1.192e-06 | 17170 | 32520
[5 empty] | 5 | 3 | 30000000 | 3724.8 | 1.3424 | 5.9667e-07 | 8600 | 3.9733e-07 | 5723.3333
RPP spike dil 5 | copies/uL | 13280.32
S2 spike dil 4 | copies/uL | 32520

## Salivaplate#1
Plate Number 1
1 | 2 |  |  | #REF! |  | dfor p late 1 only, dont use row A
3 | 4 |  |  | Saliva |  | A1 and A12 have right volume/dilution, A2-A11 have 2x virus
** Samples all heated to 56C before test
Load 7uL of final dilution plate
#REF! | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | A
B | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | B
C | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | C
D | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | D
E | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | E
F | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | F
G | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | G
H | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
10uL of Saliva
| TBE |  |  | TBE |  |  | TBE+0.5% Tween |  |  | TBE+0.5% Tween
Saliva | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Dilution 1:2 | Dilution 1:2 | Dilution 1:2 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Dilution 1:2 | Dilution 1:2 | Dilution 1:2 | A
B | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Dilution 1:2 | Dilution 1:2 | Dilution 1:2 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Dilution 1:2 | Dilution 1:2 | Dilution 1:2 | B
C | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Dilution 1:2 | Dilution 1:2 | Dilution 1:2 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Dilution 1:2 | Dilution 1:2 | Dilution 1:2 | C
D | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Dilution 1:2 | Dilution 1:2 | Dilution 1:2 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Dilution 1:2 | Dilution 1:2 | Dilution 1:2 | D
E | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Dilution 1:2 | Dilution 1:2 | Dilution 1:2 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Dilution 1:2 | Dilution 1:2 | Dilution 1:2 | E
F | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Dilution 1:2 | Dilution 1:2 | Dilution 1:2 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Dilution 1:2 | Dilution 1:2 | Dilution 1:2 | F
G | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Dilution 1:2 | Dilution 1:2 | Dilution 1:2 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Dilution 1:2 | Dilution 1:2 | Dilution 1:2 | G
H | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Dilution 1:2 | Dilution 1:2 | Dilution 1:2 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Dilution 1:2 | Dilution 1:2 | Dilution 1:2 | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Diliution 1:1 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | TBE | TBE | TBE | TBE | TBE | TBE | TBE+0.5% Tween | TBE+0.5% Tween | TBE+0.5% Tween | TBE+0.5% Tween | TBE+0.5% Tween | TBE+0.5% Tween | A
B | TBE | TBE | TBE | TBE | TBE | TBE | TBE+0.5% Tween | TBE+0.5% Tween | TBE+0.5% Tween | TBE+0.5% Tween | TBE+0.5% Tween | TBE+0.5% Tween | B
C | TBE | TBE | TBE | TBE | TBE | TBE | TBE+0.5% Tween | TBE+0.5% Tween | TBE+0.5% Tween | TBE+0.5% Tween | TBE+0.5% Tween | TBE+0.5% Tween | C
D | TBE | TBE | TBE | TBE | TBE | TBE | TBE+0.5% Tween | TBE+0.5% Tween | TBE+0.5% Tween | TBE+0.5% Tween | TBE+0.5% Tween | TBE+0.5% Tween | D
E | TBE | TBE | TBE | TBE | TBE | TBE | TBE+0.5% Tween | TBE+0.5% Tween | TBE+0.5% Tween | TBE+0.5% Tween | TBE+0.5% Tween | TBE+0.5% Tween | E
F | TBE | TBE | TBE | TBE | TBE | TBE | TBE+0.5% Tween | TBE+0.5% Tween | TBE+0.5% Tween | TBE+0.5% Tween | TBE+0.5% Tween | TBE+0.5% Tween | F
G | TBE | TBE | TBE | TBE | TBE | TBE | TBE+0.5% Tween | TBE+0.5% Tween | TBE+0.5% Tween | TBE+0.5% Tween | TBE+0.5% Tween | TBE+0.5% Tween | G
H | TBE | TBE | TBE | TBE | TBE | TBE | TBE+0.5% Tween | TBE+0.5% Tween | TBE+0.5% Tween | TBE+0.5% Tween | TBE+0.5% Tween | TBE+0.5% Tween | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Copies per mL | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | A
B | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | B
C | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | C
D | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | D
E | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | E
F | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | F
G | - | - | - | - | - | - | - | - | - | - | - | - | G
H | - | - | - | - | - | - | - | - | - | - | - | - | H
[8 empty] | - | - | - | -
Each reaction = 7uL of lysate
Virus Copies/Reaction | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 224 | 224 | 224 | 224 | 224 | 224 | 224 | 224 | 224 | 224 | 224 | 224 | A
B | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112 | B
C | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | C
D | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | D
E | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | E
F | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | F
G | - | - | - | - | - | - | - | - | - | - | - | - | G
H | - | - | - | - | - | - | - | - | - | - | - | - | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Dilution | 2 |  |  |  | 3 |  |  |  | 4
Virus Copies/Reaction after dilutions | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 112 | 112 | 112 | 112 | 74.6667 | 74.6667 | 74.6667 | 74.6667 | 56 | 56 | 56 | 56 | A
B | 56 | 56 | 56 | 56 | 37.3333 | 37.3333 | 37.3333 | 37.3333 | 28 | 28 | 28 | 28 | B
C | 28 | 28 | 28 | 28 | 18.6667 | 18.6667 | 18.6667 | 18.6667 | 14 | 14 | 14 | 14 | C
D | 14 | 14 | 14 | 14 | 9.3333 | 9.3333 | 9.3333 | 9.3333 | 7 | 7 | 7 | 7 | D
E | 7 | 7 | 7 | 7 | 4.6667 | 4.6667 | 4.6667 | 4.6667 | 3.5 | 3.5 | 3.5 | 3.5 | E
F | 3.5 | 3.5 | 3.5 | 3.5 | 2.3333 | 2.3333 | 2.3333 | 2.3333 | 1.75 | 1.75 | 1.75 | 1.75 | F
G | - | - | - | - | - | - | - | - | - | - | - | - | G
H | - | - | - | - | - | - | - | - | - | - | - | - | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
cycles | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | A
B | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | B
C | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | C
D | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | D
E | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | E
F | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | F
G | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | G
H | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Heat Treatment | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | A
B | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | B
C | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | C
D | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | D
E | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | E
F | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | F
G | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | G
H | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | 56C-30 min | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
[7 empty] | Total volume | RNA secure per well (uL) | sample (uL) | water (uL) | wells | scale up factor | TE | RNA secure
| Saliva Needed (uL) per well | 40 |  | ** This protocol dilutes in water and RNAsecure |  |  | 20 | 0.8 | 10 | 9.2 | 32 | 1.1 | 294.4 | 28.16
| number of wells | 32 |  | RNASecure (25x) |  |  | 30 | 1.2 | 10 | 18.8 | 32 | 1.1 | 601.6 | 42.24
| scale up factor | 1.2 |  |  |  |  | 40 | 1.6 | 10 | 28.4 | 32 | 1.1 | 908.8 | 56.32
| total uL needed | 1536
[6 empty] | uL per reaction | 7 |  | VR-1986HK™ Lot Number: | 70035039
[6 empty] | minimum volume needed | 40
[6 empty] | uL to carry to dilution well | 40 |  | Virus Dilution | Dilution factor
Contrived SARS-CoV2 Spike-in: | [5 empty] | Dilution Factor | 2 | 1 : 1 | 375000
>We aim for 224 copies at the highest dilution in 7 uL volume (amount added to PCR rxn) |  |  |  |  | 224 | uL for D1 | 80 | 1 : 300 | 1250 | 300
> that translates into 32.0 copies/ul in D1 |  |  |  |  | 32 | number of 96-well plates | 1
> that translates into 2560 copies in 80 uL D1 |  |  |  |  | 2560 | copies for 1 96-well plates | 2560
> that translates to 0 copies in 0 uL (0.0 is total of well + 0.0 added for dilution) |  |  |  |  | 2560
2) ATCC inactivated Virus Spike
>prepare a 1 to 300 dilution to 1250 copies per uL | [6 empty] | > make these three dilutions
> add 2.0 uL to 38.0 uL background in first dilution well D1 (for 2560 total viral copies) | [6 empty] | > pipet 10, 20, or 30uL of water into each well of plate for dilutions
> perform 2x dilution series from vial 1 (D1) as detailed above | [6 empty] | >make the dilutions of saliva
> make atcc dilutions with RNAsecure in TE
|  | Copies/uL of Final Dilution of Virus | 1250 | for D1 (columns 1-4) |  |  | > make contrived saliva + ATCC
|  | ATCC to add to D1 | 2.048 | 12.288 |  |  | > pipet 40uL into A1-A4
|  | background Saliva | 37.952 | 227.712 |  |  | > Do serial Dilutions until row F; carryover 40 uL
> use multichannel to add 10uL of each well into the dilution plate made in step 2
> Incubate the mixture at 60°C for 10 minutes, then cool to room temperature
make contrived at concentrations above
dilute into 1:1, 1:2, 1:3 with water

## SalivaPlate#2
Plate Number 1
1 | 2 |  |  | #REF!
3 | 4 |  |  | Saliva
Load 7uL of final dilution plate
#REF! | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | A
B | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | B
C | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | C
D | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | D
E | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | E
F | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | F
G | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | G
H | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
10uL of Saliva
Saliva | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Dilution 1:2 | Dilution 1:2 | Dilution 1:2 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Dilution 1:2 | Dilution 1:2 | Dilution 1:2 | A
B | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Dilution 1:2 | Dilution 1:2 | Dilution 1:2 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Dilution 1:2 | Dilution 1:2 | Dilution 1:2 | B
C | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Dilution 1:2 | Dilution 1:2 | Dilution 1:2 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Dilution 1:2 | Dilution 1:2 | Dilution 1:2 | C
D | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Dilution 1:2 | Dilution 1:2 | Dilution 1:2 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Dilution 1:2 | Dilution 1:2 | Dilution 1:2 | D
E | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Dilution 1:2 | Dilution 1:2 | Dilution 1:2 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Dilution 1:2 | Dilution 1:2 | Dilution 1:2 | E
F | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Dilution 1:2 | Dilution 1:2 | Dilution 1:2 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Dilution 1:2 | Dilution 1:2 | Dilution 1:2 | F
G | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Dilution 1:2 | Dilution 1:2 | Dilution 1:2 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Dilution 1:2 | Dilution 1:2 | Dilution 1:2 | G
H | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Dilution 1:2 | Dilution 1:2 | Dilution 1:2 | Diliution 1:1 | Diliution 1:1 | Diliution 1:1 | Dilution 1:2 | Dilution 1:2 | Dilution 1:2 | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+Protease+0.1% Tween20 | TE+Protease+0.1% Tween20 | TE+Protease+0.1% Tween20 | TE+Protease+0.1% Tween20 | TE+Protease+0.1% Tween20 | TE+Protease+0.1% Tween20 | A
B | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+Protease+0.1% Tween20 | TE+Protease+0.1% Tween20 | TE+Protease+0.1% Tween20 | TE+Protease+0.1% Tween20 | TE+Protease+0.1% Tween20 | TE+Protease+0.1% Tween20 | B
C | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+Protease+0.1% Tween20 | TE+Protease+0.1% Tween20 | TE+Protease+0.1% Tween20 | TE+Protease+0.1% Tween20 | TE+Protease+0.1% Tween20 | TE+Protease+0.1% Tween20 | C
D | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+Protease+0.1% Tween20 | TE+Protease+0.1% Tween20 | TE+Protease+0.1% Tween20 | TE+Protease+0.1% Tween20 | TE+Protease+0.1% Tween20 | TE+Protease+0.1% Tween20 | D
E | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+Protease+0.1% Tween20 |  | TE+Protease+0.1% Tween20 | TE+Protease+0.1% Tween20 | TE+Protease+0.1% Tween20 | TE+Protease+0.1% Tween20 | E
F | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+Protease+0.1% Tween20 | TE+Protease+0.1% Tween20 | TE+Protease+0.1% Tween20 | TE+Protease+0.1% Tween20 | TE+Protease+0.1% Tween20 | TE+Protease+0.1% Tween20 | F
G | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+Protease+0.1% Tween20 | TE+Protease+0.1% Tween20 | TE+Protease+0.1% Tween20 | TE+Protease+0.1% Tween20 | TE+Protease+0.1% Tween20 | TE+Protease+0.1% Tween20 | G
H | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+RNA Sec + QP | TE+Protease+0.1% Tween20 | TE+Protease+0.1% Tween20 | TE+Protease+0.1% Tween20 | TE+Protease+0.1% Tween20 | TE+Protease+0.1% Tween20 | TE+Protease+0.1% Tween20 | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Copies per mL | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | A
B | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | B
C | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | C
D | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | D
E | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | E
F | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | F
G | - | - | - | - | - | - | - | - | - | - | - | - | G
H | - | - | - | - | - | - | - | - | - | - | - | - | H
[8 empty] | - | - | - | -
Each reaction = 7uL of lysate
Virus Copies/Reaction | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 224 | 224 | 224 | 224 | 224 | 224 | 224 | 224 | 224 | 224 | 224 | 224 | A
B | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112 | B
C | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | C
D | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | D
E | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | E
F | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | F
G | - | - | - | - | - | - | - | - | - | - | - | - | G
H | - | - | - | - | - | - | - | - | - | - | - | - | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Dilution | 2 |  |  |  | 3 |  |  |  | 4
Virus Copies/Reaction after dilutions | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 112 | 112 | 112 | 112 | 74.6667 | 74.6667 | 74.6667 | 74.6667 | 56 | 56 | 56 | 56 | A
B | 56 | 56 | 56 | 56 | 37.3333 | 37.3333 | 37.3333 | 37.3333 | 28 | 28 | 28 | 28 | B
C | 28 | 28 | 28 | 28 | 18.6667 | 18.6667 | 18.6667 | 18.6667 | 14 | 14 | 14 | 14 | C
D | 14 | 14 | 14 | 14 | 9.3333 | 9.3333 | 9.3333 | 9.3333 | 7 | 7 | 7 | 7 | D
E | 7 | 7 | 7 | 7 | 4.6667 | 4.6667 | 4.6667 | 4.6667 | 3.5 | 3.5 | 3.5 | 3.5 | E
F | 3.5 | 3.5 | 3.5 | 3.5 | 2.3333 | 2.3333 | 2.3333 | 2.3333 | 1.75 | 1.75 | 1.75 | 1.75 | F
G | - | - | - | - | - | - | - | - | - | - | - | - | G
H | - | - | - | - | - | - | - | - | - | - | - | - | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
cycles | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | A
B | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | B
C | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | C
D | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | D
E | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | E
F | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | F
G | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | G
H | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
[7 empty] | Total volume | RNA secure per well (uL) | sample (uL) | water (uL) | wells | scale up factor | TE | RNA secure
| Saliva Needed (uL) per well | 40 |  | ** This protocol dilutes in water and RNAsecure |  |  | 20 | 0.8 | 10 | 9.2 | 32 | 1.1 | 294.4 | 28.16
| number of wells | 32 |  | RNASecure (25x) |  |  | 30 | 1.2 | 10 | 18.8 | 32 | 1.1 | 601.6 | 42.24
| scale up factor | 1.2 |  |  |  |  | 40 | 1.6 | 10 | 28.4 | 32 | 1.1 | 908.8 | 56.32
| total uL needed | 1536
[6 empty] | uL per reaction | 7 |  | VR-1986HK™ Lot Number: | 70035039
[6 empty] | minimum volume needed | 40
[6 empty] | uL to carry to dilution well | 40 |  | Virus Dilution | Dilution factor
Contrived SARS-CoV2 Spike-in: | [5 empty] | Dilution Factor | 2 | 1 : 1 | 375000
>We aim for 224 copies at the highest dilution in 7 uL volume (amount added to PCR rxn) |  |  |  |  | 224 | uL for D1 | 80 | 1 : 300 | 1250 | 300
> that translates into 32.0 copies/ul in D1 |  |  |  |  | 32 | number of 96-well plates | 1
> that translates into 2560 copies in 80 uL D1 |  |  |  |  | 2560 | copies for 1 96-well plates | 2560
> that translates to 0 copies in 0 uL (0.0 is total of well + 0.0 added for dilution) |  |  |  |  | 2560
2) ATCC inactivated Virus Spike
>prepare a 1 to 300 dilution to 1250 copies per uL | [6 empty] | > make these three dilutions
> add 2.0 uL to 38.0 uL background in first dilution well D1 (for 2560 total viral copies) | [6 empty] | > pipet 10, 20, or 30uL of water into each well of plate for dilutions
> perform 2x dilution series from vial 1 (D1) as detailed above | [6 empty] | >make the dilutions of saliva
> make atcc dilutions with RNAsecure in TE
|  | Copies/uL of Final Dilution of Virus | 1250 | for D1 (columns 1-4) |  |  | > make contrived saliva + ATCC
|  | ATCC to add to D1 | 2.048 | 12.288 |  |  | > pipet 40uL into A1-A4
|  | background Saliva | 37.952 | 227.712 |  |  | > Do serial Dilutions until row F; carryover 40 uL
> use multichannel to add 10uL of each well into the dilution plate made in step 2
> Incubate the mixture at 60°C for 10 minutes, then cool to room temperature
make contrived at concentrations above
dilute into 1:1, 1:2, 1:3 with water

## Saliva Plate#3
replicate of Plate #1 but heat at 95C first

## Saliva Plate #4
replicate of Plate #2 but heat at 95C first

## Plate 1.4(4)
Plate Number 1
1 | 2 |  | #REF!
3 | 4 |  |  | Saliva
#REF! | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | ED1 |  | NS | A
B | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | ED2 |  | NS | B
C | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | ED3 |  | NS | C
D | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | ED4 |  | NS | D
E | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | ED1 |  | NS | E
F | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | ED2 |  | NS | F
G | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | ED3 |  | NS | G
H | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | ED4 | Positive Control | Negative Control | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Copies per mL | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | - | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | 32000 | - | A
B | - | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | - | B
C | - | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | - | C
D | - | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | - | D
E | - | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | - | E
F | - | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | - | F
G | - | - | - | - | - | - | - | - | - | - | - | - | G
H | - | - | - | - | - | - | - | - | - | - | - | - | H
[8 empty] | - | - | - | -
Each reaction = 12uL of lysate
Virus Copies/Reaction | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | - | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | - | A
B | - | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | - | B
C | - | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | - | C
D | - | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | - | D
E | - | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | - | E
F | - | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | - | F
G | - | - | - | - | - | - | - | - | - | - | - | - | G
H | - | - | - | - | - | - | - | - | - | - | - | - | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
cycles | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | A
B | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | B
C | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | C
D | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | D
E | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | E
F | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | F
G | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | G
H | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
|  |  | for 1:4 dilution | buffer
| Total Volume Needed; | 4800 | 1200 | 3600
[6 empty] | uL per reaction | 10 |  | VR-1986HK™ Lot Number: | 70035039
[6 empty] | minimum volume needed | 12
[6 empty] | uL to carry to dilution well | 12 |  | Virus Dilution | Dilution factor
Contrived SARS-CoV2 Spike-in: | [5 empty] | Dilution Factor | 2 | 1 : 1 | 375000
>We aim for 320 copies at the highest dilution in 10 uL volume (amount added to PCR rxn) |  |  |  |  | 320 | uL for D1 | 24 | 1 : 300 | 1250 | 300
> that translates into 26.7 copies/ul in D1 |  |  |  |  | 26.6667 | number of 96-well plates | 1
> that translates into 640 copies in 24 uL D1 |  |  |  |  | 640 | copies for 1 96-well plates | 640
> that translates to 640 copies in 24 uL (12.0 is total of well + 12.0 added for dilution) |  |  |  |  | 640
2) ATCC inactivated Virus Spike
>prepare a 1 to 300 dilution to 1250 copies per uL
> add 0.5 uL to 11.5 uL background in first dilution well D1 (for 640 total viral copies) | [9 empty] | 640
> perform 2x dilution series from vial 1 (D1) as detailed above
|  | Copies/uL of Final Dilution of Virus | 1250
|  | ATCC to add to first row, 2 wells , A5, A11 | 0.512
|  | background lysate to add to first row | 11.488
make contrived at concentrations above
dilute into 1:4 or 1:6 background

## Plate 3.2(10)
9 | 10 |  | #REF! | 1804
11 | 12 |  | #REF!
Plate 3: negative EUA plate redo; 40 cycles only, load 7 uL
#REF! | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | A
B | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | B
C | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | C
D | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | D
E | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | E
F | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | F
G | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | G
H | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
1804 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | NBC | N3851 | N3859 | N3867 | N3875 | N3883 | N3891 | N3899 | N3907 | N3915 | N3923 | N3931 | A
B | N3844 | N3852 | N3860 | N3868 | N3876 | N3884 | N3892 | N3900 | N3908 | N3916 | N3924 | N3932 | B
C | N3845 | N3853 | N3861 | N3869 | N3877 | N3885 | N3893 | N3901 | N3909 | N3917 | N3925 | N3933 | C
D | N3846 | N3854 | N3862 | N3870 | N3878 | N3886 | N3894 | N3902 | N3910 | N3918 | N3926 | N3934 | D
E | N3847 | N3855 | N3863 | N3871 | N3879 | N3887 | N3895 | N3903 | N3911 | N3919 | N3927 | N3935 | E
F | N3848 | N3856 | N3864 | N3872 | N3880 | N3888 | N3896 | N3904 | N3912 | N3920 | N3928 | N3936 | F
G | N3849 | N3857 | N3865 | N3873 | N3881 | N3889 | N3897 | N3905 | N3913 | N3921 | N3929 | N3937 | G
H | N3850 | N3858 | N3866 | N3874 | N3882 | N3890 | N3898 | N3906 | N3914 | N3922 | N3930 | PPC | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [11 empty] | - | A | bar: N3844 N3845 N3846 N3847 N3848 N3849 N3850 to N3923 N3924 N3925 N3926 N3927 N3928 N3929 N3930
B | [11 empty] | - | B | bar: N3844 N3845 N3846 N3847 N3848 N3849 N3850 to N3923 N3924 N3925 N3926 N3927 N3928 N3929 N3930
C | [11 empty] | - | C | bar: N3844 N3845 N3846 N3847 N3848 N3849 N3850 to N3923 N3924 N3925 N3926 N3927 N3928 N3929 N3930
D | [11 empty] | - | D | bar: N3844 N3845 N3846 N3847 N3848 N3849 N3850 to N3923 N3924 N3925 N3926 N3927 N3928 N3929 N3930
E | [11 empty] | - | E | bar: N3844 N3845 N3846 N3847 N3848 N3849 N3850 to N3923 N3924 N3925 N3926 N3927 N3928 N3929 N3930
F | [11 empty] | - | F | bar: N3844 N3845 N3846 N3847 N3848 N3849 N3850 to N3923 N3924 N3925 N3926 N3927 N3928 N3929 N3930
G | [11 empty] | - | G | bar: N3844 N3845 N3846 N3847 N3848 N3849 N3850 to N3923 N3924 N3925 N3926 N3927 N3928 N3929 N3930
H | [11 empty] | - | H | bar: N3844 N3845 N3846 N3847 N3848 N3849 N3850 to N3923 N3924 N3925 N3926 N3927 N3928 N3929 N3930
[8 empty] | - | - | - | -
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [12 empty] | A
B | [12 empty] | B
C | [12 empty] | C
D | [12 empty] | D
E | [12 empty] | E
F | [12 empty] | F
G | [12 empty] | G
H | [12 empty] | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
cycles | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | A
B | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | B
C | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | C
D | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | D
E | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | E
F | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | F
G | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | G
H | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
[6 empty] | uL per reaction | 10 |  | VR-1986HK™ Lot Number: | 70035039
[6 empty] | minimum volume needed | 20
[6 empty] | uL to carry to dilution well | 20 |  | Virus Dilution | Dilution factor
Contrived SARS-CoV2 Spike-in: | N3883 N3884 N3885 N3886 N3887 N3888 N3889 N3890: Dilution Factor; N3891 N3892 N3893 N3894 N3895 N3896 N3897 N3898: 2; N3899 N3900 N3901 N3902 N3903 N3904 N3905 N3906: 1 : 1; N3907 N3908 N3909 N3910 N3911 N3912 N3913 N3914: 375000
>We aim for 320 copies at the highest dilution in 10 uL volume (amount added to PCR rxn) | N3875 N3876 N3877 N3878 N3879 N3880 N3881 N3882: 320; N3883 N3884 N3885 N3886 N3887 N3888 N3889 N3890: uL for D1; N3891 N3892 N3893 N3894 N3895 N3896 N3897 N3898: 40; N3899 N3900 N3901 N3902 N3903 N3904 N3905 N3906: 1 : 300; N3907 N3908 N3909 N3910 N3911 N3912 N3913 N3914: 1250; N3915 N3916 N3917 N3918 N3919 N3920 N3921 N3922: 300
> that translates into 32.0 copies/ul in D1 | N3875 N3876 N3877 N3878 N3879 N3880 N3881 N3882: 32; N3883 N3884 N3885 N3886 N3887 N3888 N3889 N3890: number of 96-well plates; N3891 N3892 N3893 N3894 N3895 N3896 N3897 N3898: 1
> that translates into 1280 copies in 40 uL D1 | N3875 N3876 N3877 N3878 N3879 N3880 N3881 N3882: 1280; N3883 N3884 N3885 N3886 N3887 N3888 N3889 N3890: copies for 1 96-well plates; N3891 N3892 N3893 N3894 N3895 N3896 N3897 N3898: 1280
> that translates to 1280 copies in 40 uL (20.0 is total of well + 20.0 added for dilution) | N3875 N3876 N3877 N3878 N3879 N3880 N3881 N3882: 1280
2) ATCC inactivated Virus Spike
>prepare a 1 to 300 dilution to 1250 copies per uL
> add 1.0 uL to 19.0 uL background in first dilution well D1 (for 1280 total viral copies) | N3915 N3916 N3917 N3918 N3919 N3920 N3921 N3922: 1280
> perform 2x dilution series from vial 1 (D1) as detailed above
|  | Copies/uL of Final Dilution of Virus | 1250
|  | ATCC to add to first row, 2 wells , A5, A11 | 1.024
|  | background lysate to add to first row | 18.976

## Plate2.3(7)
Plate Number 2
5 | 6 |  | eSWAB Aimes | #REF! |  | Normal Saline | VTM
7 | 8 |  | #REF! | #REF! |  | Aimes
** might be a little short for this.
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | R003 | R-031 | R-034 | O-014 | VA21 | VA01 | VA29 | VA09 | VA37 | VA17 | VA45 | NS | A
B | O-003 | C-009 | R-032 | R-042 | VA22 | VA02 | VA30 | VA10 | VA38 | VA18 | VA46 | NS | B
C | O-031 | O-034 | O-009 | R-047 | VA23 | VA03 | VA31 | VA11 | VA39 | VA19 | VA47 | NS | C
D | O-049 | R-014 | R-035 | C-008 | VA24 | VA04 | VA32 | VA12 | VA40 | VA20 | NS | NS | D
E | O-048 | O-035 | R-039 | R-048 | VA25 | VA05 | VA33 | VA13 | VA41 | NS | NS | NS | E
F | R-005 | O-037 | R-004 | R-049 | VA26 | VA06 | VA34 | VA14 | VA42 | NS | NS | NS | F
G | O-042 | O-039 | R-040 | NS | VA27 | VA07 | VA35 | VA15 | VA43 | NS | NS | NS | G
H | O-047 | R006 | R-041 | NS | VA28 | VA08 | VA36 | VA16 | VA44 | NS | NS | NS | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Dilution with water | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | A
B | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | B
C | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | C
D | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | D
E | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | E
F | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | F
G | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | G
H | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | 1:5 or 6? | H
[8 empty] | - | - | - | -
Each reaction = 12uL of lysate
Virus Copies/Reaction | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | - | - | - | - | - | - | - | - | - | - | - | 500 | A
B | - | - | - | - | - | - | - | - | - | - | - | 500 | B
C | - | - | - | - | - | - | - | - | - | - | - | 500 | C
D | - | - | - | - | - | - | - | - | - | - | - | 500 | D
E | - | - | - | - | - | - | - | - | - | - | - | - | E
F | - | - | - | - | - | - | - | - | - | - | - | - | F
G | - | - | - | - | - | - | - | - | - | - | - | - | G
H | - | - | - | - | - | - | - | - | - | - | - | - | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
cycles | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | A
B | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | B
C | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | C
D | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | D
E | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | E
F | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | F
G | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | G
H | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
|  | uL | samples | total volume | total aimes | total buffer
| Aimes 1:4 | 12 | 40 | 480 | 120 | 360
| Aimes 1:6 | 12 | 40 | 480 | 80 | 400
[6 empty] | uL per reaction | 10 |  | VR-1986HK™ Lot Number: | 70035039
[6 empty] | minimum volume needed | 12
[6 empty] | uL to carry to dilution well | 12 |  | Virus Dilution | Dilution factor
Contrived SARS-CoV2 Spike-in: | [5 empty] | Dilution Factor | 2 | 1 : 1 | 375000
>We aim for 0 copies at the highest dilution in 10 uL volume (amount added to PCR rxn) | [5 empty] | uL for D1 | 24 | 1 : 200 | 1875 | 200
> that translates into 0.0 copies/ul in D1 |  |  |  |  | 0 | number of 96-well plates | 1
> that translates into 0 copies in 24 uL D1 |  |  |  |  | 0 | copies for 1 96-well plates | 0
> that translates to 0 copies in 24 uL (12.0 is total of well + 12.0 added for dilution) |  |  |  |  | 0
2) ATCC inactivated Virus Spike
>prepare a 1 to 200 dilution to 1875 copies per uL
> add 0.0 uL to 12.0 uL background in first dilution well D1 (for 0 total viral copies)
> perform 2x dilution series from vial 1 (D1) as detailed above
|  | Copies/uL of Final Dilution of Virus | 1875
|  | ATCC to add to first row, 2 wells , A5, A11 | 0 | 0
|  | background lysate to add to first row | 12 | 72
[5 empty] | aimes | water/te
|  |  |  | 1:4 | 0 | 0
|  |  |  | 1:6 | 0 | 0

## Plate 4.1 (13)
13 | 14 |  | #REF! | #REF!
15 | 16 |  | #REF! | Normal Saline LOD
Plate 4
#REF! | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | - | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | - | A
B | - | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | - | B
C | - | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | - | C
D | - | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | - | D
E | - | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | - | E
F | - | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | - | F
G | - | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | - | G
H | - | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | Nasal Swab | - | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
#REF! | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | TE | NS (1:X) | NS (1:X) | NS (1:X) | NS (1:X) | NS (1:X) | NS (1:X) | NS (1:X) | NS (1:X) | NS (1:X) | NS (1:X) | TE | A
B | TE | NS (1:X) | NS (1:X) | NS (1:X) | NS (1:X) | NS (1:X) | NS (1:X) | NS (1:X) | NS (1:X) | NS (1:X) | NS (1:X) | TE | B
C | TE | NS (1:X) | NS (1:X) | NS (1:X) | NS (1:X) | NS (1:X) | NS (1:X) | NS (1:X) | NS (1:X) | NS (1:X) | NS (1:X) | TE | C
D | TE | NS (1:X) | NS (1:X) | NS (1:X) | NS (1:X) | NS (1:X) | NS (1:X) | NS (1:X) | NS (1:X) | NS (1:X) | NS (1:X) | TE | D
E | TE | Aimes/VTM | Aimes/VTM | Aimes/VTM | Aimes/VTM | Aimes/VTM | Aimes/VTM | Aimes/VTM | Aimes/VTM | Aimes/VTM | Aimes/VTM | TE | E
F | TE | Aimes/VTM | Aimes/VTM | Aimes/VTM | Aimes/VTM | Aimes/VTM | Aimes/VTM | Aimes/VTM | Aimes/VTM | Aimes/VTM | Aimes/VTM | TE | F
G | TE | Aimes/VTM | Aimes/VTM | Aimes/VTM | Aimes/VTM | Aimes/VTM | Aimes/VTM | Aimes/VTM | Aimes/VTM | Aimes/VTM | Aimes/VTM | TE | G
H | TE | Aimes/VTM | Aimes/VTM | Aimes/VTM | Aimes/VTM | Aimes/VTM | Aimes/VTM | Aimes/VTM | Aimes/VTM | Aimes/VTM | Aimes/VTM | TE | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Copies per mL | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | - | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | - | A
B | - | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | - | B
C | - | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | - | C
D | - | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | - | D
E | - | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | - | E
F | - | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | - | F
G | - | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | - | G
H | - | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | - | H
[8 empty] | - | - | - | -
Each reaction = 10uL of lysate
Virus Copies/Reaction | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | - | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | - | A
B | - | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | - | B
C | - | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | - | C
D | - | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | - | D
E | - | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | - | E
F | - | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | - | F
G | - | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | - | G
H | - | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | - | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
cycles | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | A
B | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | B
C | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | C
D | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | D
E | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | E
F | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | F
G | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | G
H | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
[6 empty] | uL per reaction | 10 |  | VR-1986HK™ Lot Number: | 70035039
[6 empty] | minimum volume needed | 12
[6 empty] | uL to carry to dilution well | 12 |  | Virus Dilution | Dilution factor
Contrived SARS-CoV2 Spike-in: | [5 empty] | Dilution Factor | 2 | 1 : 1 | 375000
>We aim for 320 copies at the highest dilution in 10 uL volume (amount added to PCR rxn) |  |  |  |  | 320 | uL for D1 | 24 | 1 : 300 | 1250 | 300
> that translates into 26.7 copies/ul in D1 |  |  |  |  | 26.6667 | number of 96-well plates | 1
> that translates into 640 copies in 24 uL D1 |  |  |  |  | 640 | copies for 1 96-well plates | 640
> that translates to 640 copies in 24 uL (12.0 is total of well + 12.0 added for dilution) |  |  |  |  | 640
2) ATCC inactivated Virus Spike
>prepare a 1 to 300 dilution to 1250 copies per uL
> add 0.5 uL to 11.5 uL background in first dilution well D1 (for 640 total viral copies) | [9 empty] | 640
> perform 2x dilution series from vial 1 (D1) as detailed above
|  | Copies/uL of Final Dilution of Virus | 1250
|  | ATCC to add to first row, 2 wells , A5, A11 | 0.512
|  | background lysate to add to first row | 11.488

## Ct Values_ COVIDRawLysate_Clini
Study # | Volume (ul) | Specimen Date | Specimen Type | Processing Date | Qualitative Result | ORF1ab CT Value | N Gene CT Value | S Gene Ct Value | IC Ct Value
VA01 | 150 | 2020-05-13 | NP Swab | 2020-05-13 | Detected | 20.2 | 21.7 | 21 | 23 | POSITIVE
VA02 | 150 | 2020-05-12 | NP Swab | 2020-05-12 | Detected | 24.9 | 26.4 | 25.8 | 23.4 | POSITIVE
VA03 | 150 | 2020-05-11 | NP Swab | 2020-05-11 | Detected | 23.6 | 24.1 | 21.7 | 22.6 | POSITIVE
VA04 | 150 | 2020-06-23 | OTHERSRC | 2020-06-23 | Detected | 28.5 | 27.4 | 27.4 | 23.5 | POSITIVE
VA05 | 150 | 2020-06-23 | NP Swab | 2020-06-23 | Detected | 24.8 | 24.9 | 25.1 | 24.7 | POSITIVE
VA06 | 150 | 2020-06-23 | NP Swab | 2020-06-23 | Detected | 22.1 | 22.9 | 22.3 | 28.1 | POSITIVE
VA07 | 150 | 2020-06-23 | NP Swab | 2020-06-23 | Detected | 26.7 | 27.7 | 27.1 | 24.4 | POSITIVE
VA08 | 150 | 2020-06-23 | NP Swab | 2020-06-24 | Detected | 28.8 | 29 | 29 | 23.8 | POSITIVE
VA09 | 150 | 2020-06-24 | NP Swab | 2020-06-24 | Detected | 20.7 | 21.2 | 21.5 | 23.1 | POSITIVE
VA10 | 150 | 2020-06-24 | NP Swab | 2020-06-24 | Detected | 27.4 | 27.1 | 27.8 | 24.6 | POSITIVE
VA11 | 150 | 2020-06-24 | NP Swab | 2020-06-24 | Detected | 25.7 | 25.5 | 26.1 | 24.5 | POSITIVE
VA12 | 150 | 2020-06-24 | NP Swab | 2020-06-24 | Detected | 28.1 | 27.1 | 27.2 | 24.1 | POSITIVE
VA13 | 150 | 2020-06-24 | NP Swab | 2020-06-24 | Detected | 24.3 | 23.1 | 24.2 | 23.3 | POSITIVE
VA14 | 150 | 2020-06-24 | NP Swab | 2020-06-24 | Detected | 25.2 | 25 | 24.8 | 23.5 | POSITIVE
VA15 | 150 | 2020-06-25 | NP Swab | 2020-06-25 | Detected | 20.8 | 21.2 | 20.5 | 24.4 | POSITIVE
VA16 | 150 | 2020-06-24 | NP Swab | 2020-06-25 | Detected | 20.8 | 21.2 | 21.2 | 24.5 | POSITIVE
VA17 | 150 | 2020-06-25 | NP Swab | 2020-06-25 | Detected | 20 | 19.2 | 19.9 | 23.1 | POSITIVE
VA18 | 150 | 2020-06-25 | NP Swab | 2020-06-25 | Detected | 29.4 | 28.3 | 29 | 23.3 | POSITIVE
VA19 | 150 | 2020-06-25 | NP Swab | 2020-06-25 | Detected | 26.6 | 28.5 | 26.2 | 23.6 | POSITIVE
VA20 | 150 | 2020-06-22 | NP Swab | 2020-06-26 | Detected | 24.1 | 25.1 | 24.1 | 22.5 | POSITIVE
lysate | S_gene | ORF1 | RNA internal Control
R003 | 12.1 | 12.7 | 34.7 | [6 empty] | POSITIVE
O-003 | 17.7 | 18.2 | 30.6 | [6 empty] | POSITIVE
R-005 | 18.6 | 19.1 | 30.5 | [6 empty] | POSITIVE
C-009 | 16.4 | 18.1 | 34.1 | [6 empty] | POSITIVE
R-014 | 18 | 18.8 | 32.2 | [6 empty] | POSITIVE
R006 | 19 | 19.5 | 31.3 | [6 empty] | POSITIVE
O-009 | 19.7 | 20 | 29.8 | [6 empty] | POSITIVE
R-004 | 15.6 | 16.2 | 31.3 | [6 empty] | POSITIVE
O-014 | 16.9 | 17.7 | 33.1 | [6 empty] | POSITIVE
C-008 | 18.9 | 20 | 31.6 | [6 empty] | POSITIVE
O-031 | 45 | 45 | [7 empty] | NEGATIVE
O-049 | 45 | 45 | [7 empty] | NEGATIVE
O-048 | 45 | 45 | [7 empty] | NEGATIVE
O-042 | 45 | 45 | [7 empty] | NEGATIVE
O-047 | 45 | 45 | [7 empty] | NEGATIVE
R-031 | 45 | 45 | [7 empty] | NEGATIVE
O-034 | 45 | 45 | [7 empty] | NEGATIVE
O-035 | 45 | 45 | [7 empty] | NEGATIVE
O-037 | 45 | 45 | [7 empty] | NEGATIVE
O-039 | 45 | 45 | [7 empty] | NEGATIVE
R-034 | 45 | 45 | [7 empty] | NEGATIVE
R-032 | 45 | 45 | [7 empty] | NEGATIVE
R-035 | 45 | 45 | [7 empty] | NEGATIVE
R-039 | 45 | 45 | [7 empty] | NEGATIVE
R-040 | 45 | 45 | [7 empty] | NEGATIVE
R-041 | 45 | 45 | [7 empty] | NEGATIVE
R-042 | 45 | 45 | [7 empty] | NEGATIVE
R-047 | 45 | 45 | [7 empty] | NEGATIVE
R-048 | 45 | 45 | [7 empty] | NEGATIVE
R-049 | 45 | 45 | [7 empty] | NEGATIVE
Deidentified Aimes
VA21 | in tubes | Aimes from 7/6 | [7 empty] | NEGATIVE
VA22 |  | Aimes from 7/6 | [7 empty] | NEGATIVE
VA23 |  | Aimes from 7/6 | [7 empty] | NEGATIVE
VA24 |  | Aimes from 7/6 | [7 empty] | NEGATIVE
VA25 |  | Aimes from 7/6 | [7 empty] | NEGATIVE
VA26 |  | Aimes from 7/6 | [7 empty] | NEGATIVE
VA27 |  | Aimes from 7/6 | [7 empty] | NEGATIVE
VA28 |  | Aimes from 7/6 | [7 empty] | NEGATIVE
VA29 |  | Aimes from 7/6 | [7 empty] | NEGATIVE
VA30 |  | Aimes from 7/6 | [7 empty] | NEGATIVE
VA31 | LS plated | VTM from 6/30 | [7 empty] | NEGATIVE
VA32 | LS plated | VTM from 6/30 | [7 empty] | NEGATIVE
VA33 | LS plated | VTM from 6/30 | [7 empty] | NEGATIVE
VA34 | LS plated | VTM from 6/30 | [7 empty] | NEGATIVE
VA35 | LS plated | VTM from 6/30 | [7 empty] | NEGATIVE
VA36 | LS plated | VTM from 6/30 | [7 empty] | NEGATIVE
VA37 | LS plated | VTM from 6/30 | [7 empty] | NEGATIVE
VA38 | LS plated | VTM from 6/30 | [7 empty] | NEGATIVE
VA39 | LS plated | VTM from 6/30 | [7 empty] | NEGATIVE
VA40 | LS plated | VTM from 6/30 | [7 empty] | NEGATIVE
VA41 | LS plated | Aimes from 6/30 | [7 empty] | NEGATIVE
VA42 | LS plated | Aimes from 6/30 | [7 empty] | NEGATIVE
VA43 | LS plated | Aimes from 6/30 | [7 empty] | NEGATIVE
VA44 | LS plated | Aimes from 6/30 | [7 empty] | NEGATIVE
VA45 | LS plated | Aimes from 6/30 | [7 empty] | NEGATIVE
VA46 | LS plated | Aimes from 6/30 | [7 empty] | NEGATIVE
VA47 | LS plated | Aimes from 6/30 | [7 empty] | NEGATIVE