## PLATES 1,2,3,4
**Test Taqpath with serial dilutions at lower LOD
** controls are now NS not water, all plates are 50 cycles
** using 384 well format and new PCR machine- Veriti
Library will be run on Monday 5/18 , upon arrival of Read1 primer
144
Lysate Background | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 72
A | TE | MTS_TE+Protease-1:1 | MTS_TE+Protease-1:1 | MTS_TE+Protease-1:2 | MTS_TE+Protease-1:2 | MTS_TE+Protease-1:2 | MTS_TE-1:1 | MTS_TE-1:1 | MTS_TE-1:1 | MTS_TE-1:2 | MTS_TE-1:2 | MTS_TE-1:2
B | TE | MTS_TE+Protease-1:1 | MTS_TE+Protease-1:1 | MTS_TE+Protease-1:2 | MTS_TE+Protease-1:2 | MTS_TE+Protease-1:2 | MTS_TE-1:1 | MTS_TE-1:1 | MTS_TE-1:1 | MTS_TE-1:2 | MTS_TE-1:2 | MTS_TE-1:2
C | TE | MTS_TE+Protease-1:1 | MTS_TE+Protease-1:1 | MTS_TE+Protease-1:2 | MTS_TE+Protease-1:2 | MTS_TE+Protease-1:2 | MTS_TE-1:1 | MTS_TE-1:1 | MTS_TE-1:1 | MTS_TE-1:2 | MTS_TE-1:2 | MTS_TE-1:2
D | TE | MTS_TE+Protease-1:1 | MTS_TE+Protease-1:1 | MTS_TE+Protease-1:2 | MTS_TE+Protease-1:2 | MTS_TE+Protease-1:2 | MTS_TE-1:1 | MTS_TE-1:1 | MTS_TE-1:1 | MTS_TE-1:2 | MTS_TE-1:2 | MTS_TE-1:2
E | TE | MTS_TE+Protease-1:1 | MTS_TE+Protease-1:1 | MTS_TE+Protease-1:2 | MTS_TE+Protease-1:2 | MTS_TE+Protease-1:2 | MTS_TE-1:1 | MTS_TE-1:1 | MTS_TE-1:1 | MTS_TE-1:2 | MTS_TE-1:2 | MTS_TE-1:2
F | TE | MTS_TE+Protease-1:1 | MTS_TE+Protease-1:1 | MTS_TE+Protease-1:2 | MTS_TE+Protease-1:2 | MTS_TE+Protease-1:2 | MTS_TE-1:1 | MTS_TE-1:1 | MTS_TE-1:1 | MTS_TE-1:2 | MTS_TE-1:2 | MTS_TE-1:2
G | TE | MTS_TE+Protease-1:1 | MTS_TE+Protease-1:1 | MTS_TE+Protease-1:2 | MTS_TE+Protease-1:2 | MTS_TE+Protease-1:2 | MTS_TE-1:1 | MTS_TE-1:1 | MTS_TE-1:1 | MTS_TE-1:2 | MTS_TE-1:2 | MTS_TE-1:2
H | TE | MTS_TE+Protease-1:1 | MTS_TE+Protease-1:1 | MTS_TE+Protease-1:2 | MTS_TE+Protease-1:2 | MTS_TE+Protease-1:2 | MTS_TE-1:1 | MTS_TE-1:1 | MTS_TE-1:1 | MTS_TE-1:2 | MTS_TE-1:2 | MTS_TE-1:2
Virus Spike-In (Identity) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | - | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | D1
B | - | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | D2
C | - | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | D3
D | - | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | D4
E | - | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | D5
F | - | - | - | - | - | - | - | - | - | - | - | -
G | - | - | - | - | - | - | - | - | - | - | - | -
H | - | - | - | - | - | - | - | - | - | - | - | -
** LOD aim for 10 copies
Virus Spike-In (Copies) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | - | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | D1
B | - | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | D2
C | - | 62.5 | 62.5 | 62.5 | 62.5 | 62.5 | 62.5 | 62.5 | 62.5 | 62.5 | 62.5 | 62.5 | D3
D | - | 15.625 | 15.625 | 15.625 | 15.625 | 15.625 | 15.625 | 15.625 | 15.625 | 15.625 | 15.625 | 15.625 | D4
E | - | 3.9062 | 3.9062 | 3.9062 | 3.9062 | 3.9062 | 3.9062 | 3.9062 | 3.9062 | 3.9062 | 3.9062 | 3.9062 | D5
F | - | - | - | - | - | - | - | - | - | - | - | -
G | - | - | - | - | - | - | - | - | - | - | - | -
H | - | - | - | - | - | - | - | - | - | - | - | -
Master Mix | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | D1
B | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | D2
C | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | D3
D | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | D4
E | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | D5
F | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath
G | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath
H | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath | TaqPath
Background Purified Extract Information:
[8 empty] | total columns | total volumne needed |  | total columns | total neat volume needed | total water
| TE | S5, S6, S7 |  |  |  |  | TE1:1 | 76.8 | 537.6 | TE + Protease 1:1 | 115.2 | 403.2 | 403.2
| TE+Protease | S9, S10, S11 |  |  |  |  | TE1:2 | 115.2 | 806.4 | TE + Protease 1:2 | 115.2 | 403.2 | 403.2
Prepare Lysate Plate
> bleach pipettes and UV treat pippettes, tubes and 96-well plate
>plate TE diluted 1:1 wells in col 1
> TE: 1:1 need
| Plate 1 | > add TE dilution 1:1 in columns 2,3; 1:2 in columns 4, 5, 6 and TE+protease 1:1 in column 7, 8, 9 and 1:2 dilution in columns 10,11,12
| clinical samples: | > prepare samples in clinical lab: columns 1:4 and 7-10 >> put16.uL of RNA lysate |  |  |  |  | total clinical sample lysate per well | total water | total per sample | total across plates | dilution factor
[7 empty] | 16 | 64 | 10 | 8 | 5
| standard: | > add 1.5 uL of 1:200 dilution of ATCC Live inactivated Virus
Prepare plates with PCR Barcodes
Spike-in dilution series calculations:
Set up a dilution series for each individual column (true dilution replicates) > in 96-well plate, can perform dilution series with regular pipette
Prepare 48.0 uL per sample > need to add 7 uL to PCR; make sure have sufficient pipetting reserved, here its 12uL
144
1320
| Dilution Series: | 10
| Per sample: | [5 empty] | ATCC: 1.1 million copies/uL
| D1: | 64 uL total volume: appropriate background with virus spike-in (see below)
| D2: | 16.0 from D1, pipet up and down 8 times
| D3: | 16.0 from D2, pipet up and down 8 times
| D4: | 16.0 from D3, pipet up and down 8 times
| D5: | 16.0 from D4, pipet up and down 8 times
* now you have a completed lysate plate; spin down and hold on ice until you are ready to add 7uL of each well to the 4 96 well plates
| * Pipet 7 uL of each into each of 4 plates for PCR | [5 empty] | uL per reaction | 7
|  | * Hold at -20 until ready to prepare mastermix and primers |  |  |  |  | minimum volume needed | 28
[7 empty] | uL to carry to dilution well | 16 |  | 25 min
| Contrived SARS-CoV2 Spike-in: | [5 empty] | Dilution Factor | 4
| >We aim for 1000 copies at the highest dilution in 7 uL volume (amount added to PCR rxn) |  |  |  |  | 1000 | uL for D1 | 64
| > that translates into 143 copies per uL in D1 |  |  |  |  | 142.8571 | number of plates | 4
| > that translates into 9143 copies in 64 uL D1 |  |  |  |  | 9142.8571 | copies for 4 96-well plates | 36571.4286 |  | Virus Dilution
| > that translates to 9143 copies in 64 uL (16.0 is total of well + 16.0 added for dilution) |  |  |  |  | 9142.8571 | volume per row | 48
[9 empty] | 1 to 200 | 5800
2) ATCC inactivated Virus Spike
Stock is at 1.16*10^6 copies per uL
** this exists in syrafoam box | > prepare a 1:200 dilution to 5800 copies per uL |  |  | >> S1: 199 uL ddH2O, 0.1% Tween-20 + 1 uL ATCC stock
> add 1.19 uL to 14.8 uL background in first dilution well D1 (for 9142 total viral copies)
| > perform 2x dilution series from vial 1 (D1) as detailed above | [8 empty] | 290
|  |  | Copies/uL of Final Dilution of Virus | 5800
|  |  | ATCC to add to first row, 2 wells , A5, A11 | 6.3054 | 75.665
|  |  | background lysate to add to first row | 9.6946 | 116.335
[6 empty] | 100 |  |  |  |  | 0.4375
| PCR: |  |  |  |  | Notes:
On T100 PCR block
| 1 | 55C | 10 min
| 2 | 95C | 1 min
| 3 | 95C | 10 sec
| 4 | 60C | 30 sec
Go to step 3, 40 cycles
Hold at 12C
Plate replicates:
| Plate 1: | 50
| Plate 2: | 50
| Plate 3: | 50
| Plate 4: | 50
Note: dilutions was prepared at larger stock
| Library clean-up and sequencing: | [5 empty] | ng/uL by HS qubit (based on a dilution 1:20)
| > Pooling, bead clean-up and quantification done by Valerie |  |  |  |  | 50 cycles
| > Library comes in at XXX |  |  |  |  | 50 cycles
> This corresponds to XXX nM (assuming an average amplicon size of 156 bp)
Library dilution: need 20 uL at 2 nM
> Dilute libary 1:100
> add XX uL of diluted library to XX uL ddH2O in low-bind tube
> store at 4C until sequencing
Primer mix: Need 100 uL at 10 uM of read 1 and i7 primers for S2 and RPP3, in separate mixes (20 uM primer per mix)
Primer stocks are at 100 uM
| Read 1 mix: | 80 uL ddH2O | 10 uL S2 read 1 | 10 uL RPP3 read 1
| i7 mix: | 80 uL ddH2O | 10 uL S2 i7 | 10 uL RPP3 i7
> store at 4C until sequencing

## MasterMix
** Laila is going to do large experiment for swabseq
Prepare Lysate Plate
> 160uL into 8-well PCR Strip tubes matching the 4 lysate backgrounds
>pipet 48 uL using a 8-channel multipipet in triplicate (as above)
>make dilutions as indicated below; cover water and NTC well to prevent cross contamination.
Prepare plates with PCR Barcodes
> 2uL PCR
Spike-in dilution series calculations:
Set up a dilution series for each individual column (true dilution replicates) > in 96-well plate, can perform dilution series with multichannel pipette
Prepare 48 uL per sample > need to add 7 uL to PCR; 12 uL should give sufficient pipetting reserve
* from D1 remove 2.4 uL for columns 1-6 in row A
|  | Make sure to cover rows F, G, H so no cross contamination | [5 empty] | 144
| Dilution series: 64 uL in first sample (D1) > transfer 16uL to 48uL swab background for each dilution step | [6 empty] | 1320
Per sample:
| D1: | 64 uL total volume: appropriate background with virus spike-in (see below) |  |  |  |  | ATCC: 1.1 million copies/uL
| D2: | 48 uL background + 16 uL D1
| D3: | 48 uL background + 16 uL D2 |  | etc. for 6 total dilutions
* Pipet 7 uL of each into each of 4 plates for PCR
* Hold at -20 until ready to prepare mastermix and primers
C19 Spike-in:
| We aim for 1,000 copies at the highest dilution in 7 uL volume (amount added to PCR rxn) |  |  |  |  | 1000
| > that translates into 143 copies per uL in D1 (143*7=1000) |  |  |  |  | 142.8571 | copies for 4 plates
| > that translates into 2286 copies in 16 uL D1 |  |  |  |  | 2285.7143 | 9142.8571
5800
ATCC inactivated Virus Spike
Stock is at 1.16*10^6 copies per uL
| > prepare a 1:200 dilution to 5800 copies per uL |  |  | >> S1: 199 uL ddH2O, 0.1% Tween-20 + 1 uL ATCC stock
> add 3.6uL of dilution above to 14.4 uL of purified lysate
> add 18uL to 18 uL background in first dilution well D1 (for 2057 total viral copies)
> perform dilution series from vial 1 (D1) as detailed above
|  |  | Copies/uL of Final Dilution of Virus | 5800
|  |  | ATCC to add to first row, 12wells (1-12) | 1.5764 | 14.1872
|  |  | Add Saliva Sample | 14.424
|  |  | Remove from Row 1 | 0 |  | 18
|  | prepare 220x, 96 wells per plate * 2 plates (192) |  |  |  |  | 0.4375
Mix 1 - TaqPath | RT-PCR mix: | uL or copies per reaction | 450 |  |  |  | 3937.5 | * sanity check, amount loaded for 4 plates at 10K each
| 4x Mastermix | 5 | 2250
| H2O | 6 | 2700 |  |  | Stock is 3000ng/uL (per EJ)
Dilution 4 | S2 RNA spike quant | 45000 | 4.0271 |  |  | 1:20 working stock prepared from Eric's stock
| > add 11 uL per well |  |  |  |  | qubit RNA HS(ng/uL) | 77.6 ng/uL
> prepare 4 consecutive 1:100 dilution steps
| PCR: | [5 empty] | > 99 uL ddH2O, 0.1% Tween + 1 uL previous dilution
| On T100 PCR block |  |  |  |  | > the final dilution should have 3600 copies / uL
| 1 | 55C | 10 min |  |  | > add 3.8uL (42500 copies) to RT-PCR mix
| 2 | 95C | 1 min
| 3 | 95C | 10 sec |  |  |  |  | From V3 expt: Measured at 25 ng/uL, corresponding to 3.6*10^11 copies/uL (assuming a length of 130 nt)
| 4 | 60C | 30 sec |  |  |  |  | Based on this should 3.6*10^11 (3.104)=
|  | Go to step 3, 40 cycles | [6 empty] | copies/uL
|  | Hold at 12C |  |  |  | dilution | dilution step | dilution 1: X | 1117440000000 |  |  | ng/uL | actual copies/uL | perc overshoot
| Plate replicates: |  |  |  |  | 1 | 100 | 100 | 11174400000 |  | saved 1 aliquot at -20 | 1.79 | 2.58E+10 | 56.6884 | (ng/uL based on RNA HS qubit 4/30/2020)
| Plate 1: | 40 cycles |  |  |  | 2 | 100 | 10000 | 111744000 |  | saved 1 aliquot at -20 | 0.0179 | 258000000 |  | (extrapolated)
| Plate 2: | 40 cycles |  |  |  | 3 | 100 | 1000000 | 1117440 |  | saved 1 aliquot at -20 | 0.000179 | 2580000 |  | (extrapolated)
| Plate 3: | 50 cycles |  |  |  | 4 | 100 | 10000000 | 11174.4 | 3.5796 | * saved 4 aliquots at -20 | 1.79e-06 | 25800 |  | (extrapolated)
| Plate 4: | 50 cycles |  |  |  | 5 | 3 | 30000000 | 3724.8 | 1.3424 | * saved 4 aliquots at -20 | 5.9667e-07 | 8600 |  | (extrapolated)
Note: dilutions was prepared at larger stock
Library clean-up and sequencing:
> Pooling, bead clean-up and quantification done by Valerie
> Library comes in at XXX
> This corresponds to XXX nM (assuming an average amplicon size of 156 bp)
Library dilution: need 20 uL at 2 nM
> Dilute libary 1:100
> add XX uL of diluted library to XX uL ddH2O in low-bind tube
> store at 4C until sequencing
Primer mix: Need 100 uL at 10 uM of read 1 and i7 primers for S2 and RPP3, in separate mixes (20 uM primer per mix)
Primer stocks are at 100 uM
| Read 1 mix: | 80 uL ddH2O | 10 uL S2 read 1 | 10 uL RPP3 read 1
| i7 mix: | 80 uL ddH2O | 10 uL S2 i7 | 10 uL RPP3 i7
> store at 4C until sequencing