## Run set up notes
v22 | saliva dilution type test (Val will set up) |  |  | fill out yellow wells and these will autopopulate sections of experimental plan
RPP Test (Laila will set up)
Negative Plate (Laila please Find one and add it here)
Plate with PCR directly from Swab Lysate (Laila please help me plate this out with this)
| 384-Primer Sets: 2, 3, 4? | 384-well primer plates
| Plate 1 | 1
| Plate 2 | 2
| Plate 3 | 3
| Plate 4 | 4
Goals of experiment: optimization around no naked primer, only primer at 50nM; test out negative controls with random dilution spike ins; maybe 1-2 plates of dilutions
**All set up is in 4-384 well plates; 40 cycles
** 96 well format, copied over into 4 quadrants of 384 well plate
[6 empty] | 1804 | all wells full | 2 | ** This should have 15uL left, but please confirm, if not use 1900
| 384 well plate will have different final volume |  |  |  |  | 008 | 9 wells empty | 9
[6 empty] | 2056 | 14 wells empty | 14
| v22 Plate 1 | 384 primer plate 1 | 96-well sample plate used for each quadrent |  |  | 1976 | 5 wells empty | 5 | ** plate already meade with Dilutions spiked in
| 1 | 2 | Saliva Extraction |  |  | 1900 | all full | 2
| 3 | 4 |  |  |  | 2028 | 2 wells empty | 2
[7 empty] | Wells needed filled | 34
| v22 Plate 2 | 384 primer plate 2
| 5 | 6 |  | RPP Test V14 dilution | 8 |  | uL of dilution needed | 285.6 |  | make 2 dilutions:
| 7 | 8
| v22 Plate 3 | 384 primer plate 3 |  |  |  | 2020-05-08 | plate left out overnight - which run was this?
| 9 | 10
| 11 | 12 | 1863
| v22 Plate 4 | 384 primer plate 4
| 13 | 14 | EUAV2_vtm
| 15 | 16 |  | Swab lysate

## MasterMix
SSV22 - Mastermixes
Mix 1 - plates 1.1, 3.3, 4.1, 4.4 | RT-PCR mix: | uL or copies per reaction | 460.8
| 4x Mastermix | 5 | 2304
| H2O | 6 | 2764.8 |  | Stock is 3000ng/uL (per EJ)
Dilution 4 | S2 RNA spike quant | 230400 | 7.0849 |  | 1:20 working stock prepared from Eric's stock
Lysate | 7 |  |  | 5075.8849 | qubit RNA HS(ng/uL) | 77.6 ng/uL
indexed primers (prestampled) | 2 |  |  | 6.6092 | > prepare 4 consecutive 1:100 dilution steps
Total Volume | 20 |  |  |  |  | > 99 uL ddH2O, 0.1% Tween + 1 uL previous dilution
Total to add to 384 well plate | 11 |  |  |  | > the final dilution should have 3600 copies / uL
> add 3.8uL (42500 copies) to RT-PCR mix
Mix 2 - plate 2.2 | RT-PCR mix: | uL or copies per reaction | 115.2
| 4x Mastermix | 5 | 576 |  |  |  | From V3 expt: Measured at 25 ng/uL, corresponding to 3.6*10^11 copies/uL (assuming a length of 130 nt)
| H2O | 6 | 691.2 |  |  |  | Based on this should 3.6*10^11 (3.104)=
S2 dil 4 | S2 RNA spike quant | 57600 | 1.7712 |  |  |  |  | copies/uL |  | From qubit |  | 6/22/2020 spike dil |  | from qPCR USE THIS NUMBER NEXT TIME (did not have for 6/24/2020 run)
RPP dil | RPP RNA spike quant | 57600 | 4.3372 |  | dilution | dilution step | dilution 1: X | 1117440000000 |  | ng/uL | actual copies/uL | ng/uL | copies/uL
Lysate | 7
indexed primers (prestampled) | 2 |  |  |  | 1 | 100 | 100 | 11174400000 |  | 1.79 | 2.58E+10 | 1.192 | 1.717e+10
Total Volume | 20 |  |  |  | 2 | 100 | 10000 | 111744000 |  | 0.0179 | 258000000 | 0.01192 | 171700000
Total to add to 384 well plate | 11 |  |  |  | 3 | 100 | 1000000 | 1117440 |  | 0.000179 | 2580000 | 0.0001192 | 1717000
[5 empty] | 4 | 100 | 10000000 | 11174.4 | 3.5796 | 1.79e-06 | 25800 | 1.192e-06 | 17170 | 32520
[5 empty] | 5 | 3 | 30000000 | 3724.8 | 1.3424 | 5.9667e-07 | 8600 | 3.9733e-07 | 5723.3333
RPP spike dil 5 | copies/uL | 13280.32
S2 spike dil 4 | copies/uL | 32520

## Plate 1.1
Plate Number 1
1 | 2 |  | Saliva Extraction
3 | 4
Saliva Extraction | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | A
B | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | B
C | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | C
D | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | D
E | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | E
F | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | F
G | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | G
H | Saliva | Saliva | ul | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | Saliva | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  |  | 11 | 12
A | no treatment | no treatment | heat inactivation | heat inactivation | PK (4mg/mL) 2uL | PK (4mg/mL) 4uL | PK (4mg/mL) 6uL | PK (4mg/mL) 8 uL | Dilution with water (post heat inactivation) | Dilution with water (post heat inactivation) | heat inactivation only | heat inactivation only | A | spin down | VA | VA | A
B | no treatment | no treatment | heat inactivation | heat inactivation | PK (4mg/mL) 2uL | PK (4mg/mL) 4uL | PK (4mg/mL) 6uL | PK (4mg/mL) 8 uL | Dilution with water (post heat inactivation) | Dilution with water (post heat inactivation) | heat inactivation only | heat inactivation only | B |  | VA | VA | B
C | no treatment | no treatment | heat inactivation | heat inactivation | PK (4mg/mL) 2uL | PK (4mg/mL) 4uL | PK (4mg/mL) 6uL | PK (4mg/mL) 8 uL | Dilution with water (post heat inactivation) | Dilution with water (post heat inactivation) | heat inactivation only | heat inactivation only | C |  | LS | LS | C
D | no treatment | no treatment | heat inactivation | heat inactivation | PK (4mg/mL) 2uL | PK (4mg/mL) 4uL | PK (4mg/mL) 6uL | PK (4mg/mL) 8 uL | Dilution with water (post heat inactivation) | Dilution with water (post heat inactivation) | heat inactivation only | heat inactivation only | D |  | LS | LS | D
E | no treatment | no treatment | heat inactivation | heat inactivation | PK (4mg/mL) 2uL | PK (4mg/mL) 4uL | PK (4mg/mL) 6uL | PK (4mg/mL) 8 uL | Dilution with water (post heat inactivation) | Dilution with water (post heat inactivation) | heat inactivation only | heat inactivation only | E | vortexed |  |  | E
F | no treatment | no treatment | heat inactivation | heat inactivation | PK (4mg/mL) 2uL | PK (4mg/mL) 4uL | PK (4mg/mL) 6uL | PK (4mg/mL) 8 uL | Dilution with water (post heat inactivation) | Dilution with water (post heat inactivation) | heat inactivation only | heat inactivation only | F |  |  |  | F
G | no treatment | no treatment | heat inactivation | heat inactivation | PK (4mg/mL) 2uL | PK (4mg/mL) 4uL | PK (4mg/mL) 6uL | PK (4mg/mL) 8 uL | Dilution with water (post heat inactivation) | Dilution with water (post heat inactivation) | heat inactivation only | heat inactivation only | G |  | CM | CM | G
H | no treatment | no treatment | heat inactivation | heat inactivation | PK (4mg/mL) 2uL | PK (4mg/mL) 4uL | PK (4mg/mL) 6uL | PK (4mg/mL) 8 uL | Dilution with water (post heat inactivation) | Dilution with water (post heat inactivation) | heat inactivation only | heat inactivation only | H |  | LS | LS | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Dilution 1 | Dilution 2 | Dilution 1 | Dilution 2 | Dilution 1 | Dilution 1 | Dilution 1 | Dilution 1 | Dilution 1 | Dilution 2 | - | - | A
B | Dilution 1 | Dilution 2 | Dilution 1 | Dilution 2 | Dilution 1 | Dilution 1 | Dilution 1 | Dilution 1 | Dilution 1 | Dilution 2 | - | - | B
C | Dilution 1 | Dilution 2 | Dilution 1 | Dilution 2 | Dilution 1 | Dilution 1 | Dilution 1 | Dilution 1 | Dilution 1 | Dilution 2 | - | - | C
D | Dilution 1 | Dilution 2 | Dilution 1 | Dilution 2 | - | - | - | - | Dilution 1 | Dilution 2 | - | - | D
E | Dilution 1 | Dilution 2 | Dilution 1 | Dilution 2 | Dilution 1 | Dilution 1 | Dilution 1 | Dilution 1 | Dilution 1 | Dilution 2 | - | - | E
F | Dilution 1 | Dilution 2 | Dilution 1 | Dilution 2 | Dilution 1 | Dilution 2 | Dilution 1 | Dilution 2 | Dilution 1 | Dilution 2 | - | - | F
G | Dilution 1 | Dilution 2 | Dilution 1 | Dilution 2 | Dilution 1 | Dilution 2 | Dilution 1 | Dilution 2 | Dilution 1 | Dilution 2 | - | - | G
H | Dilution 1 | Dilution 2 | Dilution 1 | Dilution 2 | - | - | - | - | Dilution 1 | Dilution 2 | - | - | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
[17 empty] | copies per reaction | copies per uL
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  |  | D1 | Dilution 1 | 1000 | 142.8571
A | Vortex | Vortex | Vortex | Vortex | Vortex | Vortex | Vortex | Vortex | Vortex | Vortex | Vortex | Vortex | A |  | D2 | Dilution 2 | 500 | 71.4286
B | Vortex | Vortex | Vortex | Vortex | Vortex | Vortex | Vortex | Vortex | Vortex | Vortex | Vortex | Vortex | B
C | Vortex | Vortex | Vortex | Vortex | Vortex | Vortex | Vortex | Vortex | Vortex | Vortex | Vortex | Vortex | C
D | Vortex | Vortex | Vortex | Vortex | Vortex | Vortex | Vortex | Vortex | Vortex | Vortex | Vortex | Vortex | D
E | Spin down | Spin down | Spin down | Spin down | Spin down | Spin down | Spin down | Spin down | Spin down | Spin down | Spin down | Spin down | E | [6 empty] | uL per reaction | 50 |  | VR-1986HK™ Lot Number: | 70035039
F | Spin down | Spin down | Spin down | Spin down | Spin down | Spin down | Spin down | Spin down | Spin down | Spin down | Spin down | Spin down | F | [6 empty] | minimum volume needed | 50
G | Spin down | Spin down | Spin down | Spin down | Spin down | Spin down | Spin down | Spin down | Spin down | Spin down | Spin down | Spin down | G | [6 empty] | uL to carry to dilution well | 7 |  | Virus Dilution | Dilution factor
H | spin down | spin down | spin down | spin down | spin down | spin down | spin down | spin down | spin down | spin down | spin down | spin down | H |  | Contrived SARS-CoV2 Spike-in: |  |  |  |  | Dilution Factor |  | 1 : 1 | 375000
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  |  | >We aim for 1000 copies at the highest dilution in 7 uL volume (amount added to PCR rxn) |  |  |  | 1000 | uL for D1 | 50 | 1 : 100 | 3750 | 100
[15 empty] | > that translates into 142.9 copies/ul in D1 |  |  |  | 142.8571 | number of 96-well plates | 1
[15 empty] | > that translates into 7143 copies in 50 uL D1 |  |  |  | 7142.8571 | copies for 1 96-well plates | 7142.8571
[15 empty] | > that translates to 0 copies in 0 uL (0.0 is total of well + 0.0 added for dilution) |  |  |  | 7142.8571
2) ATCC inactivated Virus Spike
>prepare a 1 to 100 dilution to 3750 copies per uL
[15 empty] | > add 1.9 uL to 5.1 uL background in first dilution well D1 (for 7143 total viral copies) | [8 empty] | 7142.8571
> perform 2x dilution series from vial 1 (D1) as detailed above
[17 empty] | Copies/uL of Final Dilution of Virus | 3750
[17 empty] | ATCC to add to first row, 2 wells , A5, A11 | 1.9048
[17 empty] | background lysate to add to first row | 5.0952

## Plate2.2
Plate Number 2
5 | 6 |  |  | RPP Test V14 dilution
7 | 8
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [12 empty] | A
B | [12 empty] | B
C | [12 empty] | C
D | [12 empty] | D
E | [12 empty] | E
F | [12 empty] | F
G | [12 empty] | G
H | [12 empty] | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
RPP Test V14 dilution | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [12 empty] | A
B | [12 empty] | B
C | [12 empty] | C
D | [12 empty] | D
E | [12 empty] | E
F | [12 empty] | F
G | [12 empty] | G
H | [12 empty] | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [12 empty] | A
B | [12 empty] | B
C | [12 empty] | C
D | [12 empty] | D
E | [12 empty] | E
F | [12 empty] | F
G | [12 empty] | G
H | [12 empty] | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [12 empty] | A
B | [12 empty] | B
C | [12 empty] | C
D | [12 empty] | D
E | [12 empty] | E
F | [12 empty] | F
G | [12 empty] | G
H | [12 empty] | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12

## Plate 3
9 | 10
11 | 12 |  | 1863
Plate 3
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | - | - | - | - | - | - | - | - | - | - | - | - | A
B | - | - | - | - | - | - | - | - | - | - | - | - | B
C | - | - | - | - | - | - | - | - | - | - | - | - | C
D | - | - | - | - | - | - | - | - | - | - | - | - | D
E | - | - | - | - | - | - | - | - | - | - | - | - | E
F | - | - | - | - | - | - | - | - | - | - | - | - | F
G | - | - | - | - | - | - | - | - | - | - | - | - | G
H | - | - | - | - | - | - | - | - | - | - | - | - | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | - | - | - | - | - | - | - | - | - | - | - | - | A
B | - | - | - | - | - | - | - | - | - | - | - | - | B
C | - | - | - | - | - | - | - | - | - | - | - | - | C
D | - | - | - | - | - | - | - | - | - | - | - | - | D
E | - | - | - | - | - | - | - | - | - | - | - | - | E
F | - | - | - | - | - | - | - | - | - | - | - | - | F
G | - | - | - | - | - | - | - | - | - | - | - | - | G
H | - | - | - | - | - | - | - | - | - | - | - | - | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | NBC | N4503 | N4511 | N4519 | N4527 | N4535 | N4543 | N4551 | N4559 | N4567 | N4575 | N4583 | A
B | N4496 | N4504 | N4512 | N4520 | N4528 | N4536 | N4544 | N4552 | N4560 | N4568 | N4576 | N4584 | B
C | N4497 | N4505 | N4513 | N4521 | N4529 | N4537 | N4545 | N4553 | N4561 | N4569 | N4577 | N4585 | C
D | N4498 | N4506 | N4514 | N4522 | N4530 | N4538 | N4546 | N4554 | N4562 | N4570 | N4578 | N4586 | D
E | N4499 | N4507 | N4515 | N4523 | N4531 | N4539 | N4547 | N4555 | N4563 | N4571 | N4579 | N4587 | E
F | N4500 | N4508 | N4516 | N4524 | N4532 | N4540 | N4548 | N4556 | N4564 | N4572 | N4580 | N4588 | F
G | N4501 | N4509 | N4517 | N4525 | N4533 | N4541 | N4549 | N4557 | N4565 | N4573 | N4581 | N4589 | G
H | N4502 | N4510 | N4518 | N4526 | N4534 | N4542 | N4550 | N4558 | N4566 | N4574 | N4582 | PPC | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [12 empty] | A | bar: N4496 N4497 N4498 N4499 N4500 N4501 N4502
B | [12 empty] | B
C | [12 empty] | C
D | [12 empty] | D
E | [12 empty] | E
F | [12 empty] | F
G | [12 empty] | G
H | [12 empty] | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12

## Plate 4
\
13 | 14 |  | EUAV2_vtm
15 | 16 |  |  | Swab lysate
Plate 4 | [9 empty] | 2020-10-11
EUAV2_vtm | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | A
B | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | B
C | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | C
D | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | D
E | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | E
F | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | F
G | TE | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | TE | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | G
H | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [12 empty] | A
B | [12 empty] | B
C | [12 empty] | C
D | [12 empty] | D
E | [12 empty] | E
F | [12 empty] | F
G | [12 empty] | G
H | [12 empty] | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [12 empty] | A
B | [12 empty] | B
C | [12 empty] | C
D | [12 empty] | D
E | [12 empty] | E
F | [12 empty] | F
G | [12 empty] | G
H | [12 empty] | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Swab lysate | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | VTM_1-1:1 | VTM_1-1:2 | VTM_1-1:4 | VTM_2-1:1 | VTM_2-1:2 | VTM_2-1:4 | eswab_1-1:1 | eswab_1-1:2 | eswab_1-1:4 | eswab_2-1:1 | eswab_2-1:2 | eswab_2-1:4 | A
B | VTM_1-1:1 | VTM_1-1:2 | VTM_1-1:4 | VTM_2-1:1 | VTM_2-1:2 | VTM_2-1:4 | eswab_1-1:1 | eswab_1-1:2 | eswab_1-1:4 | eswab_2-1:1 | eswab_2-1:2 | eswab_2-1:4 | B
C | VTM_1-1:1 | VTM_1-1:2 | VTM_1-1:4 | VTM_2-1:1 | VTM_2-1:2 | VTM_2-1:4 | eswab_1-1:1 | eswab_1-1:2 | eswab_1-1:4 | eswab_2-1:1 | eswab_2-1:2 | eswab_2-1:4 | C
D | VTM_1-1:1 | VTM_1-1:2 | VTM_1-1:4 | VTM_2-1:1 | VTM_2-1:2 | VTM_2-1:4 | eswab_1-1:1 | eswab_1-1:2 | eswab_1-1:4 | eswab_2-1:1 | eswab_2-1:2 | eswab_2-1:4 | D
E | VTM_1-1:1 | VTM_1-1:2 | VTM_1-1:4 | VTM_2-1:1 | VTM_2-1:2 | VTM_2-1:4 | eswab_1-1:1 | eswab_1-1:2 | eswab_1-1:4 | eswab_2-1:1 | eswab_2-1:2 | eswab_2-1:4 | E
F | VTM_1-1:1 | VTM_1-1:2 | VTM_1-1:4 | VTM_2-1:1 | VTM_2-1:2 | VTM_2-1:4 | eswab_1-1:1 | eswab_1-1:2 | eswab_1-1:4 | eswab_2-1:1 | eswab_2-1:2 | eswab_2-1:4 | F
G | VTM_1-1:1 | VTM_1-1:2 | VTM_1-1:4 | VTM_2-1:1 | VTM_2-1:2 | VTM_2-1:4 | eswab_1-1:1 | eswab_1-1:2 | eswab_1-1:4 | eswab_2-1:1 | eswab_2-1:2 | eswab_2-1:4 | G
H | VTM_1-1:1 | VTM_1-1:2 | VTM_1-1:4 | VTM_2-1:1 | VTM_2-1:2 | VTM_2-1:4 | eswab_1-1:1 | eswab_1-1:2 | eswab_1-1:4 | eswab_2-1:1 | eswab_2-1:2 | eswab_2-1:4 | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
70035039
Dilution factor
1000

## Plate 4.1 EUA v2 lysate
Plate 4.1 - contrived EUA v2 in VTM (not purified)
Lysate Background | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM
B | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM
C | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM
D | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM
E | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM
F | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM
G | TE | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | TE | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM
H | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE | TE
Virus Spike-In (Identity) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated
B | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated
C | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated
D | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated
E | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated
F | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated
G |  | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated |  | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated
H
| D1 | D2 | D3 | D4 | D5 | D6 | D7 | DD1 | DD2 | DD3 | DD4 | DD5
Virus Spike-In (Copies/mL of lysate) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 8000 | 2000 | 1000 | 500 | 250 | 125 | 8000 | 2000 | 1000 | 500 | 250 | 125
B | 8000 | 2000 | 1000 | 500 | 250 | 125 | 8000 | 2000 | 1000 | 500 | 250 | 125
C | 8000 | 2000 | 1000 | 500 | 250 | 125 | 8000 | 2000 | 1000 | 500 | 250 | 125
D | 8000 | 2000 | 1000 | 500 | 250 | 125 | 8000 | 2000 | 1000 | 500 | 250 | 125
E | 8000 | 2000 | 1000 | 500 | 250 | 125 | 8000 | 2000 | 1000 | 500 | 250 | 125
F | 8000 | 2000 | 1000 | 500 | 250 | 125 | 8000 | 2000 | 1000 | 500 | 250 | 125
G | - | 2000 | 1000 | 500 | 250 | 125 | - | 2000 | 1000 | 500 | 250 | 125
H | bar: D1 to DD5
Virus Spike-In (Copies/uL of lysate) | D1 | D2 | D3 | D4 | D5 | D6
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 8 | 2 | 1 | 0.5 | 0.25 | 0.125 | 8 | 2 | 1 | 0.5 | 0.25 | 0.125
B | 8 | 2 | 1 | 0.5 | 0.25 | 0.125 | 8 | 2 | 1 | 0.5 | 0.25 | 0.125
C | 8 | 2 | 1 | 0.5 | 0.25 | 0.125 | 8 | 2 | 1 | 0.5 | 0.25 | 0.125
D | 8 | 2 | 1 | 0.5 | 0.25 | 0.125 | 8 | 2 | 1 | 0.5 | 0.25 | 0.125
E | 8 | 2 | 1 | 0.5 | 0.25 | 0.125 | 8 | 2 | 1 | 0.5 | 0.25 | 0.125
F | 8 | 2 | 1 | 0.5 | 0.25 | 0.125 | 8 | 2 | 1 | 0.5 | 0.25 | 0.125
G | - | 2 | 1 | 0.5 | 0.25 | 0.125 | - | 2 | 1 | 0.5 | 0.25 | 0.125
H | [6 empty] | - | - | - | - | - | - | bar: D1 to D6
Virus Spike-In (Copies/uL of lysate) | D1 | D2 | D3 | D4 | D5 | D6
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 56 | 14 | 7 | 3.5 | 1.75 | 0.875 | 56 | 14 | 7 | 3.5 | 1.75 | 0.875
B | 56 | 14 | 7 | 3.5 | 1.75 | 0.875 | 56 | 14 | 7 | 3.5 | 1.75 | 0.875
C | 56 | 14 | 7 | 3.5 | 1.75 | 0.875 | 56 | 14 | 7 | 3.5 | 1.75 | 0.875
D | 56 | 14 | 7 | 3.5 | 1.75 | 0.875 | 56 | 14 | 7 | 3.5 | 1.75 | 0.875
E | 56 | 14 | 7 | 3.5 | 1.75 | 0.875 | 56 | 14 | 7 | 3.5 | 1.75 | 0.875
F | 56 | 14 | 7 | 3.5 | 1.75 | 0.875 | 56 | 14 | 7 | 3.5 | 1.75 | 0.875
G | - | 14 | 7 | 3.5 | 1.75 | 0.875 | - | 14 | 7 | 3.5 | 1.75 | 0.875
H | [6 empty] | - | - | - | - | - | - | bar: D1 to D6

## Plate 4.4 Swab lysate
Lysate Background | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | VTM_1-1:1 | VTM_1-1:2 | VTM_1-1:4 | VTM_2-1:1 | VTM_2-1:2 | VTM_2-1:4 | eswab_1-1:1 | eswab_1-1:2 | eswab_1-1:4 | eswab_2-1:1 | eswab_2-1:2 | eswab_2-1:4
B | VTM_1-1:1 | VTM_1-1:2 | VTM_1-1:4 | VTM_2-1:1 | VTM_2-1:2 | VTM_2-1:4 | eswab_1-1:1 | eswab_1-1:2 | eswab_1-1:4 | eswab_2-1:1 | eswab_2-1:2 | eswab_2-1:4
C | VTM_1-1:1 | VTM_1-1:2 | VTM_1-1:4 | VTM_2-1:1 | VTM_2-1:2 | VTM_2-1:4 | eswab_1-1:1 | eswab_1-1:2 | eswab_1-1:4 | eswab_2-1:1 | eswab_2-1:2 | eswab_2-1:4
D | VTM_1-1:1 | VTM_1-1:2 | VTM_1-1:4 | VTM_2-1:1 | VTM_2-1:2 | VTM_2-1:4 | eswab_1-1:1 | eswab_1-1:2 | eswab_1-1:4 | eswab_2-1:1 | eswab_2-1:2 | eswab_2-1:4
E | VTM_1-1:1 | VTM_1-1:2 | VTM_1-1:4 | VTM_2-1:1 | VTM_2-1:2 | VTM_2-1:4 | eswab_1-1:1 | eswab_1-1:2 | eswab_1-1:4 | eswab_2-1:1 | eswab_2-1:2 | eswab_2-1:4
F | VTM_1-1:1 | VTM_1-1:2 | VTM_1-1:4 | VTM_2-1:1 | VTM_2-1:2 | VTM_2-1:4 | eswab_1-1:1 | eswab_1-1:2 | eswab_1-1:4 | eswab_2-1:1 | eswab_2-1:2 | eswab_2-1:4
G | VTM_1-1:1 | VTM_1-1:2 | VTM_1-1:4 | VTM_2-1:1 | VTM_2-1:2 | VTM_2-1:4 | eswab_1-1:1 | eswab_1-1:2 | eswab_1-1:4 | eswab_2-1:1 | eswab_2-1:2 | eswab_2-1:4
H | VTM_1-1:1 | VTM_1-1:2 | VTM_1-1:4 | VTM_2-1:1 | VTM_2-1:2 | VTM_2-1:4 | eswab_1-1:1 | eswab_1-1:2 | eswab_1-1:4 | eswab_2-1:1 | eswab_2-1:2 | eswab_2-1:4
Virus Spike-In (Identity) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated
B | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated
C | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated
D | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated
E | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated
F | - | - | - | - | - | - | - | - | - | - | - | -
G | - | - | - | - | - | - | - | - | - | - | - | -
H | - | - | - | - | - | - | - | - | - | - | - | -
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 150000 | 150000 | 150000 | 150000 | 150000 | 150000 | 150000 | 150000 | 150000 | 150000 | 150000 | 150000
B | 75000 | 75000 | 75000 | 75000 | 75000 | 75000 | 75000 | 75000 | 75000 | 75000 | 75000 | 75000
C | 37500 | 37500 | 37500 | 37500 | 37500 | 37500 | 37500 | 37500 | 37500 | 37500 | 37500 | 37500
D | 18750 | 18750 | 18750 | 18750 | 18750 | 18750 | 18750 | 18750 | 18750 | 18750 | 18750 | 18750
E | 9375 | 9375 | 9375 | 9375 | 9375 | 9375 | 9375 | 9375 | 9375 | 9375 | 9375 | 9375
F | - | - | - | - | - | - | - | - | - | - | - | -
G | - | - | - | - | - | - | - | - | - | - | - | -
H | - | - | - | - | - | - | - | - | - | - | - | -
[8 empty] | - | - | - | -
Each reaction = 7uL of lysate
Virus Copies/Reaction | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050 | 1050
B | 525 | 525 | 525 | 525 | 525 | 525 | 525 | 525 | 525 | 525 | 525 | 525
C | 262.5 | 262.5 | 262.5 | 262.5 | 262.5 | 262.5 | 262.5 | 262.5 | 262.5 | 262.5 | 262.5 | 262.5
D | 131.25 | 131.25 | 131.25 | 131.25 | 131.25 | 131.25 | 131.25 | 131.25 | 131.25 | 131.25 | 131.25 | 131.25
E | 65.625 | 65.625 | 65.625 | 65.625 | 65.625 | 65.625 | 65.625 | 65.625 | 65.625 | 65.625 | 65.625 | 65.625
F | - | - | - | - | - | - | - | - | - | - | - | -
G | - | - | - | - | - | - | - | - | - | - | - | -
H | - | - | - | - | - | - | - | - | - | - | - | -
plate will have 50uL VTM remaining | [6 empty] | 10uL each (none remaining after use)
h2o
| 0 | 37.5 | 25 | 0 | 37.5 | 25 | 0 | 7.5 | 5 | 0 | 7.5 | 5
| 0 | 37.5 | 25 | 0 | 37.5 | 25 | 0 | 7.5 | 5 | 0 | 7.5 | 5
| 0 | 37.5 | 25 | 0 | 37.5 | 25 | 0 | 7.5 | 5 | 0 | 7.5 | 5
| 0 | 37.5 | 25 | 0 | 37.5 | 25 | 0 | 7.5 | 5 | 0 | 7.5 | 5
| 0 | 37.5 | 25 | 0 | 37.5 | 25 | 0 | 7.5 | 5 | 0 | 7.5 | 5
| 0 | 37.5 | 25 | 0 | 37.5 | 25 | 0 | 7.5 | 5 | 0 | 7.5 | 5
| 0 | 37.5 | 25 | 0 | 37.5 | 25 | 0 | 7.5 | 5 | 0 | 7.5 | 5
| 0 | 37.5 | 25 | 0 | 37.5 | 25 | 0 | 7.5 | 5 | 0 | 7.5 | 5
sample
| 87.5 | 37.5 | 25 | 87.5 | 37.5 | 25 | 17.5 | 7.5 | 5 | 17.5 | 7.5 | 5
| 87.5 | 37.5 | 25 | 87.5 | 37.5 | 25 | 17.5 | 7.5 | 5 | 17.5 | 7.5 | 5
| 87.5 | 37.5 | 25 | 87.5 | 37.5 | 25 | 17.5 | 7.5 | 5 | 17.5 | 7.5 | 5
| 87.5 | 37.5 | 25 | 87.5 | 37.5 | 25 | 17.5 | 7.5 | 5 | 17.5 | 7.5 | 5
| 87.5 | 37.5 | 25 | 87.5 | 37.5 | 25 | 17.5 | 7.5 | 5 | 17.5 | 7.5 | 5
| 87.5 | 37.5 | 25 | 87.5 | 37.5 | 25 | 17.5 | 7.5 | 5 | 17.5 | 7.5 | 5
| 87.5 | 37.5 | 25 | 87.5 | 37.5 | 25 | 17.5 | 7.5 | 5 | 17.5 | 7.5 | 5
| 87.5 | 37.5 | 25 | 87.5 | 37.5 | 25 | 17.5 | 7.5 | 5 | 17.5 | 7.5 | 5
| VTM | [6 empty] | uL per reaction | 50 |  |  | VR-1986HK™ Lot Number: | 70035039
[8 empty] | minimum volume needed | 50
[8 empty] | uL to carry to dilution well | 50 |  |  | Virus Dilution | Dilution factor
| Contrived SARS-CoV2 Spike-in: | [6 empty] | Dilution Factor | 2 |  | 1:1 | 375000
| >We aim for 1050 copies at the highest dilution in 7 uL volume (amount added to PCR rxn) |  |  |  |  | 1050 |  | uL for D1 | 50 |  | 1 to 1000 | 3750 | 100
| > that translates into 150 copies per uL in D1 |  |  |  |  | 150 |  | number of 96-well plates | 1
| > that translates into 7500 copies in 50 uL D1 |  |  |  |  | 7500 |  | copies for 1 96-well plates | 7500
| > that translates to 7500 copies in 50 uL (50.0 is total of well + 50.0 added for dilution) |  |  |  |  | 7500 |  | volume per row | 0
2) ATCC inactivated Virus Spike
> add 48.00 uL of saliva to D1 rows
> add 2.00 uL of Virus Spike Dilution to D1 saliva
> perform 2x dilution series from vial 1 (D1) as detailed above
|  |  | Copies/uL of Final Dilution of Virus | 3750
|  |  | ATCC to add to D1 | 2 | 14
|  |  | background lysate to add to first row | 48 | 336
| ESWAB | [6 empty] | uL per reaction | 10 |  |  | VR-1986HK™ Lot Number: | 70035039
[8 empty] | minimum volume needed | 10
[8 empty] | uL to carry to dilution well | 10 |  |  | Virus Dilution | Dilution factor
| Contrived SARS-CoV2 Spike-in: | [6 empty] | Dilution Factor | 2 |  | 1:1 | 375000
| >We aim for 1050 copies at the highest dilution in 7 uL volume (amount added to PCR rxn) |  |  |  |  | 1050 |  | uL for D1 | 10 |  | 1 to 1000 | 3750 | 100
| > that translates into 150 copies per uL in D1 |  |  |  |  | 150 |  | number of 96-well plates | 1
| > that translates into 1500 copies in 10 uL D1 |  |  |  |  | 1500 |  | copies for 1 96-well plates | 1500
| > that translates to 1500 copies in 10 uL (10.0 is total of well + 10.0 added for dilution) |  |  |  |  | 1500 |  | volume per row | 0
2) ATCC inactivated Virus Spike
> add 9.60 uL of saliva to D1 rows
> add 0.40 uL of Virus Spike Dilution to D1 saliva
> perform 2x dilution series from vial 1 (D1) as detailed above
|  |  | Copies/uL of Final Dilution of Virus | 3750
|  |  | ATCC to add to D1 | 0.4 | 2.8
|  |  | background lysate to add to first row | 9.6 | 67.2

## Plate 4.4
13 | 14 |  | EUAV2_vtm
15 | 16 |  |  | Swab lysate
Plate 4
10 samples
eSwab
VTM
144
Lysate Background | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 72
A | eswab | eswab | eSwab | eSwab | VTM | VTM | VTM | VTM | NS | NS | NS | NS
B | eswab | eswab | eSwab | eSwab | VTM | VTM | VTM | VTM | NS | NS | NS | NS
C | eswab | eswab | eSwab | eSwab | VTM | VTM | VTM | VTM | NS | NS | NS | NS
D | eswab | eswab | eSwab | eSwab | VTM | VTM | VTM | VTM | NS | NS | NS | NS
E | eswab | eswab | eSwab | eSwab | VTM | VTM | VTM | VTM | NS | NS | NS | NS
F | eswab | eswab | eSwab | eSwab | VTM | VTM | VTM | VTM | NS | NS | NS | NS
G | eswab | eswab | eSwab | eSwab | VTM | VTM | VTM | VTM | NS | NS | NS | NS
H | eswab | eswab | eSwab | eSwab | VTM | VTM | VTM | VTM | NS | NS | NS | NS
Virus Spike-In (Identity) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | D1
B | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | D2
C | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | D3
D | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | D4
E | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | D5
F | - | - | - | - | - | - | - | - | - | - | - | -
G | - | - | - | - | - | - | - | - | - | - | - | -
H | - | - | - | - | - | - | - | - | - | - | - | -
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | 16000 | D1
B | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | D2
C | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | D3
D | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | D4
E | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | D5
F | - | - | - | - | - | - | - | - | - | - | - | -
G | - | - | - | - | - | - | - | - | - | - | - | -
H | - | - | - | - | - | - | - | - | - | - | - | -
[8 empty] | - | - | - | -
Each reaction = 7uL of lysate
Virus Copies/Reaction | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112 | D1
B | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | 56 | D2
C | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | 28 | D3
D | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | D4
E | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | D5
F | - | - | - | - | - | - | - | - | - | - | - | - | D6
G | - | - | - | - | - | - | - | - | - | - | - | - | D7
H | - | - | - | - | - | - | - | - | - | - | - | - | D8
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath
B | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath
C | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath
D | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath
E | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath
F | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath
G | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath
H | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath
Background Purified Extract Information:
[5 empty] | per well | wells | uL
|  |  |  | Saliva | 25 | 96 | 2400 | * Made fresh on day of experiment
Prepare Lysate Plate
> bleach pipettes and UV treat pippettes, tubes and 96-well plate
> Saliva preparation
> TE: 1:1 need
Prepare plates with PCR Barcodes
Spike-in dilution series calculations:
Set up a dilution series for each individual column (true dilution replicates) > in 96-well plate, can perform dilution series with regular pipette
Prepare 0.0 uL per sample > need to add 50 uL to PCR; make sure have sufficient pipetting reserved, here its 12uL
| Dilution Series: | 2
Per sample:
| D1: | 50 uL total volume: appropriate background with virus spike-in (see below)
| D2: | 50.0 from D1, pipet up and down 8 times
| D3: | 50.0 from D2, pipet up and down 8 times
| D4: | 50.0 from D3, pipet up and down 8 times
| D5: | 50.0 from D4, pipet up and down 8 times
| D6: | 50.0 from D5, pipet up and down 8 times
| D7: | 50.0 from D6, pipet up and down 8 times
| D8: | 50.0 from D7, pipet up and down 8 times
* now you have a completed lysate plate; spin down and hold on ice until you are ready to add 7uL of each well to the 4 96 well plates
[8 empty] | uL per reaction | 50 |  |  | VR-1986HK™ Lot Number: | 70035039
[8 empty] | minimum volume needed | 50
[8 empty] | uL to carry to dilution well | 50 |  |  | Virus Dilution | Dilution factor
| Contrived SARS-CoV2 Spike-in: | [6 empty] | Dilution Factor | 2 |  | 1:1 | 375000
| >We aim for 1050 copies at the highest dilution in 7 uL volume (amount added to PCR rxn) |  |  |  |  | 1050 |  | uL for D1 | 50 |  | 1 to 1000 | 3750 | 100
| > that translates into 150 copies per uL in D1 |  |  |  |  | 150 |  | number of 96-well plates | 1
| > that translates into 7500 copies in 50 uL D1 |  |  |  |  | 7500 |  | copies for 1 96-well plates | 7500
| > that translates to 7500 copies in 50 uL (50.0 is total of well + 50.0 added for dilution) |  |  |  |  | 7500 |  | volume per row | 0
2) ATCC inactivated Virus Spike
> add 48.00 uL of saliva to D1 rows
> add 2.00 uL of Virus Spike Dilution to D1 saliva
> perform 2x dilution series from vial 1 (D1) as detailed above
|  |  | Copies/uL of Final Dilution of Virus | 3750
|  |  | ATCC to add to D1 | 2
|  |  | background lysate to add to first row | 48

## ContrivedEUA_V2
400 uL lysate to be purified
Lysate Background | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM
B | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM
C | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM
D | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM
E | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM
F | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM
G |  | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM |  | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM | NP swab into VTM
H
Virus Spike-In (Identity) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated
B | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated
C | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated
D | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated
E | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated
F | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated
G |  | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated |  | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated
H
| D1 | D2 | D3 | D4 | D5 | D6 | D7 | DD1 | DD2 | DD3 | DD4 | DD5
Virus Spike-In (Copies/mL of lysate) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 8000 | 2000 | 1000 | 500 | 250 | 125 | 8000 | 2000 | 1000 | 500 | 250 | 125
B | 8000 | 2000 | 1000 | 500 | 250 | 125 | 8000 | 2000 | 1000 | 500 | 250 | 125
C | 8000 | 2000 | 1000 | 500 | 250 | 125 | 8000 | 2000 | 1000 | 500 | 250 | 125
D | 8000 | 2000 | 1000 | 500 | 250 | 125 | 8000 | 2000 | 1000 | 500 | 250 | 125
E | 8000 | 2000 | 1000 | 500 | 250 | 125 | 8000 | 2000 | 1000 | 500 | 250 | 125
F | 8000 | 2000 | 1000 | 500 | 250 | 125 | 8000 | 2000 | 1000 | 500 | 250 | 125
G | - | 2000 | 1000 | 500 | 250 | 125 | - | 2000 | 1000 | 500 | 250 | 125
H | bar: D1 to DD5
Virus Spike-In (Copies/uL of lysate) | D1 | D2 | D3 | D4 | D5 | D6
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 8 | 2 | 1 | 0.5 | 0.25 | 0.125 | 8 | 2 | 1 | 0.5 | 0.25 | 0.125
B | 8 | 2 | 1 | 0.5 | 0.25 | 0.125 | 8 | 2 | 1 | 0.5 | 0.25 | 0.125
C | 8 | 2 | 1 | 0.5 | 0.25 | 0.125 | 8 | 2 | 1 | 0.5 | 0.25 | 0.125
D | 8 | 2 | 1 | 0.5 | 0.25 | 0.125 | 8 | 2 | 1 | 0.5 | 0.25 | 0.125
E | 8 | 2 | 1 | 0.5 | 0.25 | 0.125 | 8 | 2 | 1 | 0.5 | 0.25 | 0.125
F | 8 | 2 | 1 | 0.5 | 0.25 | 0.125 | 8 | 2 | 1 | 0.5 | 0.25 | 0.125
G | - | 2 | 1 | 0.5 | 0.25 | 0.125 | - | 2 | 1 | 0.5 | 0.25 | 0.125
H | [6 empty] | - | - | - | - | - | - | bar: D1 to D6
| D1: Background Purified Extract Information: |  |  | 3600
| D5: per well (uL); D6: wells | uL
| D1: NP Swab Sample #; D5: 400; D6: 40 | 24000
|  |  |  | extra lysate | 270uL into column 1
136.0 into column 4
| D2: columns |  |  |  |  | columns
| Dilution Series: | 2
| Per sample: | 1,2,3,5,7,9,11
1 | D1: D1:; D2: 900 uL total volume: appropriate background with virus spike-in (see below)
2 | D1: D2:; D2: 225 from D1, 225 lysate pipet up and down 8 times
3 | D1: D3:; D2: 450.0 from D2, pipet up and down 8 times
4 | D1: D4:; D2: 450.0 from D3, pipet up and down 8 times
5 | D1: D5:; D2: 450.0 from D4, pipet up and down 8 times
6 | D1: D6:; D2: 450.0 from D4, pipet up and down 8 times
[7 empty] | uL per reaction | 400 |  | VR-1986HK™ Lot Number: | 70035039
[7 empty] | minimum volume needed | 2
[7 empty] | uL to carry to dilution well | 450 |  | Virus Dilution | Dilution factor
| D1: Contrived SARS-CoV2 Spike-in: | Dilution Factor | 2 | 1 : 1 | 375000
| D1: >We aim for 3600 copies at the highest dilution in 450 uL volume (amount added to PCR rxn); D6: 3600 | uL for D1 | 900 | 1 : 100 | 3750 | 100
| D1: > that translates into 8.0 copies/ul in D1; D6: 8 | number of 96-well plates | 1
| D1: > that translates into 7200 copies in 900 uL D1; D6: 7200 | copies for 1 96-well plates | 7200
| > that translates to 0 copies in 0 uL (0.0 is total of well + 0.0 added for dilution) |  |  |  |  | 7200
2) ATCC inactivated Virus Spike
>prepare a 1 to 100 dilution to 3750 copies per uL
| D1: > add 1.9 uL to 448.1 uL background in first dilution well D1 (for 7200 total viral copies) |  |  |  |  | 7200
> perform 2x dilution series from vial 1 (D1) as detailed above
|  |  | Copies/uL of Final Dilution of Virus | 3750
|  |  | ATCC to add to first row, 2 wells , A5, A11 | 1.92
|  |  | background lysate to add to first row | 448.08
100
|  | 225 | uL of sample from D1
|  | 225 | of lysate
uL of Clinical Matrix (aka lysate) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 900 | 450 | 450 | 450 | 450 | 450 | 900 | 450 | 450 | 450 | 450 | 450
B | 900 | 450 | 450 | 450 | 450 | 450 | 900 | 450 | 450 | 450 | 450 | 450
C | 900 | 450 | 450 | 450 | 450 | 450 | 900 | 450 | 450 | 450 | 450 | 450
D | 900 | 450 | 450 | 450 | 450 | 450 | 900 | 450 | 450 | 450 | 450 | 450
E | 900 | 450 | 450 | 450 | 450 | 450 | 900 | 450 | 450 | 450 | 450 | 450
F | 900 | 450 | 450 | 450 | 450 | 450 | 900 | 450 | 450 | 450 | 450 | 450
G |  | 450 | 450 | 450 | 450 | 450 |  | 450 | 450 | 450 | 450 | 450
H
Virus Spike-In (Copies/uL Lysate)
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 8 | 2 | 1 | 0.5 | 0.25 | 0.125 | 8 | 2 | 1 | 0.5 | 0.25 | 0.125
B | 8 | 2 | 1 | 0.5 | 0.25 | 0.125 | 8 | 2 | 1 | 0.5 | 0.25 | 0.125
C | 8 | 2 | 1 | 0.5 | 0.25 | 0.125 | 8 | 2 | 1 | 0.5 | 0.25 | 0.125
D | 8 | 2 | 1 | 0.5 | 0.25 | 0.125 | 8 | 2 | 1 | 0.5 | 0.25 | 0.125
E | 8 | 2 | 1 | 0.5 | 0.25 | 0.125 | 8 | 2 | 1 | 0.5 | 0.25 | 0.125
F | 8 | 2 | 1 | 0.5 | 0.25 | 0.125 | 8 | 2 | 1 | 0.5 | 0.25 | 0.125
G | 8 | 2 | 1 | 0.5 | 0.25 | 0.125 | 8 | 2 | 1 | 0.5 | 0.25 | 0.125
H | 8 | 2 | 1 | 0.5 | 0.25 | 0.125 | 8 | 2 | 1 | 0.5 | 0.25 | 0.125
Virus Spike-In (Total Copies into Clinical Matrix)
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 3200 | 800 | 400 | 200 | 100 | 50 | 3200 | 800 | 400 | 200 | 100 | 50
B | 3200 | 800 | 400 | 200 | 100 | 50 | 3200 | 800 | 400 | 200 | 100 | 50
C | 3200 | 800 | 400 | 200 | 100 | 50 | 3200 | 800 | 400 | 200 | 100 | 50
D | 3200 | 800 | 400 | 200 | 100 | 50 | 3200 | 800 | 400 | 200 | 100 | 50
E | 3200 | 800 | 400 | 200 | 100 | 50 | 3200 | 800 | 400 | 200 | 100 | 50
F | 3200 | 800 | 400 | 200 | 100 | 50 | 3200 | 800 | 400 | 200 | 100 | 50
G | - | 800 | 400 | 200 | 100 | 50 | 3200 | 800 | 400 | 200 | 100 | 50
H | [6 empty] | - | - | - | - | - | - | bar: D1 to D6
estimated copies/uL after purification (4x concentration, 400uL --> eluted into ~100uL)
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 32 | 8 | 4 | 2 | 1 | 0.5 | 32 | 8 | 4 | 2 | 1 | 0.5
B | 32 | 8 | 4 | 2 | 1 | 0.5 | 32 | 8 | 4 | 2 | 1 | 0.5
C | 32 | 8 | 4 | 2 | 1 | 0.5 | 32 | 8 | 4 | 2 | 1 | 0.5
D | 32 | 8 | 4 | 2 | 1 | 0.5 | 32 | 8 | 4 | 2 | 1 | 0.5
E | 32 | 8 | 4 | 2 | 1 | 0.5 | 32 | 8 | 4 | 2 | 1 | 0.5
F | 32 | 8 | 4 | 2 | 1 | 0.5 | 32 | 8 | 4 | 2 | 1 | 0.5
G | - | 8 | 4 | 2 | 1 | 0.5 | - | 8 | 4 | 2 | 1 | 0.5
H | [6 empty] | - | - | - | - | - | - | bar: D1 to D6
estimated copies/reaction after purification; 7uL volume
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 224 | 56 | 28 | 14 | 7 | 3.5 | 224 | 56 | 28 | 14 | 7 | 3.5
B | 224 | 56 | 28 | 14 | 7 | 3.5 | 224 | 56 | 28 | 14 | 7 | 3.5
C | 224 | 56 | 28 | 14 | 7 | 3.5 | 224 | 56 | 28 | 14 | 7 | 3.5
D | 224 | 56 | 28 | 14 | 7 | 3.5 | 224 | 56 | 28 | 14 | 7 | 3.5
E | 224 | 56 | 28 | 14 | 7 | 3.5 | 224 | 56 | 28 | 14 | 7 | 3.5
F | 224 | 56 | 28 | 14 | 7 | 3.5 | 224 | 56 | 28 | 14 | 7 | 3.5
G | - | 56 | 28 | 14 | 7 | 3.5 | - | 56 | 28 | 14 | 7 | 3.5
H | [6 empty] | - | - | - | - | - | - | bar: D1 to D6