## PLATES 1,2,3,4
** Testing different final volumes of Taqman
** New Primers from order on 5/13/20; pipetted by Chetan on 5/20/20; final concentrations: RPP indexed: 50nM, RPP naked: 200nM, and S2: 400nM; see primer set up plate
**All set up is in 384 well plates
** Using new 384 well machines that arrived on 5/20/20
** 96 well format, copied over into 4 quadrants of 384 well plate
https://docs.google.com/spreadsheets/d/1BQsejgFC_puH2WJUyWngWh3Bo1GUN8iiMYwQ4ydvodw/edit#gid=1490559299
Each 384 well plate will have different final volume
**NOTES: pipetting 1uL in benchsmart is problematic-- some of the wells in the 10uL reaction didn't have any primers; Laila has a list of them
144
Lysate Background | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 72
A | NS_water: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | RNA extraction | RNA extraction | RNA extraction | RNA extraction | RNA extraction | TE
B | NS_water: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | RNA extraction | RNA extraction | RNA extraction | RNA extraction | RNA extraction | TE
C | NS_water: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | RNA extraction | RNA extraction | RNA extraction | RNA extraction | RNA extraction | TE
D | NS_water: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | RNA extraction | RNA extraction | RNA extraction | RNA extraction | RNA extraction | TE
E | NS_water: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | RNA extraction | RNA extraction | RNA extraction | RNA extraction | RNA extraction | TE
F | NS_water: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | RNA extraction | RNA extraction | RNA extraction | RNA extraction | RNA extraction | TE
G | NS_water: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | RNA extraction | RNA extraction | RNA extraction | RNA extraction | RNA extraction | TE
H | NS_water: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | RNA extraction | RNA extraction | RNA extraction | RNA extraction | RNA extraction | TE
Virus Spike-In (Identity) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | - | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | - | D1
B | - | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | - | D2
C | - | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | - | D3
D | - | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | - | D4
E | - | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | - | D5
F | - | - | - | - | - | - | - | - | - | - | - | -
G | - | - | - | - | - | - | - | - | - | - | - | -
H | - | - | - | - | - | - | - | - | - | - | - | -
** LOD aim for 10 copies
Virus Spike-In (Copies) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | - | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | - | D1
B | - | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | - | D2
C | - | 62.5 | 62.5 | 62.5 | 62.5 | 62.5 | 62.5 | 62.5 | 62.5 | 62.5 | 62.5 | - | D3
D | - | 15.625 | 15.625 | 15.625 | 15.625 | 15.625 | 15.625 | 15.625 | 15.625 | 15.625 | 15.625 | - | D4
E | - | 3.9062 | 3.9062 | 3.9062 | 3.9062 | 3.9062 | 3.9062 | 3.9062 | 3.9062 | 3.9062 | 3.9062 | - | D5
F | - | - | - | - | - | - | - | - | - | - | - | -
G | - | - | - | - | - | - | - | - | - | - | - | -
H | - | - | - | - | - | - | - | - | - | - | - | -
Primer Mix 10x concentration (4 mcM for S2 and 2 mcM for RPP30)
final concentration of RPP30 (full lenght) = 200nM)
naked RPP titration (final con, nM) ** Laila this is the CDC primers we ordered initially
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | D1
B | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | D2
C | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | D3
D | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | D4
E | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | D5
F | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath
G | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath
H | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath
From Octants PrExperiment with RPP3: From these results, we decided to move forward with 100 nM naked primer and 50 nM full-length primer for the sequencing assay.
Background Purified Extract Information:
[5 empty] | per well | wells | uL | total in 96 well plate (16 copies) | Saliva Dilution | water
| Saliva in NS | T5,6,7 |  | Saliva | 5 | 640 | 3200 | 60 | 2mL | 2mL
| RNA extraction | HEK lysate + |  | RNA extraction | 5 | 768 | 3840 | 60 | - | -
|  |  |  | NS | 5 | 96 | 480 | 60 | 500uL | 500uL
|  |  |  | TE | 5 | 96 | 480 | 60
| ** make working dilution for 2uM | [7 empty] | Final Concentration (uM) | volume water | volume of 100uM stock, per primer
| > add enough to dilute down from 10x for each mastermix | [7 empty] | 2 | 96 | 2
Prepare Lysate Plate
> bleach pipettes and UV treat pippettes, tubes and 96-well plate
> NS Saliva and RNA extraction
|  | > TE: 1:1 need | [6 empty] | total per sample | total across plates | dilution factor
| Plate 1 | > add TE dilution 1:1 in columns 2,3; 1:2 in columns 4, 5, 6 and TE+protease 1:1 in column 7, 8, 9 and 1:2 dilution in columns 10,11,12 | [6 empty] | 10 | 8 | 5
[7 empty] | total clinical sample lysate per well | total water
[7 empty] | 16 | 64
Prepare plates with PCR Barcodes
Spike-in dilution series calculations:
Set up a dilution series for each individual column (true dilution replicates) > in 96-well plate, can perform dilution series with regular pipette
Prepare 105.0 uL per sample > need to add 5 uL to PCR; make sure have sufficient pipetting reserved, here its 12uL
144
1320
| Dilution Series: | 4
| Per sample: | [5 empty] | ATCC: 1.1 million copies/uL
| D1: | 140 uL total volume: appropriate background with virus spike-in (see below)
| D2: | 35.0 from D1, pipet up and down 8 times
| D3: | 35.0 from D2, pipet up and down 8 times
| D4: | 35.0 from D3, pipet up and down 8 times
| D5: | 35.0 from D4, pipet up and down 8 times
|  | * now you have a completed lysate plate; spin down and hold on ice until you are ready to add 7uL of each well to the 4 96 well plates | [7 empty] | 25 min
| * Pipet 7 uL of each into each of 4 plates for PCR | [5 empty] | uL per reaction | 5
|  | * Hold at -20 until ready to prepare mastermix and primers |  |  |  |  | minimum volume needed | 80
[7 empty] | uL to carry to dilution well | 35 |  | Virus Dilution | Dilution factor
| Contrived SARS-CoV2 Spike-in: | [5 empty] | Dilution Factor | 4
| >We aim for 1000 copies at the highest dilution in 7 uL volume (amount added to PCR rxn) |  |  |  |  | 1000 | uL for D1 | 140 | 1 to 10 | 116000 | 10
| > that translates into 143 copies per uL in D1 |  |  |  |  | 142.8571 | number of 96-well plates | 16
| > that translates into 20000 copies in 140 uL D1 |  |  |  |  | 20000 | copies for 16 96-well plates | 320000
| > that translates to 20000 copies in 140 uL (16.0 is total of well + 35.0 added for dilution) |  |  |  |  | 20000 | volume per row | 105
| 2) ATCC inactivated Virus Spike | [8 empty] | 290
Stock is at 1.16*10^6 copies per uL
** this exists in syrafoam box | > prepare a 1:200 dilution to 5800 copies per uL |  |  | >> S1: 199 uL ddH2O, 0.1% Tween-20 + 1 uL ATCC stock
> add 1.19 uL to 14.8 uL background in first dilution well D1 (for 9142 total viral copies)
| > perform 2x dilution series from vial 1 (D1) as detailed above | [9 empty] | 0.4375
|  |  | Copies/uL of Final Dilution of Virus | 116000
|  |  | ATCC to add to first row, 2 wells , A5, A11 | 2.7586 | 33.1034
|  |  | background lysate to add to first row | 32.2414 | 386.8966
100
| PCR: |  |  |  |  | Notes:
On 384well Veriti Thermocycler
| 1 | 55C | 10 min
| 2 | 95C | 1 min
| 3 | 95C | 10 sec
| 4 | 60C | 30 sec
Go to step 3, 40 cycles
Hold at 12C
Plate replicates:
MM #1 | Plate 1: | 20uL
MM #2 | Plate 2: | 15uL
MM #3 | Plate 3: | 10uL
Note: dilutions was prepared at larger stock
| Library clean-up and sequencing: | [5 empty] | ng/uL by HS qubit (based on a dilution 1:20)
| > Pooling, bead clean-up and quantification done by Valerie |  |  |  |  | 50 cycles
| > Library comes in at XXX |  |  |  |  | 50 cycles
> This corresponds to XXX nM (assuming an average amplicon size of 156 bp)
Library dilution: need 20 uL at 2 nM
> Dilute libary 1:100
> add XX uL of diluted library to XX uL ddH2O in low-bind tube
> store at 4C until sequencing
Primer mix: Need 100 uL at 10 uM of read 1 and i7 primers for S2 and RPP3, in separate mixes (20 uM primer per mix)
Primer stocks are at 100 uM
| Read 1 mix: | 80 uL ddH2O | 10 uL S2 read 1 | 10 uL RPP3 read 1
| i7 mix: | 80 uL ddH2O | 10 uL S2 i7 | 10 uL RPP3 i7
> store at 4C until sequencing

## MasterMix
Mix 1 - TaqPath | RT-PCR mix: | uL or copies per reaction | 422.4
| 4x Mastermix | 5 | 2112
| H2O | 6 | 2534.4 |  | Stock is 3000ng/uL (per EJ)
Dilution 4 | S2 RNA spike quant | 42240 | 3.7801 |  | 1:20 working stock prepared from Eric's stock
RPP naked Primer F/R (working conc of 2uM) |  | 2 |  |  | qubit RNA HS(ng/uL) | 77.6 ng/uL
Lysate | 5 |  |  |  | > prepare 4 consecutive 1:100 dilution steps
indexed primers (prestampled) | 2 |  |  |  |  | > 99 uL ddH2O, 0.1% Tween + 1 uL previous dilution
Total Volume | 20 |  |  |  | > the final dilution should have 3600 copies / uL
Total to add to 384 well plate | 13 |  |  |  | > add 3.8uL (42500 copies) to RT-PCR mix
Mix 2 - TaqPath (15) | RT-PCR mix: | uL or copies per reaction | 422.4 |  |  |  | From V3 expt: Measured at 25 ng/uL, corresponding to 3.6*10^11 copies/uL (assuming a length of 130 nt)
| 4x Mastermix | 3.75 | 1584 |  |  |  | Based on this should 3.6*10^11 (3.104)=
| H2O | 3.25 | 1372.8 |  |  |  |  | copies/uL
Dilution 4 | S2 RNA spike quant | 42240 | 3.7801 |  | dilution | dilution step | dilution 1: X | 1117440000000 |  | ng/uL | actual copies/uL
RPP naked Primer F/R (working conc of 2uM) |  | 1.5
Lysate | 5 |  |  |  | 1 | 100 | 100 | 11174400000 |  | 1.79 | 2.58E+10
indexed primers (prestampled) | 1.5 |  |  |  | 2 | 100 | 10000 | 111744000 |  | 0.0179 | 258000000
Total Volume | 15 |  |  |  | 3 | 100 | 1000000 | 1117440 |  | 0.000179 | 2580000
Total to add to 384 well plate | 8.5 |  |  |  | 4 | 100 | 10000000 | 11174.4 | 3.5796 | 1.79e-06 | 25800
[5 empty] | 5 | 3 | 30000000 | 3724.8 | 1.3424 | 5.9667e-07 | 8600
Mix 3 - TaqPath (10) | RT-PCR mix: | uL or copies per reaction | 422.4
| 4x Mastermix | 2.5 | 1056
| H2O | 0.5 | 211.2
Dilution 4 | S2 RNA spike quant | 42240 | 3.7801
RPP naked Primer F/R (working conc of 2uM) |  | 1
Lysate | 5
indexed primers (prestampled) | 1
Total Volume | 10
Total to add to 384 well plate | 4
PCR:
On T100 PCR block
| 1 | 55C | 10 min
| 2 | 95C | 1 min
| 3 | 95C | 10 sec
| 4 | 60C | 30 sec
Go to step 3, 40 cycles
Hold at 12C
Plate replicates:
| Plate 1: | 50 cycles
| Plate 2: | 50 cycles
| Plate 3: | 50 cycles
| Plate 4: | 50 cycles
Note: dilutions was prepared at larger stock
Library clean-up and sequencing:
> Pooling, bead clean-up and quantification done by Valerie
> Library comes in at XXX
> This corresponds to XXX nM (assuming an average amplicon size of 156 bp)
Library dilution: need 20 uL at 2 nM
> Dilute libary 1:100
> add XX uL of diluted library to XX uL ddH2O in low-bind tube
> store at 4C until sequencing
Primer mix: Need 100 uL at 10 uM of read 1 and i7 primers for S2 and RPP3, in separate mixes (20 uM primer per mix)
Primer stocks are at 100 uM
| Read 1 mix: | 80 uL ddH2O | 10 uL S2 read 1 | 10 uL RPP3 read 1
| i7 mix: | 80 uL ddH2O | 10 uL S2 i7 | 10 uL RPP3 i7
> store at 4C until sequencing