## PLATES 1,3
** Testing volumes of taqman: 15uL and 20uL
** New Primers from order on 5/13/20; pipetted by Chetan on 5/20/20; final concentrations: RPP indexed: 50nM, RPP naked: 200nM, and S2: 400nM; see primer set up plate
**All set up is in 4-384 well plates; 50 cycles
** Using new 384 well machines that arrived on 5/20/20
** 96 well format, copied over into 4 quadrants of 384 well plate
https://docs.google.com/spreadsheets/d/1BQsejgFC_puH2WJUyWngWh3Bo1GUN8iiMYwQ4ydvodw/edit#gid=1490559299
384 well plate will have different final volume
144
Lysate Background | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 72
A | NS_water: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | RNA extraction | RNA extraction | RNA extraction | RNA extraction | RNA extraction | TE
B | NS_water: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | RNA extraction | RNA extraction | RNA extraction | RNA extraction | RNA extraction | TE
C | NS_water: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | RNA extraction | RNA extraction | RNA extraction | RNA extraction | RNA extraction | TE
D | NS_water: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | RNA extraction | RNA extraction | RNA extraction | RNA extraction | RNA extraction | TE
E | NS_water: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | RNA extraction | RNA extraction | RNA extraction | RNA extraction | RNA extraction | TE
F | NS_water: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | RNA extraction | RNA extraction | RNA extraction | RNA extraction | RNA extraction | TE
G | NS_water: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | RNA extraction | RNA extraction | RNA extraction | RNA extraction | RNA extraction | TE
H | NS_water: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | RNA extraction | RNA extraction | RNA extraction | RNA extraction | RNA extraction | TE
Virus Spike-In (Identity) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | - | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | - | D1
B | - | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | - | D2
C | - | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | - | D3
D | - | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | - | D4
E | - | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | - | D5
F | - | - | - | - | - | - | - | - | - | - | - | -
G | - | - | - | - | - | - | - | - | - | - | - | -
H | - | - | - | - | - | - | - | - | - | - | - | -
** LOD aim for 10 copies
Virus Spike-In (Copies) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | - | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | - | D1
B | - | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | - | D2
C | - | 62.5 | 62.5 | 62.5 | 62.5 | 62.5 | 62.5 | 62.5 | 62.5 | 62.5 | 62.5 | - | D3
D | - | 15.625 | 15.625 | 15.625 | 15.625 | 15.625 | 15.625 | 15.625 | 15.625 | 15.625 | 15.625 | - | D4
E | - | 3.9062 | 3.9062 | 3.9062 | 3.9062 | 3.9062 | 3.9062 | 3.9062 | 3.9062 | 3.9062 | 3.9062 | - | D5
F | - | - | - | - | - | - | - | - | - | - | - | -
G | - | - | - | - | - | - | - | - | - | - | - | -
H | - | - | - | - | - | - | - | - | - | - | - | -
Primer Mix 10x concentration (4 mcM for S2 and 2 mcM for RPP30)
final concentration of RPP30 (full lenght) = 200nM)
naked RPP titration (final con, nM) ** Laila this is the CDC primers we ordered initially
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | D1
B | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | D2
C | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | D3
D | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | D4
E | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | D5
F | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath
G | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath
H | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath
From Octants PrExperiment with RPP3: From these results, we decided to move forward with 100 nM naked primer and 50 nM full-length primer for the sequencing assay.
Background Purified Extract Information:
[5 empty] | per well | wells | uL | total in 96 well plate (16 copies) | Saliva Dilution (mL) | water(3mL)
| Saliva in NS | T5,6,7 |  | Saliva | 5 | 640 | 3200 | 60 | 3 | 3
| RNA extraction | HEK lysate + |  | RNA extraction | 5 | 768 | 3840 | 60 | - | - | made by Laila; diluted to 6ng/uL
|  |  |  | NS | 5 | 96 | 480 | 60 | 500uL | 500uL | * Made fresh on day of experiment
|  |  |  | TE | 5 | 96 | 480 | 60 |  |  | * Made fresh on day of experiment
| ** make working dilution for 2uM | [7 empty] | Final Concentration (uM) | volume water | volume of 100uM stock, per primer
| > add enough to dilute down from 10x for each mastermix | [7 empty] | 2 | 96 | 2
Prepare Lysate Plate
> bleach pipettes and UV treat pippettes, tubes and 96-well plate
> NS Saliva and RNA extraction
|  | > TE: 1:1 need | [6 empty] | total per sample | total across plates | dilution factor
| Plate 1 | [7 empty] | 10 | 8 | 5
[7 empty] | total clinical sample lysate per well | total water
[7 empty] | 16 | 64
Prepare plates with PCR Barcodes
Spike-in dilution series calculations:
Set up a dilution series for each individual column (true dilution replicates) > in 96-well plate, can perform dilution series with regular pipette
Prepare 105.0 uL per sample > need to add 5 uL to PCR; make sure have sufficient pipetting reserved, here its 12uL
144
1320
| Dilution Series: | 4
| Per sample: | [5 empty] | ATCC: 1.1 million copies/uL
| D1: | 140 uL total volume: appropriate background with virus spike-in (see below)
| D2: | 35.0 from D1, pipet up and down 8 times
| D3: | 35.0 from D2, pipet up and down 8 times
| D4: | 35.0 from D3, pipet up and down 8 times
| D5: | 35.0 from D4, pipet up and down 8 times
|  | * now you have a completed lysate plate; spin down and hold on ice until you are ready to add 7uL of each well to the 4 96 well plates | [7 empty] | 25 min
| * Pipet 5 uL of each into each of 4 plates for PCR | [5 empty] | uL per reaction | 5
|  | * Hold at -20 until ready to prepare mastermix and primers |  |  |  |  | minimum volume needed | 80
[7 empty] | uL to carry to dilution well | 35 |  | Virus Dilution | Dilution factor
| Contrived SARS-CoV2 Spike-in: | [5 empty] | Dilution Factor | 4
| >We aim for 1000 copies at the highest dilution in 7 uL volume (amount added to PCR rxn) |  |  |  |  | 1000 | uL for D1 | 140 | 1 to 10 | 116000 | 10
| > that translates into 143 copies per uL in D1 |  |  |  |  | 142.8571 | number of 96-well plates | 16
| > that translates into 20000 copies in 140 uL D1 |  |  |  |  | 20000 | copies for 16 96-well plates | 320000
| > that translates to 20000 copies in 140 uL (16.0 is total of well + 35.0 added for dilution) |  |  |  |  | 20000 | volume per row | 105
| 2) ATCC inactivated Virus Spike | [8 empty] | 290
Stock is at 1.16*10^6 copies per uL
** this exists in syrafoam box | > prepare a 1:200 dilution to 5800 copies per uL |  |  | >> S1: 199 uL ddH2O, 0.1% Tween-20 + 1 uL ATCC stock
> add 1.19 uL to 14.8 uL background in first dilution well D1 (for 9142 total viral copies)
| > perform 2x dilution series from vial 1 (D1) as detailed above | [9 empty] | 0.4375
|  |  | Copies/uL of Final Dilution of Virus | 116000
|  |  | ATCC to add to first row, 2 wells , A5, A11 | 2.7586 | 33.1034
|  |  | background lysate to add to first row | 32.2414 | 386.8966
100
| PCR: |  |  |  |  | Notes:
On 384well Veriti Thermocycler
| 1 | 55C | 10 min
| 2 | 95C | 1 min
| 3 | 95C | 10 sec
| 4 | 60C | 30 sec
Go to step 3, 50 cycles
Hold at 12C
| Plate replicates: | uL
MM #1 | Plate 1: | 20 | Dilutions
| Plate 2: | 20 | Clinical
| Plate 4: | 20 | Contrived samples
MM #2 | Plate 3: | 15
Note: dilutions was prepared at larger stock
| Library clean-up and sequencing: | [5 empty] | ng/uL by HS qubit (based on a dilution 1:20)
| > Pooling, bead clean-up and quantification done by Valerie |  |  |  |  | 50 cycles
| > Library comes in at XXX |  |  |  |  | 50 cycles
> This corresponds to XXX nM (assuming an average amplicon size of 156 bp)
Library dilution: need 20 uL at 2 nM
> Dilute libary 1:100
> add XX uL of diluted library to XX uL ddH2O in low-bind tube
> store at 4C until sequencing
Primer mix: Need 100 uL at 10 uM of read 1 and i7 primers for S2 and RPP3, in separate mixes (20 uM primer per mix)
Primer stocks are at 100 uM
| Read 1 mix: | 80 uL ddH2O | 10 uL S2 read 1 | 10 uL RPP3 read 1
| i7 mix: | 80 uL ddH2O | 10 uL S2 i7 | 10 uL RPP3 i7
> store at 4C until sequencing

## Plate 2 Clinical
1 | 2 |  | 1411 | 003
3 | 4 |  | 004 | NS
1411 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | NBC | N900 | N908 | N916 | N924 | N932 | N940 | N948 | N956 | N964 | N972 | N980 | A
B | N893 | N901 | N909 | N917 | N925 | N933 | N941 | N949 | N957 | N965 | N973 | N981 | B
C | N894 | N902 | N910 | N918 | N926 | N934 | N942 | N950 | N958 | N966 | N974 | N982 | C
D | N895 | N903 | N911 | N919 | N927 | N935 | N943 | N951 | N959 | N967 | N975 | N983 | D
E | N896 | N904 | N912 | N920 | N928 | N936 | N944 | N952 | N960 | N968 | N976 | N984 | E
F | N897 | N905 | N913 | N921 | N929 | N937 | N945 | N953 | N961 | N969 | N977 | N985 | F
G | N898 | N906 | N914 | N922 | N930 | N938 | N946 | N954 | N962 | N970 | N978 | N986 | G
H | N899 | N907 | N915 | N923 | N931 | N939 | N947 | N955 | N963 | N971 | N979 | PPC | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
003 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | NBC | N327 | N334 | N342 | N350 | N358 | N366 | NBC | N1118 | U0077 | N1133 | N1140 | A
B | N321 | U0003 | N335 | N343 | N351 | N359 | N367 | U0036 | N1119 | N1126 | N1134 | N1141 | B
C | N322 | N328 | N336 | N344 | N352 | N360 | N368 | N1112 | N1120 | N1127 | N1135 | N1142 | C
D | N323 | N329 | N337 | N345 | N353 | N361 | N369 | N1113 | N1121 | N1128 | N1136 | N1143 | D
E | N324 | N330 | N338 | N346 | N354 | N362 | N370 | N1114 | N1122 | N1129 | N1137 | N1144 | E
F | U0002 | N331 | N339 | N347 | N355 | N363 | N371 | N1115 | N1123 | N1130 | U0037 | N1145 | F
G | N325 | N332 | N340 | N348 | N356 | N364 | U0004 | N1116 | N1124 | N1131 | N1138 | N1146 | G
H | N326 | N333 | N341 | N349 | N357 | N365 | U0070 | N1117 | N1125 | N1132 | N1139 | N1147 | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
004 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | N1148 | N1155 | NBC | N836 | N843 | N851 | N859 | N867 | N875 | N883 | N891 | 1000 | A
B | N1149 | N1156 | N829 | N837 | N844 | N852 | N860 | N868 | N876 | N884 | N892 | 250 | B
C | N1150 | N1157 | N830 | U0077 | N845 | N853 | N861 | N869 | N877 | N885 | 1000 | 62.5 | C
D | N1151 | N1158 | N831 | N838 | N846 | N854 | N862 | N870 | N878 | N886 | 250 | 15.625 | D
E | U0040 | N1159 | N832 | N839 | N847 | N855 | N863 | N871 | N879 | N887 | 62.5 | 3.9062 | E
F | N1152 | N1160 | N833 | N840 | N848 | N856 | N864 | N872 | N880 | N888 | 15.625 | NTC | F
G | N1153 | N1161 | N834 | N841 | N849 | N857 | N865 | N873 | N881 | N889 | 3.9062 | NTC | G
H | N1154 | U0041 | N835 | N842 | N850 | N858 | N866 | N874 | N882 | N890 | NTC | NTC | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
NS real sample plate | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | R003 | R-031 | R-034 | O-014 | R003 | R-031 | R-034 | O-014 | R003 | R-031 | R-034 | O-014 | A
B | O-003 | C-009 | R-032 | R-042 | O-003 | C-009 | R-032 | R-042 | O-003 | C-009 | R-032 | R-042 | B
C | O-031 | O-034 | O-009 | R-047 | O-031 | O-034 | O-009 | R-047 | O-031 | O-034 | O-009 | R-047 | C
D | O-049 | R-014 | R-035 | C-008 | O-049 | R-014 | R-035 | C-008 | O-049 | R-014 | R-035 | C-008 | D
E | O-048 | O-035 | R-039 | R-048 | O-048 | O-035 | R-039 | R-048 | O-048 | O-035 | R-039 | R-048 | E
F | R-005 | O-037 | R-004 | R-049 | R-005 | O-037 | R-004 | R-049 | R-005 | O-037 | R-004 | R-049 | F
G | O-042 | O-039 | R-040 | 0.45NS | O-042 | O-039 | R-040 | 0.45NS | O-042 | O-039 | R-040 | 0.45NS | G
H | O-047 | R006 | R-041 | 0.45NS | O-047 | R006 | R-041 | 0.45NS | O-047 | R006 | R-041 | 0.45NS | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
diluted 1:2 with H20
|  | Positive Controls (need 10) | Ct
| 1 | U0002 | 12.1
| 2 | U0003 | 23
| 3 | U0004 | 16.2
| 4 | U0070 | 31
| 5 | U0036 | 36.4
| 6 | U0037 | 11
| 7 | U0040 | 26.2
| 8 | U0041 | 22.7
| 9 | U0077 | 32.4
| 10 | U0078 | 34.7

## Plate 4
PLATE 4: RANDOMLY GENERATED SAMPLES with spiked C19
3 taqman plates, 20uL each run with Taqpath
** New Primers from order on 5/13/20; pipetted by Chetan on 5/20/20; final concentrations: RPP indexed: 50nM, RPP naked: 200nM, and S2: 400nM; see primer set up plate
** Plate set up in 96 well format x 4
** 96 well format, copied over into 4 quadrants of 384 well plate; Primer Plate #4
https://docs.google.com/spreadsheets/d/1BQsejgFC_puH2WJUyWngWh3Bo1GUN8iiMYwQ4ydvodw/edit#gid=1490559299
5
144
Lysate Background | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 72
A | POS CONTROL | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | POS CONTROL | NS_Saliva: 1_to_2 | RNA extraction | RNA extraction | RNA extraction | RNA extraction
B | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | RNA extraction | RNA extraction | RNA extraction | RNA extraction | RNA extraction | RNA extraction
C | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | RNA extraction | RNA extraction | RNA extraction | RNA extraction | RNA extraction | RNA extraction
D | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | RNA extraction | RNA extraction | RNA extraction | RNA extraction | RNA extraction | RNA extraction
E | NS_water: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | RNA extraction | RNA extraction | RNA extraction | RNA extraction | RNA extraction | RNA extraction
F | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | RNA extraction | RNA extraction | RNA extraction | RNA extraction | RNA extraction | RNA extraction
G | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | SALINE CONTROL | RNA extraction | RNA extraction | RNA extraction | RNA extraction | RNA extraction | TE CONTROL
H | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | NS_Saliva: 1_to_2 | SALINE CONTROL | RNA extraction | RNA extraction | RNA extraction | RNA extraction | RNA extraction | TE CONTROL
Virus Spike-In (Identity) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | ATCC Inactivated | - | - | - | - | - | ATCC Inactivated | ATCC Inactivated | - | - | - | - | D1
B | - | ATCC Inactivated | - | - | ATCC Inactivated | - | - | - | - | - | ATCC Inactivated | ATCC Inactivated | D2
C | - | - | - | - | - | - | - | - | ATCC Inactivated | - | - | - | D3
D | - | - | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | ATCC Inactivated | - | - | - | - | - | - | D4
E | ATCC Inactivated | - | - | - | - | ATCC Inactivated | - | ATCC Inactivated | - | ATCC Inactivated | - | - | D5
F | - | ATCC Inactivated | - | - | - | - | - | - | - | - | ATCC Inactivated | ATCC Inactivated
G | - | - | ATCC Inactivated | - | ATCC Inactivated | - | ATCC Inactivated | - | ATCC Inactivated | - | - | -
H | - | - | - | ATCC Inactivated | - | - | - | - | - | ATCC Inactivated | - | -
** LOD aim for 10 copies
Virus Spike-In (Copies) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 500 | - | - | - | - | - | 500 | 300 | - | - | - | - | D1
B | - | 100 | - | - | 200 | - | - | - | - | - | 100 | 500 | D2
C | - | - | - | - | - | - | - | - | 300 | - | - | - | D3
D | - | - | 10 | 200 | 300 | 50 | - | - | - | - | - | - | D4
E | 400 | - | - | - | - | 100 | - | 400 | - | 200 | - | - | D5
F | - | 50 | - | - | - | - | - | - | - | - | 300 | 200
G | - | - | 400 | - | 10 | - | 50 | - | 100 | - | - | -
H | - | - | - | 500 | - | - | - | - | - | 10 | - | -
Primer Mix 10x concentration (4 mcM for S2 and 2 mcM for RPP30)
final concentration of RPP30 (full lenght) = 200nM)
naked RPP titration (final con, nM) ** Laila this is the CDC primers we ordered initially
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | D1
B | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | D2
C | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | D3
D | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | D4
E | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | D5
F | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath
G | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath
H | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath | Taqpath
From Octants PrExperiment with RPP3: From these results, we decided to move forward with 100 nM naked primer and 50 nM full-length primer for the sequencing assay.
Background Purified Extract Information:
[5 empty] | per well | wells | uL | total in 96 well plate (10 copies) | Saliva Dilution | water | sample/well
| Saliva in NS | T5,6,7 |  | Saliva | 5 | 320 | 1600 | 50 | 2 | 2 | 25
| RNA extraction | HEK lysate + |  | RNA extraction | 5 | 320 | 1600 | 50 | - | -
|  |  |  | NS | 5 | 320 | 1600 | 50 | 2 | 2
|  |  |  | TE | 5 | 320 | 1600 | 50
| ** make working dilution for 2uM | [7 empty] | Final Concentration (uM) | volume water | volume of 100uM stock, per primer
| > add enough to dilute down from 10x for each mastermix | [7 empty] | 2 | 96 | 2
Prepare Lysate Plate
> bleach pipettes and UV treat pippettes, tubes and 96-well plate
> NS Saliva and RNA extraction
|  | > TE: 1:1 need | [6 empty] | total per sample | total across plates | dilution factor
| Plate 1 | > add TE dilution 1:1 in columns 2,3; 1:2 in columns 4, 5, 6 and TE+protease 1:1 in column 7, 8, 9 and 1:2 dilution in columns 10,11,12 | [6 empty] | 10 | 8 | 5
[7 empty] | total clinical sample lysate per well | total water
[7 empty] | 16 | 64
Prepare plates with PCR Barcodes
Spike-in dilution series calculations:
Set up a dilution series for each individual column (true dilution replicates) > in 96-well plate, can perform dilution series with regular pipette
Prepare 105.0 uL per sample > need to add 5 uL to PCR; make sure have sufficient pipetting reserved, here its 12uL
144
1320
| Dilution Series: | 4
| Per sample: | [5 empty] | ATCC: 1.1 million copies/uL
| D1: | 140 uL total volume: appropriate background with virus spike-in (see below)
| D2: | 35.0 from D1, pipet up and down 8 times
| D3: | 35.0 from D2, pipet up and down 8 times
| D4: | 35.0 from D3, pipet up and down 8 times
| D5: | 35.0 from D4, pipet up and down 8 times
|  | * now you have a completed lysate plate; spin down and hold on ice until you are ready to add 7uL of each well to the 4 96 well plates | [7 empty] | 25 min
| * Pipet 7 uL of each into each of 4 plates for PCR | [5 empty] | uL per reaction | 5
|  | * Hold at -20 until ready to prepare mastermix and primers |  |  |  |  | minimum volume needed | 80
[7 empty] | uL to carry to dilution well | 35 |  | Virus Dilution | Dilution factor
| Contrived SARS-CoV2 Spike-in: | [5 empty] | Dilution Factor | 4
| >We aim for 1000 copies at the highest dilution in 7 uL volume (amount added to PCR rxn) |  |  |  |  | 1000 | uL for D1 | 140 | 1 to 10 | 116000 | 10 | D1
| > that translates into 143 copies per uL in D1 |  |  |  |  | 142.8571 | number of 96-well plates | 16 |  | 11600 | 100 | D2
| > that translates into 20000 copies in 140 uL D1 |  |  |  |  | 20000 | copies for 16 96-well plates | 320000 |  | 1116 | 1000 | D3
| > that translates to 20000 copies in 140 uL (16.0 is total of well + 35.0 added for dilution) |  |  |  |  | 20000 | volume per row | 105 |  | 116 | 10000 | D4
| 2) ATCC inactivated Virus Spike | [8 empty] | 290
Stock is at 1.16*10^6 copies per uL
** this exists in syrafoam box | > prepare a 1:10 dilution to 116000 copies per uL |  |  | >> S1: 199 uL ddH2O, 0.1% Tween-20 + 1 uL ATCC stock
> add 1.19 uL to 14.8 uL background in first dilution well D1 (for 9142 total viral copies)
| > perform 2x dilution series from vial 1 (D1) as detailed above | [7 empty] | copies/reaction | copies/uL | copies in 40uL | uL to add of 1:1000 | uL to add of 1:10000
|  |  | Copies/uL of Final Dilution of Virus | 116000 |  |  |  |  | 500 | 100 | 4000 | 3.5842
|  |  | ATCC to add to first row, 2 wells , A5, A11 | 2.7586 | 33.1034 |  |  |  | 400 | 80 | 3200 | 2.8674
|  |  | background lysate to add to first row | 32.2414 | 386.8966 |  |  |  | 300 | 60 | 2400 | 2.1505
[6 empty] | 100 |  |  | 200 | 40 | 1600 | 1.4337
| PCR: |  |  |  |  | Notes: |  |  | 100 | 20 | 800 |  | 6.8966
| On 384well Veriti Thermocycler | [7 empty] | 50 | 10 | 400 |  | 3.4483
| 1 | 55C | 10 min
| 2 | 95C | 1 min
| 3 | 95C | 10 sec
| 4 | 60C | 30 sec
Go to step 3, 40 cycles
Hold at 12C
| Plate replicates: | uL
MM #1 | Plate 1: | 20
| Plate 2: | 20
MM #2 | Plate 3: | 15
| Plate 4: | 15
Note: dilutions was prepared at larger stock
| Library clean-up and sequencing: | [5 empty] | ng/uL by HS qubit (based on a dilution 1:20)
| > Pooling, bead clean-up and quantification done by Valerie |  |  |  |  | 50 cycles
| > Library comes in at XXX |  |  |  |  | 50 cycles
> This corresponds to XXX nM (assuming an average amplicon size of 156 bp)
Library dilution: need 20 uL at 2 nM
> Dilute libary 1:100
> add XX uL of diluted library to XX uL ddH2O in low-bind tube
> store at 4C until sequencing
Primer mix: Need 100 uL at 10 uM of read 1 and i7 primers for S2 and RPP3, in separate mixes (20 uM primer per mix)
Primer stocks are at 100 uM
| Read 1 mix: | 80 uL ddH2O | 10 uL S2 read 1 | 10 uL RPP3 read 1
| i7 mix: | 80 uL ddH2O | 10 uL S2 i7 | 10 uL RPP3 i7
> store at 4C until sequencing

## MasterMix
Mix 1 - TaqPath | RT-PCR mix: | uL or copies per reaction | 921.6
| 4x Mastermix | 5 | 4608
| H2O | 6 | 5529.6 |  | Stock is 3000ng/uL (per EJ)
Dilution 4 | S2 RNA spike quant | 92160 | 8.2474 |  | 1:20 working stock prepared from Eric's stock
RPP naked Primer F/R (working conc of 2uM) |  | 2 | 1843.2 | 11989.0474 | qubit RNA HS(ng/uL) | 77.6 ng/uL
Lysate | 5 |  |  | 15.6107 | > prepare 4 consecutive 1:100 dilution steps
indexed primers (prestampled) | 2 |  |  |  |  | > 99 uL ddH2O, 0.1% Tween + 1 uL previous dilution
Total Volume | 20 |  |  |  | > the final dilution should have 3600 copies / uL
Total to add to 384 well plate | 13 |  |  |  | > add 3.8uL (42500 copies) to RT-PCR mix
Mix 2 - TaqPath (15) | RT-PCR mix: | uL or copies per reaction | 460.8 |  |  |  | From V3 expt: Measured at 25 ng/uL, corresponding to 3.6*10^11 copies/uL (assuming a length of 130 nt)
| 4x Mastermix | 3.75 | 1728 |  |  |  | Based on this should 3.6*10^11 (3.104)=
| H2O | 3.25 | 1497.6 |  |  |  |  | copies/uL
Dilution 4 | S2 RNA spike quant | 46080 | 4.1237 |  | dilution | dilution step | dilution 1: X | 1117440000000 |  | ng/uL | actual copies/uL
RPP naked Primer F/R (working conc of 2uM) |  | 1.5 | 691.2 | 3920.9237
Lysate | 5 |  |  | 10.2107 | 1 | 100 | 100 | 11174400000 |  | 1.79 | 2.58E+10
indexed primers (prestampled) | 1.5 |  |  |  | 2 | 100 | 10000 | 111744000 |  | 0.0179 | 258000000
Total Volume | 15 |  |  |  | 3 | 100 | 1000000 | 1117440 |  | 0.000179 | 2580000
Total to add to 384 well plate | 8.5 |  |  |  | 4 | 100 | 10000000 | 11174.4 | 3.5796 | 1.79e-06 | 25800
[5 empty] | 5 | 3 | 30000000 | 3724.8 | 1.3424 | 5.9667e-07 | 8600
Mix 3 - TaqPath (20), plate 4 | RT-PCR mix: | uL or copies per reaction | 460.8
| 4x Mastermix | 5 | 2304
| H2O | 6 | 2764.8
Dilution 4 | S2 RNA spike quant | 46080 | 4.1237
RPP naked Primer F/R (working conc of 2uM) |  | 2
Lysate | 5
indexed primers (prestampled) | 2
Total Volume | 20
Total to add to 384 well plate | 13
PCR:
On T100 PCR block
| 1 | 55C | 10 min
| 2 | 95C | 1 min
| 3 | 95C | 10 sec
| 4 | 60C | 30 sec
Go to step 3, 40 cycles
Hold at 12C
Plate replicates:
| Plate 1: | 50 cycles
| Plate 2: | 50 cycles
| Plate 3: | 50 cycles
| Plate 4: | 50 cycles
Note: dilutions was prepared at larger stock
Library clean-up and sequencing:
> Pooling, bead clean-up and quantification done by Valerie
> Library comes in at XXX
> This corresponds to XXX nM (assuming an average amplicon size of 156 bp)
Library dilution: need 20 uL at 2 nM
> Dilute libary 1:100
> add XX uL of diluted library to XX uL ddH2O in low-bind tube
> store at 4C until sequencing
Primer mix: Need 100 uL at 10 uM of read 1 and i7 primers for S2 and RPP3, in separate mixes (20 uM primer per mix)
Primer stocks are at 100 uM
| Read 1 mix: | 80 uL ddH2O | 10 uL S2 read 1 | 10 uL RPP3 read 1
| i7 mix: | 80 uL ddH2O | 10 uL S2 i7 | 10 uL RPP3 i7
> store at 4C until sequencing

## LS run set up notes
Potential primer contam
Spun down plates in stacks of 4 at 2500rpm
Plate 8 was at the bottom of a stack and had the foil seal punctured - check for cross contam between wells of plate 8
Plate 14 was not fully punctured but possible cross contam as well
Pipetting reserve
Pipetting reserve was perfect this time. Plenty of lysate & master mix for every plate
Plate 4 transposition?
Plate 4 notes:
I think saliva side of plate 4 was transposed given placement of empty wells for NTC blanks
Plated NS/H2O in wells A1 and B1
Plated TE in wells G12 and H12
Check w qPCR to figure out which half of the plate was transposed.
Thermalcycler mistake
Plates 1 & 3 were accidentally loaded onto the TC w 50 cycles
Stopped the run after 3 minute incubation @25 and changed the program. Restarted the program without initital 25C incubation to pick up where the last run left off. should be fine!